## Guidance variations
Version: | NRW SRoC v2 2024-25
Sheet | Column | Action
Introduction |  | Please enter the details about your installation in the white boxes. The operator name is the name of the company or organisation that your permit is issued to. Enter the permit number without any suffixes for variations or transfers - eg EPR/AB1234CD Please enter a brief description of the changes requested in your application. If you operate a waste activity and your increase in capacity means that you need an Installation permit, you should complete the Variations charge tool. Any existing activities should not be listed as "New", but you must include the change in capacity. We also ask if any of the information in the application is commercial in confidence and whether your are requesting for previous variations to be consolidated into this permit variation.
Listed Activity | D | Please provide a description of the activity - for example "Melting aluminium in four furnaces"
| E | Use the dropdown to select the listed activities that are affected by the changes leading to this variation application. Include any new activities being added. If you have several different lines carrying out the activity you only need to enter the activity once. This is different from the OPRA tool where each line had to be included. If you are applying to consolidate a number of previous variations into one permit, please include all the listed Part A(1) activities on your installation.
| F | use the dropdown box to indicate which activity is the main activity on your site. You can select more than one activity for this
| G | Use the dropdown box to indicate whether the activity is new
| H | This will automatically show the threshold in the Regulations
| I | Enter the maximum capacity of your process, as allowed in your current permit, in the same units as described in Schedule 1 of the EP Regulations.
| J | Enter the maximum capacity of your process following the variation, even if it is not changing. If the capacity increases by an amount at least equal to the threshold that brings the activity into Part A1 of the regulations then this will make your application a Substantial Variation.
| K | This will automatically show the Units for the capacity
| L | This will automatically show which BATc document (if any ) applies to the activity
| O | This will automatically show whether you are required to have Technically Competent Management for any of your activities. This applies to certain waste management activities where they are the main activity on the Installation. (see Part 3 of Schedule 9 of the Environmental Permitting Regulations, link below)
The Environmental Protection (Miscellaneous Amendments) (England and Wales) Regulations 2018 (legislation.gov.uk)
Guidance on Operator Competence
| P | This will automatically show whether you are operating an activity that doesn't fall into one of the published BAT reference documents, or accepted Technical Guidance documents.
Other activities | Note: | You only need to enter activities in this section if they are affected by the changes that have led to this variation application,
| Note: | If your only change is to add a Medium Combustion Plant, Specified Generator or Waste activity to an Installation permit you should not use this tool to calculate the variation fee. Use the form for the specific regime.
| G | Enter a description of the activity |  |  | How the bands are calculated
| H, I | Use the dropdowns in columns H and I to enter the relevant "Other" activities that are part of this variation. These are all activities that would require their own permit if they were not part of the installation, either from NRW or from your Local Authority. We charge a proportion of the application fee to cover the additional determination work for these activities.
| J | Use the dropdown to indicate whether this is a new activity being added to your permit, or a change to an existing activity. |  |  |  | Number of entries
| Notes | You only need to enter Directly Associated Activities that are waste activities which would need an Environmental Permit if they were not part of your installation |  | Number of "other" BATC docs |  | 0 | 1 | 2 | >2
|  | If your Medium Combustion Plant is also a Part B activity you only need to enter the activity once under the "Part B MCP and or SG" option. |  | Number of BATC docs |  | 0 | 1 | 2 | >2
|  |  |  | Number of activities affected |  | 0 | 1 | 2 | >2
|  |  |  | >25% increase in capacity |  | 0 | 1
Variation details
[5 empty] | Score | 0 | 1 | 2 | 3
| Step 1 | This will determine whether your variation is substantial or normal. The information you entered on sheet 1 about the scale of changes and whether you are adding any new activities is used here as certain changes will always be substantial. We also ask whether you have already been advised during pre-application discussions that your variation will be substantial due to specific issues, or if you will be applying for derogation from any BAT Conclusion limit as part of the variation. If the activity affected by your variation application does not have a threshold (eg Chemical activities), it is the potential environmental impact that determines whether the variation will be substantial or not. More information can be found in RGN 8 (link provided), or by contacting your local area office or your site officer.
|  | Link to RGN 8 - Our guidance on what makes change "Substantial" |  | The score for each is added up and used to determine the initial band
| Step 2 | Please use the dropdown to answer question 1 about any additional BAT Conclusion documents that apply to the activities you are adding or changing as part of this variation. For example, Waste gas treatment for chemical plant. Only include those that you are referencing in the application. |  | Band 1 | <4
|  | Questions 2, 3 and 4 are completed automatically from information you entered on previous sheets |  | Band 2 | 4 to 6
|  |  |  | Band 3 | 7 to 9
| Steps 3 and 4 | Please use the dropdowns in the blue boxes to answer the questions about aspects of your variation that make the application more complex to determine. The brown questions are completed automatically |  | Band 4 | >9
|  | After you have completed this section the tool will calculate the base charge band for your application. This is based on the number of listed activities affected by the variation, the scale of the change and the number of additional complexity factors. A "yes" answer in Step 4 will automatically place you application in at least Band 3 to reflect the amount of work needed for these types of determinations. | The final charge band is then calculated by adding on the score from the questions section
1 yes answer or additional BATC document will move a Band 1 application up to Band 2
| Step 5 | This section is completed automatically from information you entered on the previous sheet about other activities that are affected by the changes leading to the variation application. | 2 yes answers or additional BATC documents are needed to move a Band 2 or 3 application into the next band. (although a yes to the COMAH question subtracts 1 at this point)
| Step 6 | This is where you enter the additional assessments that you are submitting as part of your variation application. The screening risk assessment you undertake will show when each of these assessments are required for us to be able to determine your permit application.
| Total charge | The additional components are added to your base charge to calculate the total charge that you need to pay and shown at the bottom of this sheet. This information will also appear on the Introduction page. | 1 Yes in the Higher complexity section will move the application up to at least band 3, if it is already in band 3 it will move to band 4
This charge tool will calculate the amount you need to pay for your variation application.
It asks questions about the activities on your installation and aspects of the changes to your operations that may make the determination process more time consuming. The answers to those questions are used to place the application in one of four charge bands.
Additional charges for changes affecting "other activities" are then added. These are activities that would need a permit if they were not part of the installation. We charge an amount to cover the additional assessment work for these activities.
The final component is for "Additional Assessments". These are the specialist assessments that you may be required to submit as part of your application when the basic sreening risk assessment indicates that a full modelled risk assessment is needed.
There are three sheets to complete, use the tab key to move to the next cell that needs completing on each page
1 Listed Activity Variation - This is where you tell us about the Part A(1) listed activities that are affected by the changes leading to this variation application. You do not need to list any activities that are unaffected by the changes.
2 Other activities Variation- This is where you tell us which Part A(2), Part B, Medium Combustion Plant, Specified Generator or Waste activities are affected by the changes leading to the variation application.
3 Variation - The information from sheets 1 and 2 is automatically transferred to this sheet. You then need to answer the questions about aspects which may make the determination more complex and enter the additional assessments you are providing. The charge is shown at the end of this sheet.

## Introduction
Version: | NRW SRoC v2 2024-25
Charging for Installations under EPR Variation Applications
| Operator Name |  | Deeside Power (UK) Limited |  |  |  |  | Permit Number |  | EPR/XP3131VK/V002
| Installation Name |  | Deeside Power Station
| Application Date |  | 2024-02-18 |  |  |  |  | Type of variation |  | Substantial
[8 empty] | Charge band |  | Band 3
| Base charges for Variation applications 2024-25 | [6 empty] | Base charge |  |  | 31395
|  | Bespoke Band 1 | Bespoke band 2 | Bespoke band 3 | Bespoke band 4 |  |  | Additional activities |  |  | 0
| Normal | 8967 | 11413 | 19580 | 35132 |  |  | Additional assessments |  |  | 2692
| Substantial | 13035 | 19635 | 31395 | 42687 |  |  | Total charge |  |  | 34087
[8 empty] | Hours covered by this charge |  |  | 324.6381
The colour coding below is used throughout the tool to help you see what you need to do - You only need to enter information into white cells or chose an option from a blue dropdown box. Everything else is completed automatically
| Colour coding |  | Free text | Pick List | Autopulated | Guidance link available | Instruction | Cell answered | Information or commentary
Question 1
Please give brief details of the changes that you are making or the parts of the installation that will be affected by this variation application
The facility was originally permitted for the combustion of natural gas in a Combined Cycle Gas Turbine process.The facility originally consisted of two Alstom 13E2 gas turbines each with dry low NOx burners, two CMI Heat Recovery Steam Generators (HRSG) and an Alstom steam turbine. The HRSG’s and Alstom steam turbine have not been operational since 2018 while the gas turbines have been providing inertia and reactive power to the National Grid since January 2020 under a 6 year contract. This will continue under this permit variation. The existing diesel generator used to provide backup power in the event of the full grid losing power will also remain. The Operator is now proposing to supply electricity to the National Grid via 11no gas reciprocating engines for a maximum of 2000 hours per annum. The net rated thermal input of the previous plant was 927MWth the new plant is proposed to have a net rated thermal input of just under 109 MWTh. The new plant will produce electricity only.
| Question 2 | [5 empty] | Question 3
| Does this document contain information that is commercial in confidence? |  |  |  | No |  | If you are applying to vary your permit do you also wish to consolidate previous variations into a single document? |  |  |  | Yes
Guidance Link

## Listed activity
Version: | NRW SRoC v2 2024-25
Listed Activities - Variations
|  |  | List all the activities that are affected by this variation | Which of the regulated activities are primary for your installation? | Is this a new activity? |  | What is your current permitted activity capacity? | Enter the new activity capacity
| Installation: | Deeside Power Station
| Permit Number: | EPR/XP3131VK/V002 | [16 empty] | 0
[15 empty] | complete | complete | complete |  |  |  | -0.88242
|  | Description of Activity | Schedule 1 Part A(1) Reference | Primary Activity | New activity | Threshold | Current activity capacity in your permit | New capacity | Units | BATc applies |  | TCM activity | TCM required | new activity without BATc | descriptor missing check | New activity missing check | new capacity missing check | Increase in throughput | Is this a Major variation based on threshold increase? | Scale of change vs threshold | scale of change vs current
| 1 | Burning of natural gas to generate electricity | 1.1 Part A (1) a) (i) | Yes | No | 50 | 927 | 109 | MW | LCP | LCP | No |  |  |  |  | complete | -818 |  | -16.36 | -0.88242
| 2 | [15 empty] | complete | 0
| 3 | [15 empty] | complete | 0
| 4 | [15 empty] | complete | 0
| 5 | [15 empty] | complete | 0
| 6 | [15 empty] | complete | 0
| 7 | [15 empty] | complete | 0
| 8 | [15 empty] | complete | 0
| 9 | [15 empty] | complete | 0
| 10 | [15 empty] | complete | 0
| 11 | [15 empty] | complete | 0
| 12 | [15 empty] | complete | 0
| 13 | [15 empty] | complete | 0
| 14 | [15 empty] | complete | 0
| 15 | [15 empty] | complete | 0
| 16 | [15 empty] | complete | 0
| 17 | [15 empty] | complete | 0
| 18 | [15 empty] | complete | 0
| 19 | [15 empty] | complete | 0
| 20 | [15 empty] | complete | 0
| 21 | [15 empty] | complete | 0
| 22 | [15 empty] | complete | 0
| 23 | [15 empty] | complete | 0
| 24 | [15 empty] | complete | 0
| 25 | [15 empty] | complete | 0
Note on H8: This is the production capacity which brings the activity into Part A(1) of Schedule 1 of the Environmental Permitting Regulations. Not all activities have thresholds
Note on O8: Technically Competent Management (TCM) is required for certain waste activities where they are the primary activity on site

## Other activities
|  |  | Version: | NRW SRoC v2 2024-25
Schedule1 Part A(2), Part B, Medium Combustion Plant, Specified Generator and Directly Associated Waste Activities
|  |  |  | Installation Name: |  | Deeside Power Station
|  |  |  | Permit Number: |  | EPR/XP3131VK/V002
|  |  |  | List of EPR Schedule Part (A) 2, Part B, Medium Combustion Plant (MCP), Specified Generator (SG) and Directly Associated Waste Activities/Process (DAA) included in the Installation | [9 empty] | NEW |  |  |  | CHANGED
activity descriptor | EPR sched ref | new/change |  |  | Enter description of Activity | Choose Part A2 or Part B, or MCP or SG or DAA from the drop down menu below | Choose the relevant EPR Schedule Reference or actiivty description from the drop down menu below | Is this a new activity or a change to an existing one? | Information /guidance | Part A(2) or Part B | MCP /SG | Part B MCP / SG | DAA Waste | Part A(2) or Part B | MCP /SG | Part B MCP / SG | DAA Waste | Part A(2) or Part B | MCP /SG | Part B MCP / SG | DAA Waste
complete
|  |  |  | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 2 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 3 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 4 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 5 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 6 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 7 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 8 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 9 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 10 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 11 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 12 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 13 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 14 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 15 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 16 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 17 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 18 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 19 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 20 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Link to guidance on Directly Associated Activities in Defra's EPR guidance on Part A Installations

## Variation details
Version: | NRW SRoC v2 2024-25
Variations - substantial and normal
Installation Name: |  | Deeside Power Station
Permit Number: |  | EPR/XP3131VK/V002
Please answer all the questions in the blue boxes from Steps 1 to 6 below. The brown shaded boxes are automatically filled from the information you provided on the previous pages. Step 1 will identify whether your application is for a normal or a substantial variation, Steps 2 to 4 are to assign the correct complexity band, and Steps 5 and 6 are to add fixed charges for other activities and additional assessments
STEP 1 - Is this a substantial variation? | 1 | From pre-application discussions, and / or RGN 8, is this a Substantial Variation application? |  |  |  | Yes
| 2 | Are you seeking a derogation from a BATc as part of your variation request? |  |  |  | No |  |  |  |  | Guidance on Substantial Change
| 3 | Number of new Sch 1 Part A (1) activities being added to your permit |  | 0 |  | 0
| 4 | Your proposed increase in throughput is more than the threshold that brings that activity into Part A(1) of the Environmental Permitting Regulations |  | 0 |  | No
|  | Substantial variation section (above) |  | complete | 1 | yes
|  |  |  | complete |  | Based on your replies in the listed activity tab, and the answers in this section you have a substantial variation
cut off scores for bands
STEP 2 - scale of changes | 1 | How many BAT Conclusion documents or Technical Guidance Notes not listed in column L of the "Listed activity -variations" tab also apply to your NEW activities, eg Waste gas treatment for the Chemical sector. |  |  |  | 0 |  | 0 | [5 empty] | 4
| 2 | Number of BAT Conclusion documents that will be directly applicable to the activities listed (as shown in column L of the "Listed activities -variations" tab) |  | 1 |  | 1 |  | 1 | [5 empty] | 6
| 3 | Number of activities that are affected by this variation |  | 1 |  | 1 |  | 1 | [5 empty] | 10
| 4 | Your variation is not substantial, but you are intending to increase production capacity by more than 25% for at least one of your activities. |  | 0 | 0 | No |  | 0
|  |  |  | description | complete
|  |  |  | new activity | complete
|  |  |  | new capacity | complete
[6 empty] | Initial Band |  | 2 | Band 1
STEP 3 - complexity factors | 1 | Will you begin importing hazardous waste for storage and/or treatment? |  | yes / no |  | No
| 2 | Will this change add activities that fall into Chapter V of the Industrial Emissions Directive (Solvent emissions)? |  | yes/no |  | No
| 3 | If you operate a cement kiln, does this change affect the co-incineration activity? |  | 0 |  | No |  | 0
| 4 | Will this change bring your site under COMAH regulation? (a reduction will be applied to this section's score for COMAH sites) |  | yes / no |  | No |  | 0
| 5 | Your change affects a Waste Incineration activity (EPR Schedule 1, 5.1 Part A(1)) |  | 0 |  | No |  | 0
| 6 | You will be carrying out new Part A(1) activities for which there is no BAT Reference document or technical guidance |  | 0 |  | No |  | 0
0
[8 empty] | 2 | Band 1
STEP 4 - High complexity factors | 1 | If this variation relates to a landfill activity, is this a variation to move to site closure? |  | yes / no |  | No |  |  |  | Bespoke Band 1 | Bespoke band 2 | Bespoke band 3 | Bespoke band 4 |  | hourly charge
| 2 | Will this change bring your activity into Chapter III of the Industrial Emissions Directive (Large Combustion Plant)? |  |  |  | Yes |  |  | Normal | 8967 | 11413 | 19580 | 35132 |  | 105
| 3 | Your change adds a Carbon Capture (EPR Schedule 1, 6.10 Part A(1)activity) |  | 0 |  | No |  | 1 | Substantial | 13035 | 19635 | 31395 | 42687
1
Complete
[6 empty] | The base charge band for this variation application is: |  |  | Band 3
[6 empty] | The base charge for this Substantial variation is: |  | 0 | 31395
31395
Other activities entries |  |  | Number of activities |  |  | total charge before capping | charge per activity |  | capped charge
STEP 5 |  | New Complex Medium Combustion Plant and/or Specified Generators included in your application | 0 |  |  | 0 | 1626 |  | 0
|  | New Medium Combustion Plant and/or Specified Generators which are also Part B combustion or incineration activities | 0 |  |  | 0 | 2533 |  | 0
|  | Number of other new Schedule 1 Part A (2) and /or Part B activities included in your application | 0 |  |  | 0 | 1626 |  | 0
|  | Number of new Directly Associated Waste Activities included in your applications (not activites listed under 5.1 - 5.7 Part A(1) of the EP Regulations) | 0 |  |  | 0 | 2002.2 |  | 0
|  | Changed Complex Medium Combustion Plant and/or Specified Generators included in your application | 0 |  |  | 0 | 976 |  | 0
|  | Changed Medium Combustion Plant and/or Specified Generators which are also Part B combustion or incineration activities | 0 |  |  | 0 | 976 |  | 0
|  | Number of other changed Schedule 1 Part A (2) and /or Part B activities included in your application | 0 |  |  | 0 | 976 |  | 0
|  | Number of changed Directly Associated Waste Activities included in your applications (not activites listed under 5.1 - 5.7 Part A(1) of the EP Regulations) | 0 |  |  | 0 | 1661.6 |  | 0
[5 empty] | complete |  |  |  | 0 | Other activities total
Information about any additional assessments that you are required to submit with your application
Additional Assessments |  | Does your application include: | [6 empty] | Charge added | Amount charged per assessment | Document reference
| 1 | A full air dispersion modelling assessment | Yes | [5 empty] | 2692 | 2692 | AIR25373677
| 2 | A full odour modelling impact assessment (where not part of air dispersion modelling) | No | [6 empty] | 1619
| 3 | A full dust or fugitive emissions modelling impact assessment (where not part of air dispersion modelling) | No | [6 empty] | 1657
| 4 | A full bioaerosol modelling impact assessment | No | [6 empty] | 3380
| 5 | A full noise modelling impact assessment | No | [6 empty] | 2425
| 6 | A Deposit for Recovery Waste recovery Assessment | No | [6 empty] | 1734
| 7 | A Fire Protection and Mitigation Plan (FPMP) for part or all of your installation | No | [6 empty] | 2343
| 8 | A Water Framework Directive assessment of process effluent | No | [6 empty] | 3222
2692
|  | Note: Landfill specific plans/reports as listed in Appendix 7 of part B3 of the application form will be subject to time and materials charges | [6 empty] | 34087 | Total charge
[9 empty] | 324.6381 | Hours at current rate
Note:
Medium combustion plant and specified generator activities all fall within one charge. The higher amount appplies where an activity is also a Part B activity.
Charges for Part A(2), Part B and Waste activities are capped at 3.

## Picklists (hidden)
Introduction |  | Listed activity |  |  |  | BAT reference documents ¦ Eippcb (europa.eu) | The Environmental Protection (Miscellaneous Amendments) (England and Wales) Regulations 2018 (legislation.gov.uk) | Other activities | Other activities | [5 empty] | Other activites | Other activities |  |  | Transfers |  | Surrender |  |  |  | New apps | Variations | Other BATC | other new/changed
CinC | Notes on listed activities | Schedule 1 | OPRA Complexity band | Threshold in EPR | Units | Published Guidance | WTC |  | Schedule activiites | [6 empty] | Rule 4 |  |  | Yes | Yes | Full |  | Yes | No | Yes | No increase | 0 | New
Yes | Extra question for Ch III LCPs | 1.1 Part A (1) a) (i) | C | 50 | MW | LCP | No | Part A2 or Part B | PartA2 | Part_B | PartB_MCP_and_or_SG | DAA_waste_activity | MCP_and_SG | SG | MCP | Schedule 1 | Complexity | Aggregation Group | No | No | Part |  | No | N/A | No | up to 20% | 1 | Changed
No |  | 1.2 Part A(1) a) | A | 1000 | TPY | REF | No |  | 1.2 Part A(2) (a) | 1.1 Part B a) | 1.1 Part B MCP-Schedule 25A | DAA waste activity that is not under Section 5.1 - 5.7 of Schedule 1 of the EP Regulations | Schedule 25 A & B - Both a complex MCP & a complex Specified Generator | Schedule 25B – Complex Specified generator only | Schedule 25A - Complex Medium combustion plant only | Now linkeddirectly to the main schedule activies |  | 1 |  |  |  | 0 | Yes |  | N/A | 20 % to 50% | 2 | N/A
|  | 1.2 Part A(1) b) | E |  |  | IS | No |  | 2.1 Part A(2) (a) | 1.1 Part B b) | 1.1 Part B SG-Schedule 25B |  | Schedule 25 A & B - Both a simple MCP & a complex Specified Generator |  |  |  |  | 2 |  |  |  | 1 |  |  |  | 50% to 100% | >2
|  | 1.2 Part A (1) c) | E | 20 | MW |  | No |  | 2.1 Part A(2) (b) | 1.1 Part B c) ii) | 1.1 Part B MCP & SG _Schedule 25 A&B |  | Schedule 25 A & B - Both a complex MCP & a simple Specified Generator |  |  |  |  | 3 |  |  |  | 2
|  | 1.2 Part A (1) d) | C |  |  | REF | No |  | 2.1 Part A(2) (c) | 1.1 Part B c) i) | 5.1 Part B MCP-Schedule 25A | [6 empty] | 4 |  |  |  | 3
|  | 1.2 Part A(1) e) i) | C |  |  | REF | No |  | 2.1 Part A(2) (d) | 1.2 Part B a) | 5.1 Part B SG-Schedule 25B | [6 empty] | 5 |  |  |  | 4
|  | 1.2 Part A(1) e) ii) | C |  |  | REF | No |  | 2.2 Part A(2) a) | 1.2 Part B b) | 5.1 Part B MCP & SG-Schedule 25A&B | [6 empty] | 6 |  |  |  | 5
|  | 1.2 Part A (1) f) | E |  |  |  | No |  | 2.3 Part A(2) a) | 1.2 Part B c) | [11 empty] | 5 or more
|  | 1.2 Part A (1) g) | E |  |  |  | No |  | 3.1 Part A(2) a) | 1.2 Part B d)
|  | 2.1 Part A (1) a) | C |  |  | IS | No |  | 3.1 Part A(2) b) | 2.1 Part B a)
|  | 2.1 Part A (1) b) i or ii | E |  |  | IS | No |  | 3.3 Part A(2) a) | 2.1 Part B b) i)
|  | 2.1 Part A (1) c) | C | 20 | TPH | FMP | No |  | 3.5 Part A(2) a) | 2.1 Part B b) ii)
|  | 2.1 Part A (1) d) | A | 500000 | TPY | IS | No |  | 3.6 Part A (2) a) i) | 2.1 Part B c)
|  | 2.2 Part A(1) a) | C |  |  | NFM | No |  | 3.6 Part A (2) a) ii) | 2.1 Part B d) i)
|  | 2.2 Part A(1) b) Cd/Pb | B | 4 | TPD | NFM | No |  | 5.1 Part A (2) a) | 2.1 Part B d) ii)
|  | 2.2 Part A(1) b) other NFM | B | 20 | TPD | NFM | No |  | 5.1 Part A (2) b) | 2.1 Part B d) iii)
|  | 2.2 Part A(1) c) | A |  |  | NFM | No |  | 5.1 Part A (2) c) | 2.1 Part B e)
|  | 2.3 Part A (1) a) | A | 30 | m3 | STM | No |  | 6.1 Part A (2) a) | 2.2 Part B a)
|  | 3.1 Part A(1) a) rotary kilns | C | 500 | TPD | CLM | No |  | 6.4 Part A (2) a) | 2.2 Part B b)
|  | 3.1 Part A(1) a) other kilns | C | 50 | TPD | CLM | No |  | 6.7 Part A (2) a) | 2.2 Part B c)
|  | 3.1 Part A(1) b) | C | 500 | TPD | CLM | No |  | 6.8 Part A (2) a) | 2.2 Part B d)
|  | 3.2 Part A(1) a) | A |  |  |  | No |  |  | 2.2 Part B e)
|  | 3.2 Part A(1) b) | A |  |  |  | No |  |  | 2.3 Part B a)
|  | 3.3 Part A(1) a) | A | 20 | TPD | GLS | No |  |  | 3.1 Part B a)
|  | 3.4 Part A(1) a) | A | 20 | TPD | GLS | No |  |  | 3.1 Part B b)
|  | 3.6 Part A(1) a) | A | 75 | TPD | CER | No |  |  | 3.1 Part B c)
|  | 4.1 Part A1 a) (i) | B |  |  | OFC/LVOC | No |  |  | 3.1 Part B d)
|  | 4.1 Part A1 a) (ii) | B |  |  | OFC/LVOC | No |  |  | 3.3 Part B a)
|  | 4.1 Part A1 a) (iii) | B |  |  | OFC/LVOC | No |  |  | 3.3 Part B b)
|  | 4.1 Part A1 a) (iv) | C |  |  | OFC/LVOC | No |  |  | 3.3 Part B c)
|  | 4.1 Part A1 a) (v) | B |  |  | OFC/LVOC | No |  |  | 3.3 Part B d) i)
|  | 4.1 Part A1 a) (vi) | C |  |  | OFC/LVOC | No |  |  | 3.3 Part B d) ii)
|  | 4.1 Part A1 a) (vii) | B |  |  | OFC/LVOC | No |  |  | 3.3 Part B e)
|  | 4.1 Part A1 a) (viii) | C |  |  | POL/LVOC | No |  |  | 3.5 Part B a)
|  | 4.1 Part A1 a) (ix) | B |  |  | POL/LVOC | No |  |  | 3.5 Part B b) i)
|  | 4.1 Part A1 a) (x) | C |  |  | POL/LVOC | No |  |  | 3.5 Part B b) ii)
|  | 4.1 Part A1 a) (xi) | C |  |  | OFC/LVOC | No |  |  | 3.5 Part B b) iii)
|  | 4.2 Part A1 (a) i) | C |  |  | SIC/LVIC | No |  |  | 3.5 Part B c)
|  | 4.2 Part A1 (a) ii) | C |  |  | SIC/LVIC | No |  |  | 3.5 Part B d)
|  | 4.2 Part A1 (a) iii) | C |  |  | SIC/LVIC | No |  |  | 3.5 Part B e)
|  | 4.2 Part A1 (a) iv) | C |  |  | SIC/LVIC | No |  |  | 3.5 Part B f)
|  | 4.2 Part A1 (a) v) | C |  |  | SIC/LVIC | No |  |  | 3.5 Part B g)
|  | 4.2 Part A1 (a) vi) | C |  |  | SIC/LVIC | No |  |  | 3.6 Part B a)
|  | 4.2 Part A1 (b) | A |  |  | SIC/LVIC | No |  |  | 3.6 Part B b)
|  | 4.2 Part A1 (c) | A |  |  | SIC/LVIC | No |  |  | 4.1 Part B a)
|  | 4.2 Part A1 (d) | A |  |  | SIC/LVIC | No |  |  | 4.1 Part B b)
|  | 4.2 Part A1 (e) | A |  |  | SIC/LVIC | No |  |  | 4.1 Part B c)
|  | 4.2 Part A1 (f) | A |  |  | SIC/LVIC | No |  |  | 4.1 Part B d)
|  | 4.3 Part A1 (a) | C |  |  | LVIC-AAF | No |  |  | 4.8 Part B a)
|  | 4.4 Part A1 (a) | C |  |  | OFC | No |  |  | 5.1 Part B a)
|  | 4.5 Part A1 (a) | C |  |  | OFC | No |  |  | 5.1 Part B b)
|  | 4.6 Part A1 (a) | C |  |  |  | No |  |  | 6.3 Part B a) i)
|  | 4.7 Part A1 (a) | A |  |  |  | No |  |  | 6.3 Part B a) ii)
|  | 5.1 Part A1 (a) | E | 10 | TPD | WI | No |  |  | 6.4 Part B a) i)
|  | 5.1 Part A1 (b) | E | 3 | TPH | WI | No |  |  | 6.4 Part B a) ii)
|  | 5.1 Part A1 (c) | C |  |  | WI | No |  |  | 6.4 Part B a) iii)
|  | 5.2 Part A1 (a) | C | 10 | TPD | LFD | Yes |  |  | 6.4 Part B a) iv)
|  | 5.3 Part A (1) a) (i) | B | 10 | TPD | WT | Yes |  |  | 6.4 Part B b)
|  | 5.3 Part A (1) a) (i) (AD) | B | 100 | TPD | WT | Yes |  |  | 6.4 Part B c) i)
|  | 5.3 Part A (1) a) (ii) | B | 10 | TPD | WT | Yes |  |  | 6.4 Part B c) ii)
|  | 5.3 Part A (1) a) (iii) | B | 10 | TPD | WT | Yes |  |  | 6.4 Part B c) iii)
|  | 5.3 Part A (1) a) (iv) | B | 10 | TPD | WT | Yes |  |  | 6.5 Part B a) i)
|  | 5.3 Part A (1) a) (v) | A | 10 | TPD | WT | Yes |  |  | 6.5 Part B a) ii)
|  | 5.3 PartA(1) a)(vi) Disposal | A | 10 | TPD | WT | Yes |  |  | 6.6 Part B a) i)
|  | 5.3 PartA(1) a)vi) Recovery | A | 10 | TPD | WT | No |  |  | 6.6 Part B a) ii)
|  | 5.3 Part A (1) a) (vii) Disposal | A | 10 | TPD | WT | Yes |  |  | 6.7 Part B a) i)
|  | 5.3 PartA(1)a)(vii) Recovery | A | 10 | TPD | WT | No |  |  | 6.7 Part B a) ii)
|  | 5.3 Part A (1) a) (viii) | A | 10 | TPD | WT | Yes |  |  | 6.7 Part B b)
|  | 5.3 Part A (1) a) (ix) Disposal | A | 10 | TPD | WT | Yes |  |  | 6.8 Part B a)
|  | 5.3 PartA(1)a)(ix) Recovery | A | 10 | TPD | WT | No |  |  | 6.8 Part B b)
|  | 5.3 Part A (1) a) (x) | A | 10 | TPD | WT | Yes |  |  | 7 Part B
|  | 5.3 Part A (1) a) (xi) Disposal | C | 10 | TPD | WT | Yes |  |  | Associated process
|  | 5.3 PartA(1)a)(xi) Recovery | C | 10 | TPD | WT | No
|  | 5.4 Part A (1) a) (i) | A | 50 | TPD | WT | Yes
|  | 5.4 Part A (1) a) (i)(AD) | A | 100 | TPD | WT | No
|  | 5.4 Part A (1) a) (ii) | A | 50 | TPD | WT | Yes
|  | 5.4 Part A (1) a) (iii) | A | 50 | TPD | WT | Yes
|  | 5.4 Part A (1) a) (iv) | A | 50 | TPD | WT | Yes
|  | 5.4 Part A (1) a) (v) | A | 50 | TPD | WT | Yes
|  | 5.4 Part A (1) b) (i) | A | 75 | TPD | WT | Yes
|  | 5.4 Part A (1) b) (i)(AD) | A | 100 | TPD | WT | No
|  | 5.4 Part A (1) b) (ii) | A | 75 | TPD | WT | Yes
|  | 5.4 Part A (1) b) (iii) | A | 75 | TPD | WT | Yes
|  | 5.4 Part A (1) b) (iv) | A | 75 | TPD | WT | Yes
|  | 5.5 Part A (1) a) | B |  |  |  | No
|  | 5.6 Part A (1) a) | B | 50 | T | WT | Yes
|  | 5.6 Part A (1) b) | D | 50 | T | WT | Yes
|  | 5.7 Part A (1) a) | A |  |  | WT | No
|  | 6.1 Part A (1) a) | B |  |  | PP | No
|  | 6.1 Part A (1) b) | A | 20 | TPD | PP | No
|  | 6.2 Part A (1) a) | A |  |  | NFM | No
|  | 6.3 Part A (1) a) (i) | A |  |  |  | No
|  | 6.3 Part A (1) a) (ii) | A | 5 | TPY | NFM | No
|  | 6.4 Part A (1) a) | A | 10 | TPD | TXT | No
|  | 6.8 Part A (1) a) | B | 12 | TPD | TAN | No
|  | 6.8 Part A (1) b) | B | 50 | TPD | SA | No
|  | 6.8 Part A (1) c) | C | 10 | TPD |  | No
|  | 6.8 Part A (1) d) i) | B | 75 | TPD | FDM | No
|  | 6.8 Part A (1) d) ii) | B | 300 | TPD | FDM | No
|  | 6.8 Part A (1) d) iii) aa) | B | 75 | TPD | FDM | No
|  | 6.8 Part A (1) d) iii) bb) | B | 300 | TPD | FDM | No
|  | 6.8 Part A (1) e) | B | 200 | TPD | FDM | No
|  | 6.10 Part A (1) a) | E |  |  | PCC | No
Need to think about how to do paper, total site capacity?
Note on D3: Alison.Soper: needs changing to the 4 that Mark has defined
But -- see also paragraph 5
An activity falling within sub-paragraph 4 (list above) is NOT a specificed waste management activity if..
a) it is carried on at the same installation as a Part A(1) activity not mentioned in sub-paragraph 4; and
b) it is not the primary purpose for operating the installation
So, TCM only applies for those activities if they're the primary one on the installation.