## Consent Application information
Site Name | Permit Number | NEP Unique ID | Current permit in modern EPR format? | Address | Settled Storm / Storm Discharge Point | Settled Storm / Storm Sample Point | Settled Storm / Storm to Environment EDM Monitoring Point | Emergency Discharge Point (if applicable) | Emergency Sample Point (if applicable) | Receiving Waters Name | Spill Trigger number and type (e.g. 5 BW or 14 SFW) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | Other Comments | PSKPM Available
Mount Field PS | CG0342904 | 7CDC0762 | Yes | Mount Field PS, Beaumaris | SH 61170 76190 | SH 61170 76190 | SH 60919 76242 |  |  | Menai Strait | 14 SFW | 86 | 10mm Bar | 235.7 | No |  | No