Deemed withdrawal

Environmental Permitting (England and Wales) Regulations 2016

# Notice of deemed withdrawal

Application number: PAN-020201 and PAN-020202

| To: | Dŵr Cymru Cyfyngedig |
| --- | --- |
|  | Linea Fortran Road St Mellons Cardiff CF3 0LT |

Natural Resources Wales gives notice that, as a result of your failure to provide the information required in the notice requesting further information dated 03/01/2025 within the period specified your application for a variation, is deemed to be withdrawn.

| Name | Date |
| --- | --- |
| Emma Jones | 11/03/2025 |

Authorised on behalf of Natural Resources Wales

What the law says

- If we need further information to determine a duly-made application, we may serve a notice on the applicant specifying the further information required and the period within which it must be provided.

- If the applicant does not provide further information in accordance with that notice, we may serve a further notice on the applicant stating that the application is deemed to be withdrawn.

- If an application is deemed to be withdrawn, the applicant is not entitled to the return of the application fee.

- The applicant has the right to appeal against deemed withdrawal.

- This is an application for a variation of the Storm and Emergency discharges, permit number AN0308501 and consolidate it with permit AN0308601. The variation is to ensure: 1) The permit reflects current operation of the asset as detailed in the Technical Note as per the catchment study fundings, 2) recognise the Cardiff Control Strategy within the Permit, 3) implements PFF monitoring alternative of automated penstock operation instead of the U_MON4 Driver MCERT flow monitoring requirement.

- Schedule 5 issued on 3/3/2025 required:

- A revised operating technique specifying the design and flow monitoring in place to show compliance with the requirements of environmental improvement scheme to meet U_Mon4 flow monitoring AMP driver for permits AN0308501 and AN0308601 and operation under the Cardiff Control Strategy.

- Provide location of event duration monitors in place to record storm discharges with a requirement to record whether the discharge is via the long sea outfall or short sea outfall.

- Provide a revised site plan showing labelled monitoring points and discharge points

- The reply to the schedule 5 received on 23/1/25 did not answer fully any of the questions 1 to 3.  A draft copy of OTA7 did not outline the monitoring proposals in enough detail or location of monitoring points in lie with Mon 3 and Mon4 NEP requirements.

- Also the location of EDM monitors on each of the outfalls was not provided in the response.

- The site plan provided did not identify the location of any monitoring points.

- In line with the request to delay the NEP completion date for this improvement scheme to 31/3/2026 it is clear this information will not be available within a reasonable timeframe and as such the applications are considered withdrawn.