Environment Agency Permitting decisions

Bespoke Permit

We have decided to grant the permit  for Telpyn Farm operated by Mr Robert Phillips.
The permit number is EPR/MP3623XC/A001
The discharge is for 15.5 cubic metres/day of secondary treated sewage effluent from a hotel with restaurant and function room. The effluent is domestic in nature and discharges to an infiltration system. 
We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

· explains how the application has been determined
· provides a record of the decision-making process 
· shows how all relevant factors have been taken into account
· justifies the specific conditions in the permit other than those in our 

     generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

· Annex 1 the decision checklist  
· Annex 2 the consultation, web publicising responses 
Annex 1: decision checklist 
This checklist should be read in conjunction with the Duly Making checklist.
	Aspect
	Justification / Detail
	Criteria met

	
	
	Yes

	Responses to web publicising 
	The web publicising responses (Annex 2) were taken into account in the decision.  

The decision was taken in accordance with our guidance. 


	(

	Operator

	Control of the facility
	We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit.  The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator.


	(

	The facility

	The regulated  facility 


	The extent/nature of the facilities taking place at the site required clarification.

The regulated facility is a stand alone groundwater activity in accordance with EPR RGN 2 Understanding the meaning of regulated facility.


	(

	European Directives

	Applicable Directives 
	All applicable European Directives have been considered in the determination of the application.


	(

	The site

	Extent of the site of the facility 
	The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. 

A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary.


	(

	Environmental risk


	We have carried out a risk assessment on behalf of the operator.  

The operator considers this risk assessment is satisfactory. 

The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. 


	(

	Operating techniques
	We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. 

The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. 


	(

	The permit conditions

	Emission limits
	We have decided that emission limits should be set for the parameters listed in the permit.   

It is considered that the numeric limits described below will prevent significant deterioration of receiving waters.  We have imposed numeric limits because either a relevant environmental quality or operational standard requires this. 

OI 55_03 - Under normal circumstances discharges greater than 5 m3/day should have numerical conditions to protect against pollution.
There were no specific limits required as a result of the risk assessment therefore a standard limits of 30 ammoniacal nitrogen has been used.
	(

	Considerations of foul sewer


	We agree with the operators justification for not connecting to foul sewer.
	(

	Operator Competence

	Environment Management System 
	There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions.  The decision was taken in accordance with RGN 5 on Operator Competence.


	(


Key Issues of the decision 

N/A
Annex 2: web publicising 

No representations were received.







5
	[image: image1.png]


233_08_SD92
	Version 2
	Issued 16 April 2010
	Page 1 of 5



