## Consent Application information
| If FE permit is to be or has already been consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities |  |  |  |  | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Current permit in modern EPR format? | Address | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | Receiving Waters Name | DWF m3/day | Overflow / weir setting l/s | Screen Size | Storm tank / storage capacity | Non-standard operating techniques? | Other Comments
BURTON FERRY WWTW NEYLAND PEMBS | BN0021602 | BP0272401 |  | "No (FE) Yes (Storm)" | Kiln Park, Burton, Pembrokeshire, SA73 1NY | SM 97947 04840 | SM9794704841 | Not Required | SM 98054 04997 | SM 98035 04969 | SM 98035 04969 | Not Required | Not Required | SM 98039 04972 | SM9804504988 | Not Required | SM 98050 04992 | Not Required | SM 98039 04972 | SM 98050 04992 | Not Required |  | 2.5 | 6mm 2D | 20 | 3
CRAIG Y DON SPS | N/A | NPSWQD004680 | N/A | Yes | Craig y Don, Amlwch, Anglesey, LL68 9LH | not required | Not Required | SH4481493888 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH4474193381 | Not Required | SH 44764 93468 | SH 44812 93536 | SH 44764 93468 | Not Required |  | 36 | 6mm 2D | 55 | 3
CWMGWILI WWTW CWMGWILI NR AMMANFORD | BC0010601 | BP0318001 | N/A | Yes | Nr Felin Fach, Cwmgwili, Ammanford, SA18 3RL | SN5780210355 | SN5780210355 | Not Required | Not Required | Not Required | SN5774310372 | Not Required | Not Required | SN 57742 10369 | SN5772810361 | Not Required | SN 57702 10401 | Not Required | SN 57708 10394 | SN 57702 10401 | Not Required |  | 13.1 | 6mm 2D | 150
DREFACH VELINDRE WWTW | BH0060601 | CB3792FF | N/A | Yes | Off A484, Henllan, Carmarthenshire, SA44 5TG | SN3533640291 | Not Required | SN3533640291 | Required | SN3513439797 | SN3513439797 | Not Required | Not Required | SN3513439797 | Not Required | SN3513439797 | Not Required | SN 35134 39748 | SN 35137 39747 | Not Required |  |  | TBC | TBC | TBC
FERRYSIDE STW FERRYSIDE CARMS | BJ0087001 | BN0169301 | N/A | "No (FE) Yes (Storm)" | Rotten Pill Road, Ferryside, Carmarthenshire, SA17 5TN | SN3706011270 | SN3706011270 | Not Required | Not Required | Not Required | SN3718311464 | Not Required | Not Required | SN3718511457 | SN 37192 11458 | Not Required | SN3720411458 | Not Required | SN3723411469 | SN3723811468 | Not Required |  | 9.3 | 6mm 2D | 250
HERMON STW STORM OVERFLOW HERMON | BG0018701 | BP0210101 | N/A | Yes | Hermon, Pembrokeshire, SA36 0DT | SN2099032330 | Not Required | SN2100432325 | Not Required | Not Required | SN2095732314 | Not Required | Not Required | SN2095232303 | Not Required | SN2093232297 | Not Required | SN2093432294 | SN2095232303 | Not Required | Not Required |  | 1.22 | 6mm 2D | 9
TURKEY SHORE SPS | N/A | CG0139601 | N/A | Yes | Turkey Shore Road, Holyhead, Anglesey, LL65 2DE | not required | Not Required | SH2533582698 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH 25247 82591 & SH 25252 82610 | Not Required | SH 25247 82617 | SH 25250 82597 | SH 25250 82597 | Not Required |  | "Setting A: 120 Setting B: 957" | 6mm 2D | 864 | 3
LLANARMON-YN-IAL STW | CM0001201 | CM0001202 | N/A | Yes | Off B5431, Llanarmon-yn-Ial, Mold, CH7 4QX | SJ1902255938 | SJ1902255938 | Not Required | SJ1899955912 | Not Required | Not Required | SJ1902055938 | Not Required | Not Required | SJ1900755930 | Not Required | SJ1898055905 | Not Required | SJ1898455915 | SJ1898355913 | Not Required |  | 3.4 | 6mm 2D | None required | 2
LLANDRILLO STW | CM0006001 | CM0009901 / CM0009801 | N/A | "Yes (FE) No (Storm)" | Llandrillo, Denbighshire, LL21 0SR | SJ 03415 37542 | Not Required | SJ 03415 37542 | Not Required | Not Required | SJ 03454 37498 | Not Required | Not Required | SJ 03476 37467 | Not Required | SJ 03468 37468 | Not Required | SJ 03464 37482 | SJ 03476 37467 | Not Required | Not Required |  | TBC | TBC | TBC | 2
LLANFECHELL STW | CG0058101 | CG0058201 | N/A | "No (FE) Yes (Storm)" | Carrog Isa, Llanfechell, Anglesey, LL68 0RT | SH3751091540 | Not Required | SH3751891549 | Not Required | Not Required | SH 37457 91470 | SH 37440 91453 | SH 37433 91458 | SH 37455 91466 | Not Required | SH3743991443 | Not Required | SH 37439 91443 | SH 37446 91441 | SH 37440 91444 | Not Required |  | 11 | 6mm 2D | 48 | 3
LLANGOLLEN SPS | N/A | CM0005501 | N/A | No | Bishop's Walk, Llangollen, Denbighshire, LL20 8HZ | not required | Not Required | SJ2184742014 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SJ2184242053 | Not Required | SJ 21839 42050 | SJ 23398 42410 | SJ 21836 42037 | Not Required |  | 38.7 | 6mm 2D | 177 | 3
PENRHYNDEUDRAETH WWTW FE | CG0084501 | CG0084502 | N/A | Yes |  | SH6181938360 | SH6181938360 | Not Required |  |  | SH6172838516 | Not Required | Not Required | SH6178238542 | SH6178838550 | Not Required | SH 61800 38550 | Not Required | SH 61300 38847 | SH 61302 38845 | Not Required |  | Not stated | Not stated | 2hrs
PWNTAN LLANGAIN PS | N/A | BP0113601 | N/A | Yes | Llangain, Llansteffan Road, Carmarthen, SA31 3QU | not required | Not Required | SN 39305 17531 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SN 39286 17542 | Not Required | SN 39286 17542 | SN 39286 17542 | SN 39286 17542 | Not Required |  | 11 | 10mm 2D | 22 | 3
STATION ROAD SPS | N/A | BW2202901 | N/A | Yes | Hillfield Villas, Kidwelly, Carmarthenshire, SA17 4UL | not required | Not Required | SN 40529 06803 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SN 40531 06778 | Not Required | SN 40527 06764 | SN 39967 06314 | Not Required | Not Required |  | 38 | Not stated | Not stated | 2
TREVINE STW | BH0052401 | BH0052402 | N/A | "No (FE) Yes (Storm)" | Fford Y Felin, Trevine, Pembrokeshire, SA62 5AX | SM8352932347 | Not Required | SM8352932347 | Not Required | Not Required | SM 83705 32286 | Not Required | Not Required | SM 83687 32287 | Not Required | SM 83689 32317 | Not Required | SM 83689 32317 | SM 83689 32317 | Not Required | Not Required |  | TBC | 3mm 2D | TBC