	MWR Motorcycles Ltd

	Fire Prevention & Mitigation Plan
April 2024
Version 1.0


	UNIT 8F, HEPWORTH BUSINESS PARK, COEDCAE LANE, PONTYCLUN , CF72 9FQ



Document Control Sheet

	Version Reference
	Date
	Reason for Change
	Issued by

	1.0
	2/05/24
	Initial Draft
	PD

	Approved by 
	       Leigh Robbins


CONTENTS
41
Introduction


41.1
Roles and Responsibilities


41.2
Purpose


41.3
Scope


41.4
Liaison with Fire Rescue Service (FRS)


41.5
General considerations


52
Causes of Fire


63
Fire Prevention Plan


63.1
Site Plan and Receptors


63.2
Material Receipt and Storage


83.3
Signage


83.4
Training, Awareness and Visitors


83.5
Security


93.6
Planned Preventative Maintenance


93.7
Self Combustion


103.8
Hot Works


103.9
Mechanical Treatment


103.10
Hot Exhausts


103.11
Additional Actions


124
Fire Detection and Management


124.1
Fire Detection


134.2
Fire Fighting Strategy


144.3
Managing Fire Water


164.4
Future Actions


175
Annex A: Site Layout


196
Annex B: Site Drainage


207
Annex C: Fire Fighting Access, Equipment & Water Supply Plan


218
Annex D: Key Receptors


229
Annex E: Waste Acceptance Procedures


2310
Annex F: Fire Risk Checks Form for Fire Prevention


2411
Annex G: Emergency Contacts


2512
Annex H: EMS Documents




1 Introduction 
1.1 Roles and Responsibilities

The Site Manager has responsibility for ensuring these procedures are adhered to. The Site Manager is specifically responsible for:

· Ensuring the adequate training of staff and contractors working on site regarding the content of these procedures;

· Ensuring the adequate provision of resources such as personal protective equipment (PPE);
· Ensuring the provision and maintenance of hand held fire extinguishers and other fire fighting equipment at the site is adequate.

1.2 Purpose
The primary purpose of this Fire Prevention & Mitigation Plan (FPMP) is to guide staff and contractors in the prevention of fire for MRW Motorcycles Ltd. This FPMP also confirms the actions to be taken in the event of fire in order to minimise any impact on the environment and to control the fire where appropriate.  
This FPMP will be issued to the Fire Brigade in the event of a fire to aid with fire fighting.
1.3 Scope 

This FPMP has been prepared in accordance with Environment Agency guidance.
   
In addition, all fire prevention measures will meet the stringent insurance requirements for the business.
Annex A shows a site layout plan.
1.4 Liaison with Fire Rescue Service (FRS)

The FRS will be provided a copy of this FPMP in advance of commencing operations.
1.5 General considerations
The MRW Motorcycles Ltd site is located at UNIT 8F, HEPWORTH BUSINESS PARK, COEDCAE LANE, PONTYCLUN , CF72 9FQ
The site is Approximately 2 Km north of the M4, south of the A473 in Hepworth business park. The site is approximately 0.02 Hectares in size and consists of a small enclosed industrial unit on a business park. There is no storage of waste internally. The unit is used for the breaking of motorbikes only with all waste being removed on a daily basis.  At the time of writing this FPMP, the site currently consists of concrete impermeable surface in the warehouse and throughout the rest of the unit. The site’s main activity is the depollution and dismantling of end of life vehicles (ELV’s).
The surrounding land use is a mix of light industrial & commercial.
MRW Motorcycles Ltd operate under an existing Environmental Management System [EMS] which identifies the potential sources of pollution from site activities and controls site operations to eradicate emissions or where that is not possible to minimise their effect on human and environmental health.

This Fire Prevention Plan [FPMP] forms part of the EMS.

The site has sealed drainage and as the depollution operation is under cover and there is no run off to foul or surface water from the process. See Annex B Site Drainage.
2 Causes of Fire
The following have been identified as potential causes of fire and their relevance to this site, when operational, is given in Table 1 
	Table 1 Causes of Fire and Applicability to the MRW Motorcycles Ltd site.

	Cause of Fire
	Applicability to the MRW Motorcycles Ltd Site

	· Arson or vandalism
	Yes – see section 3.5 Security

	· Self-combustion
	No  – see 3.7 Self Combustion

	· Naked lights
	No – none on site 

	· Plant or equipment failure
	No – see  3.6 Planned Preventative Maintenance

	· Electrical faults
	No – none on site 

	· Discarded smoking materials
	No – on site smoking is prohibited

	· Hot works
	No – see 3.8 Hot works

	· Hot exhausts
	No – see 3.10 Hot exhausts

	· Industrial heater
	No – none on site

	· Open burning (adjacent to site)
	No – no likely sources of burning adjacent to site 

	· Damaged or exposed electrical cables
	No – no live cables on the site or to be introduced

	· Reactions between incompatible materials
	Not relevant given the waste types

	· Neighbouring site activities
	No - potential sources of risk from neighbouring land use

	· Sparks from loading buckets
	No – No loading buckets.

	· Hot loads deposited at the site
	No – not a risk given the types of materials and sources of materials.  


Mitigation measures in relation to these activities, where under control of MRW Motorcycles Ltd, are set out in this FPMP.

3 Fire Prevention Plan
MRW Motorcycles Ltd recognises that the risk of fire cannot be eliminated.  However, the site will be operated in accordance with a robust management system.  Operational Procedures are listed in the site’s EMS Manual Section 1.6 ‘Operational Control’. 
In addition to Operational Procedures, the following reasonable actions will be taken to minimise the risk of fire, in accordance with Environment Agency guidelines. 

3.1 Site Plan and Receptors
A Site Plan is given in Annex A showing the key features of the site relevant to the Fire Prevention Plan including site access, security, drainage and buildings. Annex C is a Fire Fighting Equipment plan including the location of hose reels and water tanks.

A map showing key receptors within 1 km of the site is in Annex D.

3.2 Material Receipt and Storage
Waste ELV’s will be collected using the company’s vehicles, which will be removed from the customer’s site and returned to MRW Motorcycles Ltd site. Minimal Raw material (ELV’s) are kept in the unit prior to processing in the depollution building and are processed as soon as they come into the site. Waste acceptance procedures will be followed as set out in Annex E.  
Only the waste types and EWC codes named on the environmental permit will be accepted at the site. Wastes entering the site will be inspected and registered at the site. Non-compliant waste materials not allowed on the permit will be turned away from the site. A record will be made in the site diary.
Batteries are checked on vehicle arrival at site for leaks and condition.

Batteries are disconnected and removed from un-depolluted vehicles before they are processed. Vehicles are emptied of fuels and bungs put in place to prevent trailing fuels at this point also. This happens no longer than 12 hrs after being received at site.
Wet & damaged batteries are stored in a separate sealed container in the covered depollution bay before being removed from site within 24 hours in most cases, however the longest time they will reside on site is 3 weeks before being removed.
Waste Tyres 16.01.03 are not stored on site for more than 24hrs and are removed daily with the depolluted vehicles.

3.2.1 Quarantine area
The site plan shows the quarantine area..  It can contain 50% of the largest pile. 
The Fire Quarantine Area is a dedicated emergency or quarantine area with a clear area of 6m around it.   The internal unit is used for depollution and dismantling only – no waste storage.

Only small quantities of ELV material would ever be put in this unit i.e.  These would be kept pending depollution that day.. Larger fires would be dealt with by the FRS.   

3.2.2 Waste storage times

Depolluted vehicles will be kept on site for less than 36 hrs.  Consideration is given to the likely dry nature of the material and the implications this has for self-combustion.  See 3.2.3 (stock rotation and management).
MRW Motorcycles Ltd has key customers for each material. In addition, contingency customers are in place in case of a need to move material off site when the regular customer is not able to receive it.  In this way, the stock will not build up to levels over the permitted limits.

3.2.3 Stock rotation and management

Given the limited storage time on site – 36 hrs – stock rotation is deemed unnecessary, however;
The company will, if necessary, undertake monthly stock checks which will involve moving the waste within each pile.  The purpose of the stock check is:

· To turn wastes in order to ensure the waste is not at risk of self-combustion and any potential hotspots are dissipated;

· To ensure the waste volumes do not exceed those specified in the permit. 
· To ensure waste is not kept on site for longer than allowed by the permit
Records will be maintained in the site office of the physical monthly stock checks.
The site manager in charge of stock checking will be vigilant for signs of combustion or hotspots.  If any are found, these will immediately be quenched with water and reported to the management team. Stock rotation will be by mechanical means as necessary.
Waste will follow the first in/first out principle as detailed in Annex F points 10/11/12 and waste will be rotated in date order to ensure that waste is removed in date order.
3.2.4 Waste storage 

Un-Depolluted vehicles will be kept on the site (in warehouse) on an impermeable surface whilst they are being worked on, Processed vehicles will be moved off site as soon as the depollution process is complete. No other vehicle combustible waste will be stored on site overnight. Most parts are retained on the vehicle (these are all indicated on the site plan). These are not stored on site but worked on as they arrive then moved off site in 36 hrs. Sellable parts (not waste) are stored on shelving or in containers within the facility.
· Un-depolluted vehicles are received in the unit and are processed as they arrive at the site in the depollution bay. Each accessible from one side.
· Depolluted vehicles are removed from site and not stored. Vehicle parts for reuse (non-waste) are stored in the unit on shelves or in the container.
· Batteries are stored in sealed containers (x1) in the Depollution bay A. Lead/acid and other battery types plus a separate sealed container for damaged/leaking batteries. Max 10 per container. 1x1mx1m each. 1 tonne each. Removed from site within 36 hrs.
These wastes will all be stored in dedicated drip trays and bunds under cover. 

· waste oil drums on drip trays within depollution bay stored on drip trays

· Engine/car parts for resale – stored under cover in unit - these are Non waste.
· All storage & containers will be accessible and moveable. If this is required all mobilisation will be directed by Mr MRW Motorcycles Ltd. 
3.3 Signage

Signage will be positioned throughout the facility showing Fire Exits and the position of extinguishers and other relevant fire fighting equipment. 

All waste storage areas will be clearly marked to ensure waste throughput timescales are adhered to.

MRW Motorcycles Ltd will reinforce fire prevention messages using signs with key messages for staff.

3.4 Training, Awareness and Visitors

All staff and contractors working on-site will be aware and understand the contents of this FPMP and the site Fire Response Plan.  Through site inductions and on-going staff awareness and training, MRW Motorcycles Ltd will ensure that all relevant staff and contractors will:

· Understand what they must do during a fire.

· Know where the fire prevention plan is kept

· Participate in regular exercises to test how well this FPMP plan works and to confirm staff understand what to do.

For visitors to the site:

· They will be escorted at all times and signed in.
· They will understand the No Smoking policy for the site.
· When signing in, information on the fire exits and muster point will be provided. 
Training records are maintained as required by the site EMS.
Staff will be required to undergo regular fire training as part of the WAMITAB competency requirements. In addition, regular drills (annually) will be undertaken where desktop scenarios are played out and staff will be required to become familiar with this FPMP as part of their ongoing competence. Mr MRW Motorcycles Ltd will be responsible for implementing this plan and detailing annual tests and drills.
3.5 Security

The following security features will reduce fire risks from vandalism and deliberate arson through preventing access to the site by unauthorised people:

· Doors are closed and locked outside of office hours to block access further.

· Regular checks of the Perimeter and entrance to the premises. The site is secured by a solid walls on all 4 sides.
·  Only 1 entrance/ exit points to the site to/ from the public highway is in place, which is secured by means of lockable doors to be locked shut at any time the site is left unattended.
· CCTV/motion detectors which can be viewed remotely by the management team covering the whole of the permitted area.
· A CCTV system with 24 motion detection and heat detection is employed for nigh time security. This sends alerts to all staff of MRW Motorcycles Ltd and would notify the owner if a fire were to break out during out of hours.
· There are no security staff on-site overnight but the security camera system in the warehouse and entrance provides 24hr coverage and sends alerts to the operator once motion is detected.
3.6 Planned Preventative Maintenance

The site has a Planned Preventative Maintenance Programme to ensure all machinery and components continue to remain effective. There are no mobile plant on site and no other lifting equipment apart from the FLT.
There is a programme of routine planned maintenance is for each item of plant and machinery to manufacturers specifications, as well as the processing equipment in order to prevent breakdown and faults which may pose a fire risk.
Limited Electrical equipment including CCTV, lights & depollution rig will be used at the site.
A PAT certificate will be provided to demonstrate that this equipment has been checked by a qualified electrician. A PPM schedule and maintenance contract will be in place to ensure that electrical equipment & plant is fit for purpose and to minimise the risk of ignition sources.
All faults needing corrective action will be reported to the Site Manager to be implemented.

For contingency, MRW Motorcycles Ltd recognises that if needed to ensure a continued material throughput, machinery will be hired from specialists if a significant plant breakdown occurs.  This is to ensure continued effective operations and prevent excessive storage of materials which are likely to give rise to the exceeding of permitted waste quantities.
Appendix K shows the maintenance schedule
3.7 Self Combustion

Given the stock rotation throughput times and material type, there is a limited potential for self-combustion. EA Guidance states that the risk increases when wastes are stored over 3 months and that combustible materials must not be stored for more than 6 months.  No waste is stored in the unit overnight. Batteries will be stored for a maximum of 36 hrs.
Daily checks are made on the site as part of the Fire Risk Daily Checks Form (Annex F) and this includes checking for signs of self-combustion and housekeeping issues which may impact on fire risk.  
The risk of combustion is low, as the materials which will be managed on site are not anticipated to be contaminated with oil, however they will be dry.  As a result, a regime of turning the waste materials monthly during a stock take will be in place only if required.  For details see 3.2.3 Stock Rotation and Management. 
The company has considered the risk of self-combustion and consider that given the storage times, management procedures in place and materials stored, the waste is unlikely to generate hot spots.  However, during operation, if the site records show that hotspots do occur on site regularly, the Site Management will consider further measures such as temperature probes.
3.8 Hot Works
Hot works will not be undertaken at the site..
No other combustible gases, chemicals, aerosols or fuels are kept on site
3.9 Mechanical Treatment
Mechanical treatment means the use of mobile plant.  The plant used on site will be as follows:

· FLT 
3.10 Hot Exhausts

During operations, site operatives will be vigilant for signs of ignition from operational hot exhausts. 
At the end of the working day, vehicles will be parked away from combustible materials as indicated on the site plan.  A Daily Site fire watch & Check at the end of the shift will be undertaken by the site manager or his nominee to check that there is no risk of ignition from exhausts. The fire watch will be conducted at the beginning of the shift (9am) – lunchtime (1pm) and end of the shift (5pm). See Fire Risk Daily Checks Form Annex F. 
3.11 Additional Actions
Further actions to mitigate fire risk on site include:

· Overnight parking of vehicles away from processing and storage areas.
· The access route into the site is always kept clear and will therefore provide access for emergency vehicles.
· Site walkovers taken each day will identify any accumulations of combustible dust, litter or material which may pose a fire risk in the areas used by vehicles.
· Debris off site will be checked and removed at shift start and finish.
· Good housekeeping will be maintained at all times to ensure dust and wastes are prevented from accumulating on site.
· Operational vehicles will be fitted with fire extinguishers 
· Any fuel/oil spills from plant or vehicles will be cleaned up immediately with absorbent material and disposed of correctly
Sources of ignition including non-energy efficient (heat emitting) light bulbs, lit cigarettes, naked flames and storage heaters will not be allowed on site.
· All other sources of ignition will be kept at least 6m from flammable & combustible waste

· Cleaning – The site will be cleaned daily at the end of the operational shift in order to prevent build-up of dust, fluff and combustible waste. This will be focused on areas where dust may build up e.g. computer screens flat surfaces, mobile plant etc. Surfaces will be dusted, wiped and/or jet washed if appropriate.

· Regular inspections of vehicles and the main roads are made to ensure that no annoyance to other road users and neighbours is apparent.
· Activity location benefits from good sound attenuation provided by the internal industrial location & secure setting. 
Ensure operations are only conducted within working hours and where practical noise is minimised by using the minimal movements of vehicles and materials onto and from site.
4 Fire Detection and Management
4.1 Fire Detection & Suppression
MRW Motorcycles Ltd will 

· Provide portable extinguishers both CO2 and Foam types x 2 of each stored in the unit. Fire blankets are also stored 3mx3m to cover batteries if required. All staff will be trained in their use. Mr MRW Motorcycles Ltd will be responsible for directing their deployment.
· carry out regular inspections, including at the start and end of every working day
All staff are aware of this FPMP and the risk of fire on site and are trained to remain vigilant. 

Security staff are trained in actions in case of fire detection. 
The camera systems detailed below will be installed prior to permit issue. One overlooking the depollution bay and looking down the unit. This camera will detect heat and send alerts to staff out of hours. Staff can respond to alerts within 1 hour.
https://www.axis.com/en-gb/products/axis-q29-series
MRW Motorcycles Ltd do not deem it necessary to fit automatic fire suppression system in the covered buildings as no waste is stored internally overnight.
Fire Suppression:
The Site Fire Fighting Equipment Plan (Annex C & A2) shows the following items for fire suppression:

· 2 x 500l IBC on the site. Within the office stores, hand held fire extinguishers are also provided along with fire blankets for battery stores. 
· No waste is stored under cover overnight (apart from batteries) and fire suppression in the depollution bay is considered unnecessary given that no wastes are stored in the building overnight.
4.1.1 Water Supplies

Table 2 shows the available water on site which can be delivered from the tank above. See Annex C for water supply site plan.
	Table 2: Volume of Water Available

	2x500l IBC’s
	1000

	Total Delivery (l/m)
	                         1000


Water supplies for fire fighting can come from the tank on site, in addition to one or more FRS water supply trucks if the FRS deems it necessary.

The largest stockpile likely to require water for fire fighting is considered to be the undepolluted ELV’s awaiting depollution. These re only kept in a waiting area for a short period prior to depollution and are not stored on site overnight. The largest pile - a maximum of 12 vehicles (motorbikes) 
4.2 Fire Fighting Strategy
In the event of a fire being suspected or detected, the following steps will be taken:
[image: image1.png]~\
*Raise the alarm - contact Emergency Services on 999
eEvacuate affected area as denoted by the fire assembly point
J
N

*Contactsite Health and Safety officer or person nominated as fire protection officer
sConduct staff role call if required depending on size of incident

J
If safe to do so: the appropriate electrical and mechanical equipment are shut
down
*A suitable hand held fire extinguisher is used )
N
«If emergency services are required, direct them to the source of the fire and
support them with identifying potential sources of ignition such as fuel stores
J
~
«If safe to do so, ensure fire water escape measures are implemented (booms and
drain covers)
J
~
*When fire extinguished, ensure removal of contaminated materials, use PPE when
moving the materials to appropriate container/disposal site
J
N
sComplete Incident Report and follow up with improvement measures if necessary
J

€€




The Site Manager, will liaise with the Emergency Services on their arrival.  The Site Manager will clearly identify him/herself to the Emergency Services on their arrival on site and update the FRS on the situation ensuring they are made aware of the location any compressed gases or flammable liquids on site.
Prior to arrival of the FRS on-site there are several measures that MRW Motorcycles Ltd can take to help fight fire, assuming there is no risk to life.
· Hand held fire extinguishers & fire blankets can be deployed in order to contain fires where possible see 4.1
· Fire blankets/sheets can be used to smother smaller isolated sources of fire. See 4.1
· There are no waste piles stored internally. Vehicles are only kept on site for 36 hours pending depollution. See appendix A.

· In the event of a fire or observed self-combustion, burning waste, if safe to do so, will be moved to the Fire Quarantine Area or alternative designated site. No more incoming waste will be allowed to enter the premises and will be diverted or stopped until it is safe to resume delivery. 

· Neighbours and local businesses downwind will be notified of any potential fire incident by the site operator by telephone as soon as possible from the local contact list. This will be completed by telephone and will be completed as soon as it is safe to do so. Local receptors will be notified in order of proximity to the site and prevailing wind direction. Local receptors will be kept updated as to the progress of fire-fighting as new information comes to light and fully debriefed at the end of the event.
· Once the fire has been dealt with, post fire de-contamination arrangements will be agreed with the local NRW officer

· The site is an impermeable surface and will be scraped clean

· Drains and runs will be gulped out and cleaned by tankers with whom MRW Motorcycles Ltd have a contract.
· Waste will be removed from site if necessary

· If necessary, soil and groundwater monitoring will be undertaken as agreed with the NRW
· Once the local NRW officer has agreed that the site is ready to become operational again then operations will recommence.
4.3 Managing Fire Water
Table 3 shows the potential volume of fire water which may need to be managed on site should the largest waste pile (undepolluted vehicles pending depollution) require quenching. 

	Table 3:  Volume of Water Required

	Total Requirement for 3 hours for 3 ELV’s (l)
	4824         

	*Based on NRW guidance: 1800l of water  is required for each ELV


Table 4 shows the volume of fire water which can be contained within the site. The depollution operation benefits from being inside a covered area and sealed drainage system inside the unit which will contain firewater. There is no discharge to surface water. A kerb will be deployed across the entrance to retain water to a height of  10cm as per Annex C if required. 
	Table 4:  Volume of Firewater Contained within Site 

	Average Site Length (m)
	20

	Average Site Width (m)
	9

	Water Depth (m)* 
	0.1

	Site Volume (m3)
	18

	Site Volume (l)
	      18,000

	*minimum height of curb or boom


These tables show that the site would be able to contain the volume of water needed in a worst-case scenario.  Therefore, the key receptors in Annex D which could be affected by firewater will be protected.. The site entrance will be protected by kerbing of 10cm to prevent egress of firewater out of the entrance. Staff are trained in deployment of the booms and are aware of the importance of isolating the site in the event of firewater being used on-site. 
4.4 Future Actions

This plan is based on current planned operations. MRW Motorcycles Ltd understand that it is important that this Fire Prevention Plan is maintained up to date and relevant to the business.  Therefore, it will be updated accordingly, in collaboration with NRW as required, should business operations change in the future.
5 Annex A: Site Layout


[image: image2.jpg]el Shutter door entrance to

warehouse with ramp

Motorcycles awai(ing
depollution

Q

Oikdrum om
drip tray

Storage qt'bartslnon
waste

Scale: 1:200 | Area < 1Ha | Grid Reference: 302614,182225 | Paper Size: A4




6 Annex B: Site Drainage
    
[image: image3.jpg]Site entrance with ramp to
prevent egress of firewater

Sealed drainage
system within ware
house.
Impermeable
‘surface

Scale: 1:200 | Area < 1Ha | Grid Reference: 302614,182225 | Paper Size: A4




7 Annex C: Fire Fighting Access, Equipment & Water Supply Plan
[image: image4.jpg]5001 IBC'S for water

Absorbapt'; fire
blankets and hand
storedin office




C1
8 Annex D: Key Receptors
	[image: image5.jpg]Mynydd Portref

Maendy Farm

'n—erwm 7.
aharles 2

Llanbad“Fawr

Graig Fatho

Rhiwfelin Fawr

,TheVC‘roft %
Bedw Q 2 5
\\/ Llwynau Farm 2 g 366‘?9? u
Rhiwfelin Fach 4 5 S
o 7 S & @
N \ Taliy fedw Newydd | %, & ]
% 91005 4 pERs &
X Llantrisant Common . ”‘\Wood/ o S
\ and Pastures \ G o\ 3 IS5
< // \gedd u A U &

0
lwync,r/wn Primary.

NantMuchudd 7 School
2

Gwaunmeisgyn: D
i Nt Primary School ¢ S
T Nant Llanbad / Nant Cwm-du Ynysmaefdy A ’o‘\)/ 2
Argoed-Edwin \ g" =1
~ < /
= IS /
== ‘, g y
Dany Mynydd Bungalow é’) £
t L]
Ty = % entegLane /" Ystrad Barwiglsaf | )
Brynnaa'yny<co Brynheulog /Brook Far
Wern Tarw Dan-Caerlan %\?}/"Azﬂﬁ//
Gwern-y-Moel — — NantMyddlyn '
Mill Cottages Ricios o , >
& [lanharaniCounty 57 Rhiwbrwdwal Farm 8
Ciwc Rrimary'School (v ¥
Brynna.Road. Graig-Lwyd Farmhouse Ty Uchaf Farm 1S
Erw Hir. Bungalow 173,
Brynna s
Llanharan\ Coedcaerau-bach LEZNY
. Llanhara/n \44_73 s Ty-Mawr Farm )
\Cl@ Cocg Tonysgubofiad X CrossInn/ s\WsaesonR,,
EwenniFach / Cynllan Cottages Cosd A NpNN County Primary, y Rhiwsaeson v
3 _pat? school
S =20 e B
5 ‘E0slau G Atjaen NATI———, AT AfonClun’ < —— —imAs T % ~ ™ Lwiyn-y-brai
%‘T\‘\ Newgoﬁ Primary School r F\,\ a A’ L wyn-y-brain-mawr,
N e Whitehall Farm =
O~ 7 Liwynmilwas Farm g3
is o
Nant Braean - ¥ ey
= Ty C f‘\P Lynwood # 3
Coed Trecastell = y Cefn.Parc 2 @
Tir Eithin Farm Cwm Gran _— ~Coedyrhendy %
7 <
> Ysgol.Gynradd Mwynd Y
w5 = W‘ HEQuLEe \> Gymunedol Gymraeg Y \ Y Liwyn-Saer. )
- y Llantrisant \ PR
. o ! Ty-ar-y-waun Maendy Farm Brofisan Quarry,
Llanilid /' Trecastell /\ { e o ,
o ) 3
& The Stables N 55 Q //;’_\ 4\ ' %
X LA e "5 b /;P‘b‘ & £ 5
N o e N - Y, <
2 Broad Oak Stables @ ¥ S ARt \oes aen, 5
OaktreeBarn -~y Coed Waun-fraith > S 59 TS % ~ L\
S - Wind SW i &
N = ] 3
NS > _ - f §°\ RNorpark Llwyn-y-pennau House \\—N
& T g = Qo2 S Ely Vall \
(g y Valley
> Coed-y-wiw L(an\'\a‘ﬂ (&) - \
Coedy Brynaul Tylacod R
P L Nant Dyfrgi A
Farm - Gadairwen Farm\
Eron-Wen Farm ) 1 Talygarn Farmhouse Pantyquesta House
o ! Nant Coslech |
Gwaun-Liyn M’ L oetyid | e cotpianatsa \
5 antaquestaFarm H ke
g NOY ke Holse Llanfarach Farm ollyoaks \
i LL h Wood \
Ton-Breigam i & COUNCO MR foreStkach Farm . Didcot Wo
Breigam Moor Brynderwen & The Laurels
Truer-Eos DN I
% Pt A 1 Coedtal-y-garn Hensol Park * ,GwaunWen Farm !
] \ Ty Newydd Farm Lllanw
' Fforest-fawr TheValeHospital D \
Argoed-Isaf The Four Winds WIEEEREED |
e e el t
0 03 o0.6km fccolizec

Cae-Rhys-Ddu

¥ 4
Hensolllake _Hensol Villas Afon ElaEly River
Kennel Grove

Keepers Lodge Farm





	Key Receptors

The receptors shown are within 1km of the site (black circle). Sensitive human receptors include areas containing residential properties, farming & light industry round the site.
The site is in on an industrial estate. There are few residential premises in the immediate vicinity. There are no designated local wildlife site or SSSI’s within 1Km. There is no woodland or designated habitat close by. There is no major key infrastructure nearby apart from railway to the S.  The unit is enclosed and no waste is stored internally. In addition. No drains to SW internally.
Wind Direction

According to the UK Met Office, the prevailing wind direction in the area is South-Westerly
. This means the prevailing winds blow over the site to the north east, which is away from the bulk of the residential areas.


9 Annex E: Waste Acceptance Procedures
In order to identify non-compliant wastes including any hot loads, the following Waste Acceptance Procedure is implemented by MRW Motorcycles Ltd.

Waste Acceptance

The procedure that shall be adopted at site is detailed below

 1. Waste arrives on site.

2. Documentation is checked at the office at the entrance to the site. See annex A2. 

3. All vehicles will have their contents examined during unloading and this shall be crosschecked with the documentation presented. 

4. Staff will check that the type of waste is acceptable in terms of the waste permit. 

5. If the waste is unacceptable the waste shall be isolated and arrangements put in place for the contractor to remove the waste from site or for the waste to be segregated in the quarantine area until such times that it can be removed.
6. If the person who is checking in the load is suspicious of its contents the driver shall be directed to the waste inspection area near the reception office, where the load shall be sampled and inspected to ensure that it corresponds to the accompanying documentation. In any event compliance testing will be carried out at regular intervals.

 7. Assuming the on-site verification at the office is satisfactory, the load is checked in and directed to the warehouse as appropriate. Here, the waste will be checked again to verify that the description is correct before tipping is allowed.

10 Annex F: Fire Risk Checks Form for Fire Prevention

The following regular check has been completed:

	Checks to be made

	1. Security – all security fencing and security equipment is intact (daily)

	2. Signs of Self Combustion – no smoke visible /potential hot spots identified (daily)

	3. Storage areas – housekeeping is suitable (daily)

	4. Storage areas – pile sizes within permitted limits (daily)

	5. Exhausts – exhausts are cool and located away from combustible materials(daily)

	6. Fire fighting water – all hose reels and hydrants are accessible(daily)

	7. Fire extinguishers – all fire extinguishers are in the correct place and intact(daily)

	8. Fire Quarantine area – clear from waste and signage intact(daily)

	9. Mobile plant parked remotely, secured and key out when site closed(daily)

	10. Waste turned when? – recorded on waste inventory in site office(monthly)

	11. Waste in (t) – recorded on waste inventory weekly in site office. Waste removed in date order

	12. Waste out (t) – recorded on waste inventory weekly in site office. Waste removed in date order.


	Date
	Morning check (initials)
	Evening Check (Initials)
	Issues to Report to Site Manager

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


11 Annex G: Emergency Contacts
	Name & Address
	Telephone Number

	Environment Agency 
	General Enquiries:
Incident Hotline Reporting:
	03708 506 506

0800 80 70 60

	Electricity Supplier & mains switch location
	
	

	Gas supplier & shut off valve location
	
	

	Water supplier & shut off valve location
	
	

	Local Authority Emergency Services
	
	

	Insurance Company and policy number
	
	

	Nearest Hospital
	
	

	Emergency Spillage Response company
	
	


12 Annex H: EMS Documents
           Drainage & Bund Checks
· A current site drainage plan will be drawn up and displayed in the office areas for information. The standard colour coding of blue for surface water drainage that discharge to the environment and red for sealed or foul drainage systems will be employed.

· The integrity of impermeable surfaces, gulleys and storage areas will be visually inspected by the operator on a monthly basis. To achieve this, it will be necessary to sweep/ wash clean the impermeable surface that form licensed area and clear any debris that has collected in the front of the building. Where any defects are found, remedial steps will be taken promptly to maintain the integrity of the structure. If, however the integrity of the structure is breached a temporary repair will be made by the end of the working day and a full repair will be made within 10 days.   
	Area
	When Checked 
	Date
	Comments

	Depollution bay
	weekly
	20/12/22
	Clean 

	Hardstanding
	6 monthly
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Site Vehicle and Machinery Maintenance.

· All site vehicles and machinery will be fitted with working exhaust silencing equipment.

· Staff will not continue to operate any piece of machinery or equipment that appears to be visibly or audibly failing.

· All vehicles and machinery operated within the site will undergo regular planned preventive maintenance/ servicing and inspections, at the frequency deemed appropriate by manufacturer or required by legislation. As a minimum, this will be a statutory annual inspection of lifting (LOLER) and work (PUWER) equipment. Maintenance/ Servicing and inspection records will be kept on site for reference.

· Where the necessary maintenance and repair skill do not exist within the company, a contract for these services will be in place, so that the repair of site vehicles and machinery will be undertaken promptly.

· If mobile plant maintenance/ repair will involve the removal/ loss of potentially polluting fluids from the vehicle, if possible, the vehicle should be moved to impermeable concrete area and worked on there, where any spills will land on an impermeable surface. All fluid leaks or drained oils will be collected in a container and removed.

· Where mobile plant must be repaired in the location that it breaks down, if this is on hard standing, drip trays and absorbent mats will be put in place under the vehicle before work begins, to capture any spills of potentially polluting substances and prevent contamination to the earth below.
Plant and Vehicles will be inspected and recorded below;

	Equipment
	When checked
	Date
	Comments
	signed

	Delivery vehicles
	weekly
	
	
	


Dealing with Spills

Scope: To detail how spills during normal and abnormal operations are dealt with to minimize impact on the environment

Responsibility: Site owner

Background: Spillage of oils and chemicals can have an impact on the soil and groundwater beneath the site.

The site carries quantities of absorbent granules and absorbent booms to mop up small quantities of hydrocarbon and other liquids if spilt. If used these are stored in a hazardous waste container until removed from the site by specialist contractor within a reasonable period of time.

· During normal operations, all staff have been made aware of the requirement to minimise fuel and liquid spills on site

· All staff have had appropriate training on how to deal with a fuel spill in the event of an incident occurring

· Absorbent is used to clean up the spill at source. If it is a larger spill and it is safe to do so then the source of the spill is curtailed if possible.

· The location of spill kits and absorbent material is identified on the site plan

· Where possible all spills are directed to the sealed drainage system for containment

· A store of general absorbent material will be kept on site in an easily accessible central location known to all site staff. The absorbent material will be hydrocarbon (fuel, oil etc.) absorbent, as this is the most likely material to be spilt on site.

· A boom will be kept on site. Management will know where the boom is stored on site and how it should be deployed so as to be effective. Booms length will be enough to cover the expanse of the entrance to the site.

· Where leakage from any storage container (only diesel storage on-site) on site is found, actions to remedy the leak will be taken. Any such leakage and remedial action will be recorded in the site diary.

              In addition:

· The source of the leak or spill will be investigated, located and stopped.

· If any significant leaks or spills of substances occur, which have the potential to harm the environment or pose a risk to human health; the materials detailed under the section 'site provisions' will be utilized and disposed of appropriately.

· Any pooling leak or spill of a potentially polluting liquid will be soaked up with appropriate absorbent material, such as saw dust, sand or granules. The absorbent material will be cleared from the ground when it has soaked up all free polluting liquid. 
· In the event of a significant and/ or on-going leak or spill of a potentially polluting liquid, clay damit mats or suction covers will be applied to drain grills to seal them to prevent (further) liquid from entering the drainage system.

· If any leaks or spills of substances occur, which have the potential to harm the environment or pose a risk to human health escape the site boundary, the management will inform the Environment Agency immediately. Any remedial action specified by the Environment Agency will be undertaken, a record of which will be made in the site diary.
 Waste Acceptance, Storage and Inspection     

     To deal with the acceptance, storage & inspection of waste on-site.

     Introduction

The company will introduce a system of storage on-site to minimise the potential for cross contamination and potential run off from wastes whilst stored on site.
Waste Types

Only the waste types and EWC codes named on the environmental permit will be accepted at the site. Wastes entering the site will be inspected and registered at the site. Non-compliant waste materials not allowed on the permit will be turned away from the site. A record will be made in the site diary..
     Working Hours

     Normal working hours will be 0800-1800  Monday - Saturday
    Sunday – closed

    Responsibility

    The Manager (MRW Motorcycles Ltd) is responsible for identifying and highlighting non-conforming waste. The Environmental Manager is responsible for inspecting, documenting and safe removal of any non-conforming waste.

Waste Storage

Areas will be nominated on-site for depolluted vehicles. These will be labelled and identified on the site plan. The site plan will be updated on a regular basis provide a record of what type of waste and quantity is stored where.
Waste Acceptance

The procedure that shall be adopted at site is detailed below

 1. Waste ELV’s arrives on site.

2. Documentation is checked at the office. 

3. All vehicles will have their contents examined during unloading and this shall be crosschecked with the documentation presented. 

4. Staff will check that the type of waste is acceptable in terms of the waste licence. 

5. If the waste is unacceptable the waste shall be isolated and arrangements put in place for the contractor to remove the waste from site. 

6. If the person who is checking in the load is suspicious of its contents the driver shall be directed to the waste inspection area close to the reception office, where the load shall be sampled and inspected to ensure that it corresponds to the accompanying documentation. In any event compliance testing will be carried out at regular intervals if required
 7. Assuming the on-site verification at the office is satisfactory, the load is checked in and directed to the warehouse as appropriate. Here, the waste will be checked again to verify that the description is correct.
Waste Area Inspection

As part of the EMS waste areas are inspected routinely, deviations from normal operation conditions, result are logged and acted upon in the site log.

Records

MRW Motorcycles Ltd shall keep records of all waste loads rejected including; 

· Date

· Name of Carrier  

· Source of Waste  

· Vehicle Registration  

· Description of Waste

· EWC code 

· Quantity of Waste 

· Name of person carrying out inspection 

Destination of Load prior to rejection
Car parking area











N








� Fire Prevention & Mitigation Plans, Version 16 August 2019


� http://www.metoffice.gov.uk/climate/uk/regional-climates/





 PAGE 

