UPDATE:

Douglas Cowie has contacted’ and fed back from’ Tata Steel regarding Tata’s permit compliance.

Water Quality parameters such as visible oil/grease and suspended solids, for Tata’s permit compliance at sample location ‘W3’ could be impacted by a discharge into the Arnallt. The ‘W’3 sampling location is something Industry and Waste have said they will need to pursue with Tata Steel, as the samples clearly needs to be representative of the permitted discharge at ‘W3’ and should not be influenced by external flows i.e. the Arnallt.

Tata raised further concern over the pumping network. Having discussed with James Wakefield (Senior Permitting Officer for Water Quality Permitting), we believe this is not something that should influence the determination of this application and should be dealt with by DCWW and Tata independently. I will pass Tata’s concerns on to DCWW. Douglas Cowie will inform DCWW that the discharge is currently unconsented and will have been active for several years. In addition to this, Tata will be informed that the asset discharges intermittently (not continuous as they had feared), is a low spiller and that any discharge should be diluted by storm water.

The application will now be Duly Made, and determination will begin.