## Consent Application Information
|  | If FE permit is to be. or has already been. consolidated with storm | Settled or, if no storm tanks, unsettled |  |  | Only if there are two separate storm activities | [6 empty] | If applicable | If applicable | If applicable |  | If applicable | If applicable | If applicable |  | If applicable | UMON4 | UMON3
Site Name | Area | FE Permit Number | Storm Permit Number | PSKPM? | New Format Permit? | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | DWF m3/day | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
AMROTH BEACH SPS | SW | N/A | BP0034003 | Yes | Yes | N/A | Amroth Beach Car Park | Amroth | Pembrokeshire | SA67 8NF | Not Required | Not Required | SN1728007250 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SN1728007250 | Not Required | SN 17102 07220 | SN 17102 07220 | SN 17102 07220 |  | 770 | 19 |  | 6mm 2D | 89 | 3
BEULAH WwTW | SE | AW1000501 | AN0337901 | Yes | Yes | N/A | Behind Glan Cammarch | Beulah | Powys | LD5 4UT | SN9222151039 | Not Required | SN9222151039 | Not Required | Not Required | SN9222151039 | Not Required | Not Required | SN 92301 51119 | Not Required | SN 92191 51181 | Not Required | SN 92282 51118 | SN 92301 51119 | SN 92297 51131 |  | 54 | 3 |  | 6mm 2D | 15
BRYNREFAIL Main SPS | NW | N/A | CG0185101 | Yes | Yes | N/A | Trem Eilian | Brynrefail | Gwynedd | LL55 3PT | Not Required | Not Required | SH5589962993 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SH 55938 63008 | Not Required | SH 55939 63009 | SH 55739 63015 | SH 55939 63009 |  | 418.34 | 45 |  | 6mm 2D | 107 | 3
LLANASA WWTW COLLIERY ROAD TANLAN | NE | CM0055401 | CG0404501 | Yes | Yes | N/A | Colliery Road | Tanlan | Prestatyn | CH8 9UU | SJ1271583618 | SJ1231083416 | Not Required | SJ 12406 83388 | SJ 12461 83307 | Not Required | SJ 12447 83315 | SJ 12461 83307 | Required | SJ 12447 83318 | Not Required | SJ 12445 83317 | Not Required | Required | SJ 12410 83386 |  | 8061 | 243 |  | 6mm 2D | 862 | 1
LLANGERNYW PS | NE | N/A | CG0179701 | Yes | Yes | N/A | Nr Bont Faen, B5382 | Llangernyw | Abergele | LL22 8PP | Not Required | Not Required | SH8775267382 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SH 87660 67425 | Not Required | SH 87650 67419 | SH 87659 67426 | Not Required |  | 45.5 | 1.18 |  | N/A | None required | 2
LLANINA WWTW/LL OLD H'DWATERS PS | SW | BP0063701 | BP0338701 | Yes | No (FE) Yes (Storm) | N/A | Off B4342 | Llanina | Ceredigion | SA45 9SP | SN4034361116 | SN4034361116 | Not Required | SN 40410 59325 | SN 40373 59438 | SN 40373 59438 | Not Required | Not Required | SN 40408 59340 | Not Required | SN 40357 59541 | Not Required | SN 40356 59549 | SN 40408 59340 | SN 40404 59324 |  | 2761 | 100 |  | 6mm 2D | 1414 | 3
LLANRHYSTUD WWTW CEREDIGION | SW | N/A | BN0160302 | Yes | Yes | N/A | Ffordd Y Traeth | Llanrhystud | Ceredigion | SY23 5BU | Not Required | Not Required | SN5322169410 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SN5322169410 | Not Required | SN 53263 69323 | SN 53252 69331 | Not Required |  | 564 | 15 |  | 6mm 2D | 7.6 | 3
LLECHRYD SPS | SW | N/A | BP0251301 | Yes | Yes | N/A | Coedmor Lane | Llechrhyd | Ceredigion | SA43 2NZ | Not Required | Not Required | SN2134743642 | Not Required | Not Required | Not Required | Not Required | Not Required | SN 21173 43640 | Not Required | SN 21359 43744 | Not Required | SN 21358 43751 | SN 21173 43640 | Not Required |  | 138.3 | 7.5 |  | 10mm 1D | 136 | 3
MORFA GARREG SPS & GIMBLET ROCK STORAGE TANK | NW | N/A | CG0151301 | Yes | Yes | N/A | Rear of No25 Morfa'r Garreg | Pwllheli | Gwynedd | LL53 5AU | Not Required | Not Required | SH 38124 34555 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SH 38124 34555 | Not Required | SH 38121 34535 | SH 38547 34329 | SH 38121 34535 |  |  | 231 |  | 10mm 2D | None required | 3 | Flows from SPS to Gimblet Rock Storage Tank (CG0144701) which has a storage capacity of 620m3.