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	Consent no
	NRWWIA424

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig

Linea

Fortran Road


CARDIFF


CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
De-chlorinated water


	FROM: St Lythans SRV, St Lythans, Cardiff, CF5 6BQ

	

	AT: NATIONAL GRID REFERENCE ST 12240 73415

	

	TO: Unnamed tributary of wrinstone brook

	

	SUBJECT TO: the conditions set out in the following schedule:

De-chlorinated water                    Schedule No. NRWWIA424

	

	This consent is issued on the 2nd day of April 2025
This consent takes effect on the 2nd day of April 2025
This consent shall cease to have effect on the 30th day of April 2025
Signed: Emma Jones


	


CONDITIONS OF CONSENT TO DISCHARGE

DE-CHLORINATED WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of de-chlorinated water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from St Lythans SRV.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR ST 12240 73415, marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 11400 cubic metres.

6. The total daily volume of the Discharge shall not exceed 2000 cubic metres.

7. The rate of the Discharge shall not exceed 22 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 2nd day of April 2025 and the 30th day of April 2025.
ANNEX 1- PLAN No. NRWWIA424
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