## SW
Sample Point | Date | Data Comments | Ammoniacal-N (mg/l) | Bio Oxygen Demand (mg/l) | Chloride (mg/l) | Chem Oxygen Demand (mg/l) | Dissolved Oxygen (mg/l) | Nitrate (mg/l) | Nitrogen, Dissolved Available Inorganic (mg/l) | Nitrite (mg/l) | pH | Total Phosphate (mg/l) | Phosphorus, Dissolved Available Inorganic | Suspended Solids (mg/l) | Temperature (degC) | Tot Organic Carbon (mg/l) | Tot Oxidised Nitrogen (mg/l) | Total Organic Nitrogen (mg/l) | Alkalinity (mg/l) | Cadmium (ug/l) | Chromium (mg/l) | Copper (mg/l) | Iron (mg/l) | Lead (mg/l) | Manganese (ug/l) | Nickel (mg/l) | Potassium (mg/l) | Sodium (mg/l) | Sulphate (mg/l) | Zinc (mg/l)
SW1 | 2025-01-29 |  | 0.016 | 2.3 | 28 | 5.6 | 10 | 0.72 | 0.4 | 0.018 | 8.1 | < 0.062 | 0.18 | 5.4 | 5.7 | 4.12 | 0.167 | 0.4 | 240 | < 0.02 | 0.00039 | 0.0034 | 0.011 | < 0.0002 | 3.3 | 0.0006 | 2.8 | 12 | 38.9 | 0.0015
SW2 | 2025-01-29 |  | 2.9 | 2.3 | 31 | 2.4 | 3.2 | 1.64 | 3 | 0.083 | 7.4 | < 0.062 | 3.33 | 2.7 | 5.7 | 3.22 | 0.395 | 0.1 | 360 | < 0.02 | 0.00023 | 0.003 | 0.032 | < 0.0002 | 710 | 0.0019 | 12 | 21 | 30.9 | 0.0026
SW3 | 2025-01-29 |  | 0.018 | 1.8 | 19 | 4.3 | 9.1 | < 0.05 | 0.3 | 0.15 | 7.5 | < 0.062 | < 0.15 | < 2 | 5.7 | 3.55 | 0.046 | 0.3 | 21 | < 0.02 | 0.00032 | 0.0049 | 0.07 | < 0.0002 | 3.8 | 0.0008 | 1.5 | 10 | 8.46 | 0.0067
SW4 | 2025-01-29 |  | 6 | 6.8 | 48 | 7.6 | 3.1 | 5.78 | 6.2 | 1.7 | 7.6 | < 0.062 | 7.77 | 5.1 | 5.7 | 4.8 | 1.82 | 0.2 | 350 | 0.03 | 0.00047 | 0.004 | 0.012 | < 0.0002 | 140 | 0.0019 | 15 | 35 | 75 | 0.0079
SW1 | 2025-02-12 |  | 0.12 | 3 | 31 | 21 | 7.6 | < 0.05 | < 0.15 | < 0.005 | 7.9 | < 0.062 | < 0.062 | 11 | 5 | 4.51 | < 0.02 | 0.7 | Monthly suite only
SW2 | 2025-02-12 |  | 3.9 | 6.8 | 31 | 14 | 2.8 | 1.23 | 4.22 | 0.042 | 7.3 | < 0.062 | < 0.062 | 5.6 | 5 | 3.21 | 0.29 | 0.4
SW3 | 2025-02-12 |  | 0.096 | 1.8 | 23 | 21 | 6.8 | 0.2 | < 0.15 | < 0.005 | 7.1 | < 0.062 | < 0.062 | < 2 | 5 | 3.82 | 0.046 | 0.4
SW4 | 2025-02-12 |  | 15 | 5.3 | 55 | 15 | 3.1 | 2.46 | 15.39 | 0.17 | 7.6 | 0.23 | 0.23 | < 2 | 5 | 4.58 | 0.606 | < 0.1
SW1 | 2025-03-05 |  | 0.048 | 4.8 | 21 | 31 | 7.9 | < 0.05 | < 0.15 | < 0.005 | 7.7 | < 0.062 | < 0.062 | 16 | 5.6 | 5.73 | < 0.02 | 0.5
SW2 | 2025-03-05 |  | 3 | 2.7 | 29 | 10 | 3.6 | 2.17 | 3.54 | 0.07 | 7.3 | < 0.062 | < 0.062 | 130 | 5.6 | 2.47 | 0.512 | 1.7
SW3 | 2025-03-05 |  | 0.082 | < 1 | 21 | 18 | 8 | 0.2 | < 0.15 | < 0.005 | 7.3 | < 0.062 | < 0.062 | < 2 | 5.6 | 3.28 | 0.046 | 0.3
SW4 | 2025-03-05 |  | 11 | 4.4 | 49 | 18 | 4.2 | 5.81 | 11.98 | 0.19 | 7.6 | 0.069 | 0.068 | < 2 | 5.6 | 3.7 | 1.37 | 1

## Groundwater
Sample Point | Date | Dip to Water (m) | Water to mAOD | Ammoniacal-N (mg/l) | Arsenic (ug/l) | Atrazine (ug/l) | Benzo(a)pyrene (ug/l) | Cadmium (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Chloride (mg/l) | Chromium (mg/l) | Copper (mg/l) | Dichlorprop (ug/l) | Dissolved Oxygen (mg/l) | Lead (mg/l) | Malathion (ug/l) | Mecoprop (ug/l) | Nitrate (mg/l) | Nitrite (mg/l) | Orthophosphate (mg/l) | pH | Redox (mV) | Total Organic Carbon (mg/l) | TributylPhosphate (mg/l) | Zinc (mg/l) | Data Comments | 1,2,4 Trimethylbenzene (ug/l) | 1,2-Dichloroethane (ug/l) | 2,3,6-Trichlorophenol (ug/l) | 2,4,5-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenol (ug/l) | Benzene (ug/l) | benzo(b)fluoranthene (ug/l) | benzo(ghi)perylene (ug/l) | benzo(k)fluoranthenel (ug/l) | Boron (mg/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Ethyl benzene (ug/l) | Fluoride (mg/l) | indeno(1,2,3-cd)pyrene (ug/l) | Ionic Balance (%) | m,p-xylenes (ug/l) | Mercury (ug/l) | Molybdenum (ug/l) | Naphthalene (ug/l) | Nickel (mg/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | Phenol (ug/l) | p-Isopropyltoluene (ug/l) | Potassium (mg/l) | Selenium (mg/l) | Sodium (mg/l) | Toluene (ug/l) | Tributyltin (ug/l) | Triphenylphosphate (ug/l) | Vanadium (mg/l)
GDW01(D) | 2025-03-12 | 2.42 | 7.92 | 4.8 | 27 | < 0.05 | < 0.01 | 0.03 | < 3 | 29 | < 0.0002 | < 0.0005 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.4 | 0.017 | 0.097 | 8.1 | 116.6 | 0.91 | < 0.1 | 0.0008 |  | Annual suite - scheduled for later in year
GDW01(S) | 2025-03-12 | 2.4 | 7.94 | 0.6 | 84.9 | < 0.05 | < 0.01 | 0.06 | < 3 | 23 | < 0.0002 | < 0.0005 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.15 | 0.027 | 0.26 | 8.9 | 95.2 | 0.72 | < 0.1 | 0.0008
GDW02(D) | 2025-03-12 | 2.38 | 7.79 | 3.9 | 9.18 | < 0.05 | < 0.01 | 0.02 | < 3 | 22 | < 0.0002 | 0.0006 | < 0.02 | 1 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.006 | < 0.062 | 6.6 | 167.7 | 3.23 | < 0.1 | 0.0034
GDW02(S) | 2025-03-12 | 2.33 | 7.84 | 23 | 1.38 | < 0.05 | < 0.01 | < 0.02 | < 3 | 170 | 0.00043 | 0.0014 | < 0.02 | < 1 | 0.0002 | < 0.03 | < 0.02 | 0.05 | < 0.005 | < 0.062 | 6.8 | 160.4 | 4.85 | < 0.1 | 0.0562
GDW03(D) | 2025-03-12 | 2.71 | 7.09 | 11 | 0.78 | < 0.05 | < 0.01 | < 0.02 | < 3 | 26 | < 0.0002 | 0.0019 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.05 | 0.019 | U/S | 6.3 | 98.2 | 4.22 | < 0.1 | 0.0029
GDW03(S) | 2025-03-12 | 2.96 | 6.84 | 14 | 0.53 | < 0.05 | < 0.01 | < 0.02 | < 3 | 38 | < 0.0002 | 0.001 | < 0.02 | 1.6 | 0.0003 | < 0.03 | < 0.02 | < 0.05 | 0.014 | < 0.062 | 7.3 | 156.8 | 3.06 | < 0.1 | 0.0023
GDW04 | 2025-03-18 | 0.2 | 6.21 | 7.2 | 39.7 | < 0.05 | < 0.01 | 0.06 | < 3 | 26 | 0.0011 | 0.0051 | < 0.02 | < 1 | 0.0014 | < 0.03 | < 0.02 | < 0.05 | < 0.005 | 0.068 | 5.8 | 152.8 | 58.4 | < 0.1 | 0.0144
GDW05 | 2025-03-18 | 0.63 | 6.58 | 24 | 6.31 | < 0.05 | < 0.01 | < 0.02 | < 3 | 28 | 0.00052 | 0.0012 | < 0.02 | 6.8 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.008 | 0.18 | 7.5 | -13.8 | 16.2 | < 0.1 | 0.0015
GDW06 | 2025-03-18 | 0.37 | 6.51 | 11 | 1.14 | < 0.05 | < 0.01 | < 0.02 | < 3 | 37 | < 0.0002 | 0.0013 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.013 | < 0.062 | 6.7 | 100.5 | 8.61 | < 0.1 | 0.0181
GDW07 | 2025-03-18 | 0.39 | 6.15 | 12 | 6.41 | < 0.05 | < 0.01 | < 0.02 | < 3 | 64 | 0.00058 | 0.0007 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.012 | 0.17 | 6.9 | 78.5 | 5.05 | < 0.1 | 0.0029
GDW08 | 2025-03-18 | 0.46 | 6.76 | 16 | 2.84 | < 0.05 | < 0.01 | < 0.02 | < 3 | 21 | 0.00024 | 0.0006 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.013 | < 0.062 | 7.4 | 67.9 | 9.33 | < 0.1 | 0.0016
GDW09 | 2025-03-18 | 0.2 | 6.11 | 2.1 | 18.2 | < 0.05 | < 0.01 | < 0.02 | < 3 | 55 | 0.0002 | 0.0007 | < 0.02 | 4.1 | 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.008 | 0.19 | 7 | 49.5 | 4.46 | < 0.1 | 0.0088
GDW10 | 2025-03-18 | 1.18 | 6.02 | 10 | 2.31 | < 0.05 | < 0.01 | < 0.02 | < 3 | 29 | < 0.0002 | 0.0007 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.011 | 0.064 | 7.5 | 59.3 | 7.39 | < 0.1 | 0.0007
GDW11 | 2025-03-18 | 1.07 | 5.91 | 12 | 0.67 | < 0.05 | < 0.01 | < 0.02 | < 3 | 68 | 0.00029 | 0.0011 | < 0.02 | 6.4 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | < 0.005 | < 0.062 | 6.9 | 78.6 | 8.52 | < 0.1 | 0.0031
GDW12 | 2025-03-18 | 1.53 | 5.72 | 8.3 | 2.63 | < 0.05 | < 0.01 | < 0.02 | < 3 | 22 | < 0.0002 | 0.0012 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.018 | < 0.062 | 7.5 | 45.9 | 6.48 | < 0.1 | 0.0013
GDW13 | 2025-03-18 | 1.2 | 6.19 | 38 | 1.01 | < 0.05 | < 0.01 | < 0.02 | < 3 | 120 | 0.00024 | 0.001 | < 0.02 | 5.2 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.026 | < 0.062 | 6.9 | 74.8 | 6.96 | < 0.1 | 0.0022
GDW14[R] | 2025-03-18 | 0.78 | 5.21 | 45 | 2.18 | < 0.05 | < 0.01 | < 0.02 | < 3 | 110 | 0.00057 | 0.0011 | < 0.02 | < 1 | < 0.0002 | < 0.03 | 0.25 | < 0.05 | < 0.005 | < 0.062 | 7.1 | 62.9 | 10.6 | < 0.1 | 0.0019
GDW15[R] | 2025-03-18 | 1.08 | 5.09 | 11 | 1.67 | < 0.05 | < 0.01 | < 0.02 | < 3 | 92 | 0.00059 | 0.0026 | < 0.02 | < 1 | < 0.0002 | < 0.03 | 0.1 | < 0.05 | 0.023 | < 0.062 | 6.8 | 85.5 | 17.4 | < 0.1 | 0.0039
GDW16 | 2025-03-18 | 0.2 | 5.99 | 0.97 | 1.48 | < 0.05 | < 0.01 | < 0.02 | < 3 | 45 | 0.00029 | 0.0015 | < 0.02 | 6.7 | 0.0004 | < 0.03 | < 0.02 | < 0.05 | < 0.005 | < 0.062 | 6.1 | 153.8 | 9.36 | < 0.1 | 0.0027
GDW17 | 2025-03-18 | 0.11 | 6.04 | 1.8 | 1.66 | < 0.05 | < 0.01 | < 0.02 | < 3 | 180 | 0.00021 | 0.0006 | < 0.02 | 6.7 | < 0.0002 | < 0.03 | < 0.02 | < 0.05 | 0.013 | < 0.062 | 6.3 | 39.9 | 8.64 | < 0.1 | 0.0022
GDW18 | 2025-03-31 | 0.1 | 6.05 | 14 | 26.3 | < 0.05 | < 0.01 | < 0.02 | < 3 | 63 | 0.00032 | 0.0012 | < 0.02 | 6.1 | < 0.0002 | < 0.03 | 0.05 | < 0.05 | 0.015 | 0.23 | 7.3 | 208.9 | 5.03 | < 0.1 | 0.0043
PCS BH16A | 2025-02-12 |  |  | 37 | 5.37 | < 0.05 | < 0.01 | < 0.02 | < 3 | 110 | 0.00096 | < 0.0005 | < 0.02 | < 1 | 0.0018 | < 0.03 | 0.56 | 0.15 | 0.012 | < 0.062 | 6.8 | -20.5 | 14.1 | < 0.1 | 0.0152
PCS BH16B | 2025-02-12 |  |  | 17 | 2.89 | < 0.05 | 0.07 | < 0.02 | < 3 | 74 | 0.00054 | < 0.0005 | < 0.02 | 6.7 | < 0.0002 | < 0.03 | 0.09 | < 0.05 | < 0.005 | 0.11 | 6.9 | -76.7 | 6.42 | < 0.1 | 0.0037
U/S - Unsuitable for analysis due to sample matrix

## Perimeter_Gas
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2025-01-29 | 0 | 0.1 | 20.9 | 1 | 0 | 1001 | -1.46
TIRGP014 | 2025-01-29 | 0 | 5.4 | 13.3 | 1 | 0 | 1001 | 0.05
TIRGP015 | 2025-01-29 | 0 | 4.5 | 14.6 | 2 | 0 | 1001 | -1.41
TIRGP016 | 2025-01-29 | 0 | 8.9 | 8.7 | 1 | 0 | 1001 | -0.99
TIRGP017 | 2025-01-29 | 0 | 1.3 | 18.8 | 1 | 0 | 1001 | -0.19
TIRGP018 | 2025-01-29 | 0 | 2.9 | 18.8 | 1 | 0 | 1001 | -0.74
TIRGP019 | 2025-01-29 | 0 | 0.1 | 21.4 | 1 | 0 | 1001 | -0.74
TIRGP020 | 2025-01-29 | 4.8 | 4.8 | 14.9 | 1 | 0 | 1001 | -0.28
TIRGP021 | 2025-01-29 | 0 | 1.3 | 17.4 | 0 | 0 | 1001 | -1.18
TIRGP022 | 2025-01-29 | 0 | 0.3 | 21.2 | 1 | 0 | 1001 | 0.07
TIRGP023 | 2025-01-29 | 0.1 | 10.2 | 3.1 | 6 | 1 | 1001 | -1.67
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2025-02-12 | 0 | 0.1 | 20.8 | 1 | 0 | 1019 | -2.34
TIRGP014 | 2025-02-12 | 0 | 5 | 14.5 | 1 | 0 | 1018 | -1.39
TIRGP015 | 2025-02-12 | 0 | 3.9 | 16.9 | 1 | 0 | 1019 | -0.28
TIRGP016 | 2025-02-12 | 0 | 8.3 | 10.7 | 0 | 0 | 1019 | -2.13
TIRGP017 | 2025-02-12 | 0 | 3.1 | 18 | 0 | 0 | 1019 | -3.22
TIRGP018 | 2025-02-12 | 0 | 2.9 | 17.3 | 0 | 0 | 1018 | -2.41
TIRGP019 | 2025-02-12 | 0 | 2 | 17.9 | 1 | 0 | 1019 | -0.67
TIRGP020 | 2025-02-12 | 4.1 | 7.8 | 10.3 | 1 | 0 | 1019 | -3.4
TIRGP021 | 2025-02-12 | 14 | 5.5 | 1.7 | 1 | 0 | 1018 | -4.07
TIRGP022 | 2025-02-12 | 0 | 1.8 | 17.8 | 1 | 0 | 1018 | -4.77
TIRGP023 | 2025-02-12 | 0 | 10.1 | 0.6 | 7 | 2 | 1019 | -2.34
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2025-03-12 | 0 | 0.1 | 21.4 | 1 | 0 | 1003 | -0.26
TIRGP014 | 2025-03-12 | 0 | 5 | 16.2 | 1 | 0 | 1002 | 1.58
TIRGP015 | 2025-03-12 | 0 | 4.4 | 16.7 | 2 | 0 | 1002 | -0.37
TIRGP016 | 2025-03-12 | 0 | 8.4 | 10.6 | 1 | 0 | 1003 | -0.85
TIRGP017 | 2025-03-12 | 0 | 3.1 | 18.5 | 2 | 0 | 1003 | -0.62
TIRGP018 | 2025-03-12 | 0 | 10.5 | 6.7 | 1 | 0 | 1003 | -0.19
TIRGP019 | 2025-03-12 | 0 | 3.6 | 18.7 | 1 | 0 | 1003 | -0.16
TIRGP020 | 2025-03-12 | 6.6 | 8.7 | 11.3 | 2 | 0 | 1003 | -0.14
TIRGP021 | 2025-03-12 | 17.3 | 5.2 | 0.6 | 1 | 0 | 1003 | -0.26
TIRGP022 | 2025-03-12 | 0 | 1.1 | 19.3 | 2 | 0 | 1002 | -0.14
TIRGP023 | 2025-03-12 | 0.1 | 9.1 | 5 | 7 | 0 | 1003 | -0.12

## Leachate_Quality
Sample Point | Date | Ammoniacal-N (mg/l) | Atrazine (ug/l) | Benzo(a)pyrene (ug/l) | Bio Oxygen Demand (mg/l) | Cadmium (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Chem Oxygen Demand (mg/l) | Chloride (mg/l) | Conductivity (uS/cm) | Dichlorprop (ug/l) | Dissolved Oxygen (mg/l) | Lead (mg/l) | Mecoprop (ug/l) | Orthophosphate (mg/l) | pH | Monohydric Phenols (mg/l) | Sodium (mg/l) | Temperature (degC) | 1,2,4 Trimethylbenzene (ug/l) | TributylPhosphate (mg/l) | Zinc (mg/l) | Data Comments | 1,2-Dichloroethane (ug/l) | 2,3,6-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenoll (ug/l) | Arsenic (mg/l) | Benzene (ug/l) | benzo(b)fluoranthene (ug/l) | benzo(ghi)perylene (ug/l) | benzo(k)fluoranthene (ug/l) | Boron (mg/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Chromium (mg/l) | Copper (mg/l) | Dichloromethane (ug/l) | Ethyl benzene (ug/l) | Fluoride (mg/l) | indeno(1,2,3-cd)pyrene (ug/l) | m,p-xylenes (ug/l) | Mercury (ug/l) | Molybdenum (ug/l) | Naphthalene (ug/l) | Nickel (mg/l) | Nitrate (mg/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | p-Isopropyltoluene (ug/l) | Potassium (mg/l) | Selenium (mg/l) | Toluene (ug/l) | Tributyltin (ug/l) | Vanadium Dissolved (mg/l)
LEW05A | Six-Monthly Data - scheduled for later in year | [22 empty] | Annual Data - scheduled for later in year
LEW06
LEW09a
LEW12a
LEW16
LEW22
LEW23
LEW25
LEW26
LEW28
LEW29
LEW31

## Leachate_Dips
Sample Point | Date | Dip to leachate (m) | Leachate head (m) | Leachate level (mAOD) | Data Comments
LEW05A | 2025-01-21 |  |  |  | Dry
LEW05A | 2025-02-27 |  |  |  | Dry
LEW05A | 2025-03-27 |  |  |  | Dry
LEW06 | 2025-01-21 | 19.39 | 0.2 | 13.66
LEW06 | 2025-02-27 | 19.37 | 0.22 | 13.68
LEW06 | 2025-03-27 | 19.58 | 0.01 | 13.47
LEW07 | 2025-01-21 | 17.46 | 4.61 | 17.11
LEW07 | 2025-02-27 | 15.24 | 6.83 | 19.33
LEW07 | 2025-03-27 | 20.22 | 1.85 | 14.35
LEW08 | 2025-01-21 | 23.33 | 0.42 | 13.08
LEW08 | 2025-02-27 | 23.32 | 0.43 | 13.09
LEW08 | 2025-03-27 | 23.31 | 0.44 | 13.1
LEW09a | 2025-01-21 |  |  |  | hitting solidifying substance at 6.09m
LEW09a | 2025-02-27 |  |  |  | hitting solidifying substance at 6.09m
LEW09a | 2025-03-27 |  |  |  | hitting solidifying substance at 6.09m
LEW09b | 2025-01-21 |  |  |  | Blocked; affected by solidifying substance
LEW09b | 2025-02-27 |  |  |  | Blocked; affected by solidifying substance
LEW09b | 2025-03-27 |  |  |  | Blocked; affected by solidifying substance
LEW10a | 2025-01-21 | 20.36 | 0.78 | 14.78
LEW10a | 2025-02-27 | 20.39 | 0.75 | 14.75
LEW10a | 2025-03-27 | 20.48 | 0.66 | 14.66
LEW11A | 2025-01-21 | 12.15 | 0.58 | 12.71
LEW11A | 2025-02-27 | 12.35 | 0.38 | 12.51
LEW11A | 2025-03-27 | 12.34 | 0.39 | 12.52
LEW12a | 2025-01-21 | 23.85 | 0.88 | 11.53
LEW12a | 2025-02-27 | 24.1 | 0.63 | 11.28
LEW12a | 2025-03-27 | 23.55 | 1.18 | 11.83
LEW13a | 2025-01-21 | 12.81 | 1.59 | 12.72
LEW13a | 2025-02-27 | 12.88 | 1.52 | 12.65
LEW13a | 2025-03-27 | 12.88 | 1.52 | 12.65
LEW14 | 2025-01-21 |  |  |  | Blocked; affected by solidifying substance
LEW14 | 2025-02-27 |  |  |  | Blocked; affected by solidifying substance
LEW14 | 2025-03-27 |  |  |  | Blocked; affected by solidifying substance
LEW14a | 2025-01-21 |  |  |  | affected by solidifying substance, blocking pumps
LEW14a | 2025-02-27 |  |  |  | affected by solidifying substance, blocking pumps
LEW14a | 2025-03-27 |  |  |  | affected by solidifying substance, blocking pumps
LEW15a | 2025-01-21 |  |  |  | affected by solidifying substance, blocking pumps
LEW15a | 2025-02-27 |  |  |  | affected by solidifying substance, blocking pumps
LEW15a | 2025-03-27 |  |  |  | affected by solidifying substance, blocking pumps
LEW16 | 2025-01-21 |  |  |  | affected by solidifying substance, blocking pumps
LEW16 | 2025-02-27 |  |  |  | affected by solidifying substance, blocking pumps
LEW16 | 2025-03-27 |  |  |  | affected by solidifying substance, blocking pumps
LEW20 | 2025-01-21 | 6.82 | 2.17 | 13.37
LEW20 | 2025-02-27 | 5.74 | 3.25 | 14.45
LEW20 | 2025-03-27 | 5.76 | 3.23 | 14.43
LEW21 | 2025-01-21 | 17.14 | 4.13 | 16.33
LEW21 | 2025-02-27 | 17.29 | 3.98 | 16.18
LEW21 | 2025-03-27 | 17.34 | 3.93 | 16.13
LEW22 | 2025-01-21 | 19.46 | 2.68 | 15.28
LEW22 | 2025-02-27 | 19.46 | 2.68 | 15.28
LEW22 | 2025-03-27 | 19.22 | 2.92 | 15.52
LEW23 | 2025-01-21 | 19.78 | 3.67 | 14.87
LEW23 | 2025-02-27 | 19.91 | 3.54 | 14.74
LEW23 | 2025-03-27 | 20 | 3.42 | 14.62
LEW24 | 2025-01-21 | 24.33 | 3.39 | 14.89
LEW24 | 2025-02-27 | 22.7 | 5.02 | 16.52
LEW24 | 2025-03-27 | 24.41 | 3.31 | 14.81
LEW25 | 2025-01-21 | 18.56 | 5.98 | 15.98
LEW25 | 2025-02-27 | 18.33 | 6.21 | 16.21
LEW25 | 2025-03-27 | 19.16 | 5.38 | 15.38 | Faulty air pump – now rectified
LEW26 | 2025-01-21 | 13.82 | 2.27 | 11.27
LEW26 | 2025-02-27 | 14.06 | 2.03 | 11.03
LEW26 | 2025-03-27 | 14.37 | 1.72 | 10.72
LEW27 | 2025-01-21 |  |  |  | Needs new dip tube
LEW27 | 2025-02-27 |  |  |  | Needs new dip tube
LEW27 | 2025-03-27 | 19.82 | 4.44 | 14.54 | Pump off for well raising
LEW28 | 2025-01-21 | 11.15 | 6.45 | 16.35
LEW28 | 2025-02-27 | 9.88 | 7.72 | 17.62
LEW28 | 2025-03-27 | 12.57 | 5.03 | 14.93
LEW29 | 2025-01-21 | 10.8 | 8.23 | 17.63
LEW29 | 2025-02-27 | 11 | 7.99 | 17.39
LEW29 | 2025-03-27 | 11.76 | 7.23 | 16.63 | Pump disconnected to re-route lines
LEW30 | 2025-01-21 | 17.13 | 4.2 | 14.1
LEW30 | 2025-02-27 | 9.3 | 11.52 | 21.42 | Suspected pump failure
LEW30 | 2025-03-05 | 17.22 | 3.6 | 13.5 | Re-dip, pump has lowered level
LEW31 | 2025-01-21 | 15.34 | 5.38 | 16.68
LEW31 | 2025-02-27 | 16.03 | 4.69 | 15.99
LEW31 | 2025-03-27 | 15.87 | 4.85 | 16.15
LEW32 | 2025-01-21 | 7.34 | 3.2 | 14.6
LEW32 | 2025-02-27 | 7.33 | 3.21 | 14.61
LEW32 | 2025-03-27 | 7.35 | 3.19 | 14.59
LEW33 | 2025-01-21 | 16.44 | 3.29 | 14.82
LEW33 | 2025-02-27 | 19.55 | 0.14 | 11.67
LEW33 | 2025-03-27 | 19.61 | 0.39 | 11.53
LEW34 | 2025-01-21 | 12.04 | 0.29 | 12.01
LEW34 | 2025-02-27 | 11.73 | 0.29 | 12.01
LEW34 | 2025-03-27 | 12.02 | 0.05 | 11.72

## Engines+Compound
Note: Permit Number EPR/BP3738LS for both phases of the site.
| Date | Nox (mg/m3) | CO (mg/m3) | Fail/Pass | Action Taken | Comments
Unit 1 | 2025-02-26 | 489 | 1073 | Pass
Date | Time | CH4 | CO2 | O2 | Balance | Free N2 | CO | Suction | Del. Pressure
|  | % v/v | % v/v | % v/v | % v/v | % v/v | ppm | -mb | mb
2025-01-02 | 12:30 | 52.6 | 31 | 0.4 | 16 | 14.4 | 5 | -28.75 | 155.68
2025-01-03 | 12:52 | 51.5 | 29.7 | 0.8 | 18 | 14.8 | 3 | -29.21 | 155.79
2025-01-06 | 11:00 | 53.2 | 32.3 | 0.3 | 14.2 | 13 | 2 | -25.35 | 161.92
2025-01-10 | 13:20 | 53 | 32.8 | 0.2 | 14 | 13.2 | 2 | -28.82 | 155
2025-01-14 | 7:00 | 52 | 31.8 | 0.4 | 15.8 | 14.2 | 1 | -28.79 | 146.1
2025-01-16 | 15:30 | 51.8 | 31.6 | 0.5 | 16.1 | 14.1 | 1 | -29.12 | 155.86
2025-01-17 | 10:00 | 44 | 28.9 | 0.7 | 26.4 | 23.6 | 7 | -35.4 | 155.64
2025-01-20 | 10:10 | 47.5 | 30.8 | 1.7 | 20 | 13.2 | 2 | -28.01 | 152.71
2025-01-23 | 8:00 | 48.1 | 31 | 0.9 | 20 | 16.4 | 1 | -25.06 | 160.28
2025-01-24 | 8:00 | 48 | 29.8 | 1 | 21.2 | 17.2 | 1 | -25.62 | 161.1
2025-01-27 | 12:00 | 49.9 | 29.9 | 0.7 | 19.9 | 17.1 | 4 | -26.36 | 152.44
2025-01-31 | 9:00 | 43.1 | 28.5 | 0.7 | 27.7 | 24.9 | 3 | -28.56 | 160.28
2025-02-03 |  | 44 | 28.2 | 0.6 | 27.8 | 25.4 | 2 | -27.89 | 161.25
2025-02-07 | 13:20 | 45 | 28 | 0.5 | 26.5 | 24.5 | 3 | -28.98 | 162.25
2025-02-10 | 15:00 | 45.3 | 27.9 | 0.6 | 26.2 | 23.8 | 2 | -26.45 | 153.69
2025-02-14 | 7:30 | 41 | 28.8 | 1.2 | 29 | 24.2 | 2 | -31.11 | 161.55
2025-02-14 | 12:30 | 43 | 29.3 | 0.9 | 26.8 | 23.2 | 2 | -24.71 | 167.06
2025-02-17 | 8:00 | 42 | 30.2 | 1 | 26.7 | 22.7 | 1 | -33.87 | 176.5
2025-02-21 | 7:30 | 44.6 | 29.2 | 0.7 | 25.5 | 22.7 | 2 | -27 | 159.25
2025-02-24 | 9:30 | 44.5 | 26.2 | 0.9 | 28.4 | 24.8 | 3 | -24.82 | 133.62
2025-02-25 | 13:00 | 48.4 | 26.9 | 0.9 | 23.8 | 20.2 | 2 | -26.1 | 156.05
2025-02-28 | 9:40 | 48.1 | 25.3 | 0.8 | 23.8 | 20.6 | 2 | -26.21 | 155.6
2025-03-03 | 13:00 | 42.2 | 27.6 | 1 | 29.1 | 25.1 | 3 | -34.11 | 155.4
2025-03-06 | 10:00 | 43.7 | 27.9 | 0.4 | 27.6 | 26 | 4 | -33.13 | 152.52
2025-03-07 | 13:30 | 43.6 | 27.2 | 0.9 | 28.3 | 24.7 | 2 | -35.11 | 150.22
2025-03-11 | 14:30 | 42.9 | 26.2 | 1 | 29.9 | 25.9 | 3 | -34.47 | 151.31
2025-03-14 | 13:00 | 40.6 | 27.6 | 1 | 30.8 | 26.8 | 2 | -39 | 148.77
2025-03-17 | 13:00 | 38.1 | 27.7 | 1.2 | 38.9 | 34.1 | 2 | -38.9 | 153.58
2025-03-17 | 14:20 | 40 | 28.1 | 0.7 | 30.59 | 27.79 | 4 | -30.59 | 157.62
2025-03-21 | 7:40 | 39.7 | 28.2 | 1.1 | 31 | 26.6 | 3 | -34.24 | 152.37
2025-03-24 | 9:00 | 40.5 | 27.3 | 1.2 | 31.1 | 26.3 | 2 | -37.38 | 152.36
2025-03-25 | 9:00 | 45.1 | 28.3 | 0.9 | 25.7 | 22.1 | 2 | -33.5 | 153.79
2025-03-27 | 15:00 | 44.9 | 27.3 | 0.7 | 27.1 | 24.3 | 3 | -35.09 | 149.93
2025-03-28 | 7:30 | 45.1 | 26.3 | 0.9 | 27.7 | 24.1 | 3 | -34.21 | 149.65
2025-03-31 | 8:25 | 42.7 | 27.7 | 1 | 28.6 | 24.6 | 2 | -37.82 | 152.64

## Gas_Field_Data
Asset ID | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Balance Gas (%) | Atm Pressure (mbar) | Relative Pressure (mbar)
TIRLEW06 | 2025-01-20 11:56 | 18.3 | 20.1 | 4.5 | 7 | 0 | 57.1 | 1013 | -0.18
TIRLEW06 | 2025-02-24 11:02 | 13.4 | 16.2 | 5.2 | 11 | 0 | 65.2 | 1007 | -4.42
TIRLEW06 | 2025-03-24 09:50 | 8.5 | 10.9 | 11.3 | 4 | 0 | 69.3 | 1014 | 0
TIRLEW07 | 2025-01-20 12:11 | 35.1 | 26.4 | 0.2 | 0 | 0 | 38.3 | 1012 | 0.07
TIRLEW07 | 2025-03-24 10:02 | 31.5 | 24.3 | 0.1 | 1 | 1 | 44.1 | 1014 | 0.11
TIRLEW08 | 2025-01-20 12:33 | 58.5 | 34.8 | 1.2 | 4 | 0 | 5.5 | 1013 | 0.48
TIRLEW10 | 2025-01-20 12:50 | 2 | 8.8 | 14.4 | 0 | 0 | 74.8 | 1013 | 0.12
TIRLEW10 | 2025-02-24 12:07 | 19.2 | 19.6 | 10.2 | 1 | 0 | 51 | 1008 | -1.62
TIRLEW10 | 2025-03-24 10:33 | 3.1 | 4.3 | 17 | 2 | 1 | 75.6 | 1015 | -0.5
TIRLEW12 | 2025-01-20 13:31 | 61.6 | 17.7 | 10.4 | 0 | 0 | 10.3 | 1012 | -26.15
TIRLEW12 | 2025-02-24 12:58 | 62.7 | 18.7 | 2.5 | 1 | 0 | 16.1 | 1008 | -22.19
TIRLEW12 | 2025-02-24 13:00 | 61.9 | 18.7 | 2.2 | 1 | 0 | 17.2 | 1008 | -20.35
TIRLEW12 | 2025-03-24 11:05 | 35.4 | 16.3 | 6.8 | 2 | 2 | 41.5 | 1016 | -22.8
TIRLEW12 | 2025-03-24 11:06 | 35.3 | 16.2 | 6.8 | 1 | 1 | 41.7 | 1016 | -17.38
TIRLEW14 | 2025-01-20 13:57 | 12.1 | 9.2 | 8.5 | 0 | 0 | 70.2 | 1012 | 0.02
TIRLEW14 | 2025-02-24 13:41 | 45.9 | 13.1 | 5.8 | 1 | 0 | 35.2 | 1008
TIRLEW14 | 2025-03-24 11:30 | 12.9 | 12 | 6.8 | 2 | 2 | 68.3 | 1016 | -0.04
TIRLEW15 | 2025-01-20 15:26 | 0 | 2.6 | 20.4 | 0 | 0 | 77 | 1014 | 0.19
TIRLEW15 | 2025-02-25 12:52 | 0 | 5.6 | 18.7 | 1 | 0 | 75.7 | 1016 | -0.17
TIRLEW15 | 2025-03-24 12:56 | <<<< | 5.2 | 19.4 | 2 | 2 | >>>> | 1016 | -1.19
TIRLEW16 | 2025-01-20 15:23 | 0 | 5.9 | 19.7 | 0 | 0 | 74.4 | 1013 | -0.02
TIRLEW16 | 2025-02-24 14:36 | 50.5 | 36.3 | 2.3 | 11 | 1 | 10.9 | 1009 | -3.98
TIRLEW16 | 2025-03-24 12:43 | 15.5 | 22 | 5.4 | 5 | 3 | 57.1 | 1016 | 0.27
TIRLEW25 | 2025-01-20 12:25 | 1 | 9.1 | 3.8 | 0 | 0 | 86.1 | 1012 | 0.34
TIRLEW25 | 2025-02-24 11:51 | 21.9 | 18.6 | 2.8 | 0 | 0 | 56.7 | 1008 | -1.14
TIRLEW25 | 2025-03-24 10:17 | 21 | 23.4 | 0.1 | 2 | 0 | 55.5 | 1015 | -0.51
TIRLEW27 | 2025-01-20 15:22 | 0.4 | 9 | 18.8 | 0 | 0 | 71.8 | 1013 | 0.16
TIRLEW27 | 2025-02-25 12:50 | 2.9 | 15.9 | 6.9 | 2 | 0 | 74.3 | 1016 | -0.05
TIRLEW27 | 2025-03-24 12:56 | 0 | 6.8 | 18.9 | 2 | 2 | 74.3 | 1016 | 0.12
TIRLEW29 | 2025-01-20 13:55 | 44.3 | 10.1 | 1 | 0 | 0 | 44.6 | 1013 | 0.41
TIRLEW29 | 2025-02-24 13:38 | 17.9 | 6.5 | 3.8 | 1 | 0 | 71.8 | 1009 | 0.28
TIRLEW29 | 2025-03-24 11:29 | 32.4 | 9.5 | 7.7 | 1 | 1 | 50.4 | 1017 | 0.11
TIRLEW30 | 2025-01-20 13:57 | 0.4 | 6.5 | 18.3 | 0 | 0 | 74.8 | 1013 | -0.41
TIRLEW30 | 2025-02-25 12:50 | 0.9 | 12.8 | 15.6 | 1 | 0 | 70.7 | 1016 | -0.17
TIRLEW30 | 2025-03-24 11:31 | 11.7 | 11.7 | 7.3 | 2 | 1 | 69.3 | 1016 | 0.09
TIRLEW32 | 2025-01-20 14:20 | 68.3 | 33.7 | 0 | 2 | 0 | 0 | 1013 | -6.16
TIRLEW32 | 2025-01-20 14:22 | 66.2 | 33 | 0.5 | 3 | 0 | 0.3 | 1013 | -4.71
TIRLEW32 | 2025-02-25 12:52 | 0 | 7.5 | 18.3 | 1 | 0 | 74.2 | 1016 | -0.05
TIRLEW32 | 2025-03-24 12:01 | 68.3 | 30.9 | 1 | 5 | 2 | 0 | 1017 | -0.55
TIRLEW34 | 2025-01-20 14:43 | 57.4 | 42.1 | 0 | 7 | 11 | 0.5 | 1012 | -0.39
TIRLEW34 | 2025-02-24 14:58 | 35.3 | 27.2 | 6.5 | 4 | 0 | 31 | 1009 | -3.13
TIRLEW34 | 2025-03-24 12:50 | 54 | 32.9 | 3.3 | 4 | 4 | 9.8 | 1016 | 0.23
TIRLEW9B | 2025-01-20 15:22 | 0 | 7.2 | 19.4 | 1 | 0 | 73.4 | 1013 | 0.19
TIRLEW9B | 2025-01-20 15:28 | 0 | 2.7 | 20.2 | 0 | 0 | 77.1 | 1014 | 0.19
TIRLEW9B | 2025-02-24 14:34 | 8.8 | 18.7 | 12.2 | 1 | 0 | 60.3 | 1008 | -3.39
TIRLEW9B | 2025-03-24 12:44 | 4.7 | 15.8 | 13.8 | 4 | 3 | 65.7 | 1016 | 0.07
TIRSCAV1 | 2025-01-20 14:11 | 50.6 | 21.8 | 5.3 | 1 | 0 | 22.3 | 1014 | -20.9
TIRSCAV1 | 2025-02-25 11:43 | 25.3 | 15.6 | 2.9 | 2 | 0 | 56.2 | 1015 | -0.36
TIRSCAV1 | 2025-03-24 11:49 | 52.7 | 20 | 5.7 | 4 | 2 | 21.6 | 1018 | -2.2
TIRSCAV2 | 2025-01-20 14:08 | 71.4 | 27.7 | 0.6 | 2 | 0 | 0.3 | 1014 | -20.26
TIRSCAV2 | 2025-02-25 11:42 | 67.2 | 21.4 | 2.1 | 3 | 0 | 9.3 | 1015 | -22.35
TIRSCAV2 | 2025-03-24 11:39 | 81 | 25.1 | 0.1 | 4 | 2 | 0 | 1018 | -2.5
TIRSCAV3 | 2025-01-20 13:58 | 0 | 6 | 19.1 | 0 | 0 | 74.9 | 1013 | 0.07
TIRSCAV3 | 2025-02-25 12:51 | 0.2 | 9.5 | 17.6 | 1 | 0 | 72.7 | 1016 | 0.07
TIRSCAV3 | 2025-03-24 11:32 | 4.2 | 10 | 11.7 | 1 | 1 | 74.1 | 1016 | 0.05
TIRSP1MA | 2025-01-20 15:34 | 48 | 29.3 | 1.3 | 2 | 0 | 21.4 | 1014 | -20.25
TIRSP1MA | 2025-02-25 12:46 | 48.4 | 26.9 | 0.9 | 3 | 0 | 23.8 | 1016 | -26.2
TIRSP1MA | 2025-03-24 13:25 | 45 | 27.5 | 0.9 | 4 | 2 | 26.6 | 1019 | -34.52
TIRSP1MB | 2025-01-20 11:33 | 47.5 | 30.8 | 1.7 | 2 | 0 | 20 | 1016 | -28.01
TIRSP1MB | 2025-02-24 10:23 | 44.5 | 26.2 | 0.9 | 2 | 0 | 28.4 | 1011 | -26.22
TIRSP1MB | 2025-03-24 09:04 | 40.5 | 27.3 | 1.1 | 2 | 0 | 31.1 | 1013 | -37.38
TIRSP2MA | 2025-01-20 15:35 | 48.1 | 30.9 | 0.9 | 2 | 0 | 20.1 | 1014 | 166.97
TIRSP2MA | 2025-02-25 12:48 | 46.6 | 28.4 | 0.8 | 3 | 0 | 24.2 | 1015 | 156.05
TIRSP2MA | 2025-03-24 13:26 | 44.8 | 28.2 | 1 | 4 | 11 | 26 | 1018 | 149.65
TIRSP2MB | 2025-01-20 11:35 | 48.1 | 31.7 | 1.1 | 3 | 0 | 19.1 | 1016 | 152.71
TIRSP2MB | 2025-02-24 10:24 | 43.6 | 27.7 | 0.6 | 2 | 0 | 28.1 | 1011 | 141.25
TIRSP2MB | 2025-03-24 09:05 | 40.9 | 27.2 | 1.2 | 2 | 3 | 30.7 | 1016 | 152.36
TIRW12A1 | 2025-01-20 14:24 | 68 | 32.6 | 0.2 | 2 | 0 | 0 | 1014 | -11.35
TIRW12A1 | 2025-02-25 11:56 | 68 | 30.6 | 0.1 | 4 | 0 | 1.3 | 1014 | -16.34
TIRW12A1 | 2025-03-24 12:03 | 73.8 | 31.2 | 0 | 4 | 4 | 0 | 1017 | 1.4
TIRW12A2 | 2025-01-20 14:17 | 68.7 | 30.8 | 0.4 | 1 | 0 | 0.1 | 1013 | -20.94
TIRW12A2 | 2025-02-25 11:53 | 71.2 | 27.5 | 0.5 | 4 | 0 | 0.8 | 1014 | -23.93
TIRW12A2 | 2025-02-25 11:54 | 59.2 | 28.4 | 1.7 | 5 | 0 | 10.7 | 1014 | -11.98
TIRW12A2 | 2025-03-24 11:59 | 72.9 | 28 | 0.7 | 4 | 2 | 0 | 1017 | -2.34
TIRW12A3 | 2025-01-20 14:13 | 65.7 | 31.5 | 0.8 | 1 | 0 | 2 | 1013 | -20.78
TIRW12A3 | 2025-02-25 11:48 | 68.3 | 28 | 0.7 | 3 | 0 | 3 | 1014 | -24.09
TIRW12A3 | 2025-03-24 11:54 | 73.4 | 30.8 | 0.2 | 4 | 2 | 0 | 1017 | -2.55
TIRW1801 | 2025-01-20 14:28 | 0.6 | 13.8 | 17.1 | 1 | 1 | 68.5 | 1012 | -0.44
TIRW1801 | 2025-02-25 12:56 | 0 | 3 | 19.3 | 1 | 0 | 77.7 | 1016 | -0.17
TIRW1801 | 2025-03-24 12:10 | 0 | 7.1 | 18 | 3 | 3 | 74.9 | 1015 | 0.07
TIRW1802 | 2025-01-20 14:28 | 3.5 | 19 | 13.4 | 1 | 1 | 64.1 | 1012 | 0.23
TIRW1802 | 2025-02-25 12:55 | 0 | 3.4 | 19.2 | 1 | 0 | 77.4 | 1016 | -0.14
TIRW1802 | 2025-03-24 12:09 | 0.4 | 9.4 | 17 | 4 | 3 | 73.2 | 1016 | -0.14
TIRW1803 | 2025-01-20 14:28 | 13.7 | 24 | 2.9 | 3 | 1 | 59.4 | 1012 | 0.37
TIRW1803 | 2025-02-25 12:54 | 0 | 4 | 19.1 | 1 | 0 | 76.9 | 1016 | -0.05
TIRW1803 | 2025-03-24 12:08 | 8.6 | 17.8 | 8 | 5 | 4 | 65.6 | 1016 | -0.14
TIRW1804 | 2025-01-20 14:27 | 62.3 | 35.7 | 0.4 | 3 | 1 | 1.6 | 1012 | 0.99
TIRW1804 | 2025-02-25 12:54 | 0.1 | 4.5 | 19 | 1 | 0 | 76.4 | 1016 | -0.14
TIRW1804 | 2025-03-24 12:08 | 67.7 | 35.3 | 0 | 6 | 6 | 0 | 1017 | 0.07
TIRW1805 | 2025-01-20 14:27 | 63.3 | 36 | 0.4 | 4 | 1 | 0.3 | 1012 | -18.42
TIRW1805 | 2025-02-25 12:08 | 62.4 | 32.8 | 0.5 | 6 | 0 | 4.3 | 1013 | -18.8
TIRW1805 | 2025-03-24 12:07 | 67.8 | 35.4 | 0 | 7 | 7 | 0 | 1017 | -0.39
TIRW1806 | 2025-01-20 14:25 | 67.6 | 32.4 | 0.3 | 2 | 1 | 0 | 1012 | 0.16
TIRW1806 | 2025-02-25 12:06 | 65.3 | 31.5 | 0.3 | 6 | 0 | 2.9 | 1013 | -17.08
TIRW1806 | 2025-03-24 12:06 | 70.1 | 33.5 | 0.1 | 6 | 4 | 0 | 1016 | -1.49
TIRW2509 | 2025-01-20 12:05 | 24.9 | 23.9 | 0.2 | 0 | 0 | 51 | 1013 | -0.18
TIRW2509 | 2025-02-24 11:35 | 17.5 | 13.6 | 8.1 | 0 | 0 | 60.8 | 1008 | -0.6
TIRW2509 | 2025-03-24 09:57 | 0.7 | 3.9 | 14.6 | 1 | 0 | 80.8 | 1014 | -0.12
TIRW2510 | 2025-01-20 11:58 | 21.7 | 25.6 | 0.1 | 0 | 0 | 52.6 | 1013 | -0.25
TIRW2510 | 2025-02-24 11:10 | 18.3 | 19.9 | 2.1 | 1 | 0 | 59.7 | 1008 | -2
TIRW2510 | 2025-03-24 09:52 | 19.5 | 22.5 | 1.3 | 0 | 0 | 56.7 | 1014 | -0.9
TIRW2511 | 2025-01-20 12:20 | 14.5 | 22.1 | 0.1 | 0 | 0 | 63.3 | 1013 | -3.61
TIRW2511 | 2025-02-24 11:45 | 17.9 | 19.5 | 1.7 | 1 | 0 | 60.9 | 1008 | -1.65
TIRW2511 | 2025-03-24 10:09 | 20.8 | 21.4 | 1.1 | 1 | 0 | 56.7 | 1015 | -0.3
TIRW2602 | 2025-01-20 13:39 | 36.8 | 21.2 | 0.1 | 0 | 0 | 41.9 | 1013 | -1.31
TIRW2602 | 2025-02-24 13:19 | 29.7 | 18.7 | 1.4 | 1 | 0 | 50.2 | 1008 | -1.88
TIRW2602 | 2025-03-24 11:12 | 0 | 1.8 | 19.5 | 1 | 1 | 78.7 | 1016 | -0.78
TIRW2603 | 2025-01-20 13:37 | 12.7 | 13 | 7.9 | 0 | 0 | 66.4 | 1013 | -5.54
TIRW2603 | 2025-02-24 13:15 | 67.1 | 23.2 | 1.5 | 1 | 1 | 8.2 | 1009 | -5.51
TIRW2603 | 2025-03-24 11:10 | 23.4 | 20.1 | 0.1 | 2 | 3 | 56.4 | 1016 | -9.64
TIRW2604 | 2025-01-20 13:42 | 11.3 | 18.8 | 0.3 | 0 | 0 | 69.6 | 1013 | 0.23
TIRW2604 | 2025-02-24 13:26 | 19.9 | 14.7 | 4.3 | 1 | 0 | 61.1 | 1009 | -17.13
TIRW2604 | 2025-03-24 11:15 | 0.4 | 4.9 | 12.4 | 1 | 1 | 82.3 | 1016 | -0.23
TIRW2605 | 2025-01-20 13:52 | 49.6 | 28.1 | 0.1 | 0 | 0 | 20.8 | 1013 | -3.28
TIRW2605 | 2025-02-24 13:33 | 17.8 | 17.7 | 1.6 | 0 | 0 | 62.9 | 1009 | -4.34
TIRW2605 | 2025-03-24 11:24 | 23 | 22.1 | 0.1 | 2 | 2 | 54.8 | 1016 | -0.48
TIRW2606 | 2025-01-20 13:54 | 1.1 | 5 | 15.5 | 0 | 0 | 78.4 | 1013 | -12.44
TIRW2606 | 2025-02-24 13:37 | 18.9 | 7.9 | 3.3 | 1 | 0 | 69.9 | 1009 | -22.8
TIRW2606 | 2025-03-24 11:28 | 0.2 | 2.9 | 5.4 | 1 | 2 | 91.5 | 1016 | -0.23
TIRW263A | 2025-01-20 13:45 | 0 | 2 | 19.8 | 1 | 0 | 78.2 | 1013 | 0.27
TIRW263A | 2025-02-24 13:29 | 0.2 | 3.5 | 19.6 | 0 | 0 | 76.7 | 1009 | -14.1
TIRW263A | 2025-03-24 11:19 | 0.6 | 1.8 | 19.3 | 1 | 1 | 78.3 | 1017 | 0.04
TIRW264A | 2025-01-20 13:43 | 11.5 | 18.8 | 0.3 | 0 | 0 | 69.4 | 1013 | 0.04
TIRW264A | 2025-02-24 13:27 | 16.8 | 14.2 | 6.1 | 0 | 0 | 62.9 | 1009 | 0
TIRW264A | 2025-03-24 11:16 | 42.4 | 20.8 | 3.1 | 2 | 1 | 33.7 | 1017 | -0.09
TIRW264B | 2025-01-20 13:47 | 0 | 2.6 | 19.6 | 0 | 0 | 77.8 | 1014 | -14.58
TIRW264B | 2025-02-24 13:28 | 1.9 | 9.5 | 15.7 | 1 | 0 | 72.9 | 1009 | -10.3
TIRW264B | 2025-03-24 11:18 | 0 | 2.5 | 18.9 | 2 | 0 | 78.6 | 1017 | -0.74
TIRW265A | 2025-01-20 13:49 | 50.7 | 24 | 0.5 | 0 | 0 | 24.8 | 1013 | -3.4
TIRW265A | 2025-02-24 13:31 | 45.6 | 17.7 | 2 | 1 | 0 | 34.7 | 1009 | -4.39
TIRW265A | 2025-03-24 11:21 | 46.5 | 22.7 | 0.3 | 2 | 1 | 30.5 | 1017 | -5.3
TIRW265A | 2025-03-24 11:22 | 46.6 | 23 | 0.2 | 1 | 2 | 30.2 | 1017 | -11.34
TIRW2705 | 2025-01-20 12:09 | 35.2 | 26.7 | 0.1 | 0 | 0 | 37.7 | 1013 | -1.13
TIRW2705 | 2025-02-24 12:38 | 26.7 | 22.7 | 1.4 | 0 | 0 | 49.2 | 1008 | -3.32
TIRW2705 | 2025-03-24 10:00 | 31.8 | 24.6 | 0.1 | 1 | 0 | 43.5 | 1015 | -1.26
TIRW2705 | 2025-03-24 10:01 | 31.6 | 24.9 | 0.1 | 1 | 0 | 43.4 | 1015 | -3.05
TIRW2706 | 2025-01-20 12:02 | 31 | 24.6 | 2.1 | 0 | 0 | 42 | 1013 | -16.81
TIRW2706 | 2025-02-24 11:19 | 34.6 | 20 | 2.6 | 0 | 0 | 42.8 | 1007 | -6.34
TIRW2706 | 2025-02-24 11:22 | 41.2 | 22.1 | 2.3 | 1 | 0 | 34.4 | 1007 | -10.85
TIRW2706 | 2025-03-24 09:54 | 27.5 | 20.8 | 4.2 | 0 | 0 | 47.5 | 1014 | -14.1
TIRW2706 | 2025-03-24 09:55 | 27 | 20.6 | 4.2 | 1 | 0 | 48.2 | 1014 | -14.03
TIRW2707 | 2025-01-20 11:53 | 18.4 | 21.5 | 3.5 | 0 | 0 | 56.6 | 1013 | -0.34
TIRW2707 | 2025-02-24 10:57 | 23.3 | 21.4 | 1.9 | 0 | 0 | 53.4 | 1007 | -2.96
TIRW2707 | 2025-03-24 09:46 | 11.4 | 11.4 | 10.7 | 0 | 0 | 66.5 | 1014 | 0
TIRW2708 | 2025-01-20 11:51 | 20.5 | 24.2 | 0.4 | 0 | 0 | 54.9 | 1013 | -15.45
TIRW2708 | 2025-02-24 10:54 | 16.6 | 15.7 | 4.7 | 0 | 0 | 63 | 1008 | -0.48
TIRW2708 | 2025-03-24 09:44 | 19.8 | 23.1 | 0.5 | 0 | 0 | 56.6 | 1016 | -0.11
TIRW2709 | 2025-01-20 12:13 | 38 | 27.6 | 0.2 | 0 | 0 | 34.2 | 1011 | -6.54
TIRW2709 | 2025-02-24 11:38 | 21.9 | 18.8 | 4.1 | 0 | 0 | 55.2 | 1007 | -6.96
TIRW2709 | 2025-03-24 10:03 | 40.2 | 26.4 | 0.1 | 1 | 0 | 33.3 | 1014 | -0.14
TIRW2709 | 2025-03-24 10:05 | 29.5 | 25.1 | 0 | 1 | 0 | 45.4 | 1014 | -2.04
TIRW2712 | 2025-01-20 15:16 | 17.8 | 17.9 | 12.6 | 2 | 0 | 51.7 | 1011 | 0.39
TIRW2712 | 2025-02-24 12:42 | 14.1 | 16.2 | 5.1 | 1 | 0 | 64.6 | 1008 | -7.83
TIRW2712 | 2025-03-24 12:55 | 0 | 4 | 15.5 | 3 | 3 | 80.5 | 1016 | 0.02
TIRW3A03 | 2025-01-20 13:27 | 51 | 27.2 | 0.1 | 1 | 0 | 21.7 | 1012 | -0.48
TIRW3A03 | 2025-02-24 13:06 | 41.4 | 22.3 | 1.5 | 1 | 0 | 34.8 | 1008 | -1.77
TIRW3A03 | 2025-03-24 11:00 | 36.6 | 23.5 | 0.1 | 2 | 2 | 39.8 | 1015 | -3.53
TIRW3A04 | 2025-01-20 13:33 | 38.1 | 19.7 | 10.3 | 0 | 0 | 31.9 | 1012 | 0.99
TIRW3A04 | 2025-02-24 13:02 | 32.4 | 19 | 1.6 | 1 | 1 | 47 | 1008 | -3.17
TIRW3A04 | 2025-02-24 13:03 | 32.8 | 20.4 | 1.5 | 0 | 0 | 45.3 | 1008 | -4.91
TIRW3A04 | 2025-03-24 11:07 | 17.4 | 21.6 | 0.2 | 2 | 2 | 60.8 | 1015 | -5.14
TIRW3A04 | 2025-03-24 11:08 | 17 | 21.7 | 0.2 | 2 | 2 | 61.1 | 1015 | -2.62
TIRW3A06 | 2025-01-20 13:28 | 51 | 26.7 | 0.1 | 0 | 0 | 22.2 | 1012 | 0.05
TIRW3A06 | 2025-02-24 12:19 | 8.9 | 5.4 | 16.2 | 0 | 0 | 69.5 | 1008 | 0.07
TIRW3A06 | 2025-03-24 11:02 | 4.9 | 5.2 | 17 | 5 | 2 | 72.9 | 1015 | -2.37
TIRW3B01 | 2025-01-20 12:42 | 1.2 | 11.2 | 7.2 | 0 | 0 | 80.4 | 1012 | 0.07
TIRW3B01 | 2025-02-24 12:03 | 50.1 | 27.6 | 1.9 | 1 | 0 | 20.4 | 1008 | -9.09
TIRW3B01 | 2025-02-24 12:05 | 50.9 | 28.6 | 1.7 | 1 | 0 | 18.8 | 1008 | -7.75
TIRW3B01 | 2025-03-24 10:28 | 39.4 | 27 | 0.1 | 1 | 2 | 33.5 | 1015 | -9.16
TIRW3B02 | 2025-01-20 12:47 | 2.3 | 9.3 | 4.2 | 0 | 0 | 84.2 | 1012 | -0.34
TIRW3B02 | 2025-02-24 11:54 | 25.6 | 19.8 | 1.6 | 1 | 0 | 53 | 1008 | -2.29
TIRW3B02 | 2025-02-24 11:55 | 26.5 | 20.7 | 1.4 | 0 | 0 | 51.4 | 1008 | -1.14
TIRW3B02 | 2025-03-24 10:30 | 7.3 | 20.9 | 0 | 1 | 2 | 71.8 | 1015 | -0.53
TIRW3B02 | 2025-03-24 10:31 | 7.2 | 20.8 | 0 | 1 | 3 | 72 | 1015 | -1.65
TIRW3B04 | 2025-01-20 13:18 | 66.8 | 33.1 | 0.4 | 0 | 0 | 0 | 1013 | -2.69
TIRW3B04 | 2025-01-20 13:19 | 65.1 | 33.4 | 0.4 | 0 | 0 | 1.1 | 1013 | -0.04
TIRW3B04 | 2025-02-24 12:24 | 0.5 | 4.3 | 19.4 | 0 | 0 | 75.8 | 1008 | 0.03
TIRW3B04 | 2025-03-24 10:35 | 23.8 | 10.8 | 10.8 | 1 | 1 | 54.6 | 1015 | -0.67
TIRW3B07 | 2025-01-20 12:39 | 16.2 | 26 | 8.1 | 1 | 0 | 49.7 | 1012 | -0.02
TIRW3B07 | 2025-02-24 12:28 | 48 | 25 | 1.7 | 1 | 0 | 25.3 | 1007 | -5.44
TIRW3B07 | 2025-03-24 10:26 | 48.6 | 29.1 | 0 | 2 | 2 | 22.3 | 1014 | -6.48
TIRW3C01 | 2025-01-20 12:37 | 59.1 | 35.1 | 0.8 | 3 | 0 | 5 | 1012 | 0.37
TIRW3C01 | 2025-02-24 12:31 | 39.5 | 23.1 | 3 | 0 | 0 | 34.4 | 1008 | -0.12
TIRW3C01 | 2025-03-24 10:24 | 43.6 | 29.2 | 0 | 2 | 1 | 27.2 | 1015 | 0.04
TIRW3C03 | 2025-02-24 12:48 | 40.1 | 24.3 | 2 | 1 | 0 | 33.6 | 1008 | -9.37
TIRW3C04 | 2025-01-20 12:16 | 52.3 | 30.8 | 0.1 | 0 | 0 | 16.8 | 1012 | -0.74
TIRW3C04 | 2025-01-20 12:17 | 52.2 | 30.7 | 0.1 | 0 | 0 | 17 | 1012 | -3.74
TIRW3C04 | 2025-02-24 11:42 | 24.8 | 22.1 | 1.5 | 0 | 0 | 51.6 | 1000 | -2.1
TIRW3C04 | 2025-03-24 10:07 | 18.7 | 22.5 | 0.2 | 1 | 2 | 58.6 | 1015 | -1.01
TIRW3C05 | 2025-01-20 12:22 | 12.2 | 20.6 | 1.6 | 0 | 0 | 65.6 | 1013 | -0.12
TIRW3C05 | 2025-02-24 11:47 | 5.9 | 16.8 | 2.5 | 0 | 0 | 74.8 | 1008 | -3.37
TIRW3C05 | 2025-03-24 10:14 | 15.4 | 20.6 | 0 | 1 | 0 | 64 | 1015 | -0.21
TIRW3C07 | 2025-01-20 12:30 | 47.2 | 27.1 | 0.2 | 0 | 0 | 25.3 | 1012 | -5.07
TIRW3C07 | 2025-02-24 12:01 | 35 | 24.1 | 1.6 | 1 | 0 | 39.3 | 1008 | -5.2
TIRW3C07 | 2025-03-24 10:20 | 30.9 | 25.1 | 0 | 1 | 1 | 44 | 1015 | -5.15