Site Condition Report evaluation form
	Applicant
	Centrica Distributed Generation Ltd

	Permit reference
	PAN-026165

	Address
	Pencoed Peaking Power Plant

Land to the north of Felindre Road

Pencoed

Bridgend

CF35 5HT



	Grid reference
	SS 96841 81372

	Activity Type
	S1.1 Part A (1) (a) Burning any fuel in an appliance with a rated thermal input of 50 or more Megawatts thermal. 

Schedule 25A Medium Combustion Plant
9 x 10.39MWth Gas Fired Engines. Aggregates to 93.51MWth



	Site Condition Report document reference, date and version number
	Site Condition Report CENT.31.02/SCR June 2024 – Issue 1



	1.0 Site details (Source)
Completed by permitting officer

	Has the applicant provided the following information as required by the application SCR template?
	Response 



	Site plans showing site layout, drainage, surfacing, receptors, sources of emissions/releases and monitoring points
	Yes. Site Condition Report provides the necessary information.


	2.0 Condition of the land at permit issue (Receptor)

Completed by permitting officer

	Has the applicant provided the following information as required by the application SCR template?
	Response 

 

	a) Environmental setting including geology, hydrogeology and surface waters

b) Pollution history including:

· pollution incidents that may have affected land

· historical land-uses and associated contaminants

· visual/olfactory evidence of existing contamination

· evidence of damage to existing pollution prevention measures

c) Evidence of historic contamination (i.e. historical site investigation, assessment, remediation and verification reports (where available)

d) Has the applicant chosen to collect baseline reference data?
	a) Geology (Section 2.1 of SCR)
Hydrogeology (Section 2.2 of SCR)

Surface Waters
b) Pollution History (Section 2.4 of SCR)

Pollution Incidents (Section 2.5 of SCR)

Pollution Prevention Measures (2.5 of SCR)

c) Requirements for Intrusive Site Investigation 

d) N/A



	N/A
	N/A


	3.0 Permitted activities (Source)

Completed by permitting offfier 

	Has the applicant provided the following information

as required by the application SCR template?
	Response 



	a) Permitted activities

b) Non-permitted activities undertaken at the site
	S1.1 Part A (1) (a) Burning any fuel in an appliance with a rated thermal input of 50 or more Megawatts thermal. 

Schedule 25A Medium Combustion Plant

9 x 10.39MWth Gas Fired Engines. Aggregates to 93.51MWth

There are also the following DAA:

· Emergency Diesel Generator 1 x 555KWth 

· Fuel Storage

· Clean Oil Storage Tank 10,000L

· Waste Oil Storage Tank 10,000L
No unpermitted activities occur on the site. 


	3.0(a) Environmental Risk Assessment (Source)

Completed by permitting officer

	The H1 environmental risk assessment should identify elements that could impact on land and waters, cross- referenced back to documents and plans provided as part of the wider permit application.
	The operator has provided a risk assessment which addresses the risk to land, ground water and surface waters. 
There are a number of measures on site that ensure that land, ground water, or surface waters will not be impacted by site operations these include: 

· Sealed drainage system. 

· Appropriate bunded tanks for fuels and waste fuels




	3.0(b) Will the pollution prevention measures protect land and groundwater? (Conceptual model)

Completed by permitting officer

	Are the activities likely to result in pollution of land? 


	No

	For dangerous and/or hazardous substances only, are the pollution prevention measures for the relevant activities to a standard that is likely to prevent pollution of land?

	N/A


	Application Site Condition Report decision summary 


	Complete all that apply



	Sufficient information has been supplied to describe the condition of the site at permit issue.
	Yes – but not background sampling undertaken. 

	Information is missing- the following information must be obtained from the applicant.
	N/A

	Pollution of land and water is unlikely- pollution prevention measures just need to be reviewed during operation of the site
	Yes 

	Pollution of land and water is likely
	N/A

	Historical contamination is present- advise operator that collection of background data may be appropriate 
	N/A

	Date and name of reviewer
	Matthew Fryer

Senior Permitting Officer

Installation and RSR permitting team. 

29/04/2025
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