## Consent Application information
Site Name | Permit Number | Current permit in modern EPR format? | Address | Settled Storm / Storm Discharge Point | Settled Storm / Storm Sample Point | Settled Storm / Storm to Environment EDM Monitoring Point | Emergency Discharge Point (if applicable) | Emergency Sample Point (if applicable) | Receiving Waters Name | Spill Trigger number and type (e.g. 5 BW or 14 SFW) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | Other Comments
Llanberis Sewage Pumping Station; Emergency and storm overflow | CG0352001 | Yes | Off High Street, Llanberis, Gwynedd, LL55 4HB | SH 57814 60427 | SH 57803 60425 | SH 57803 60425 | SH 57814 60427 | SH 57803 60425 | Llyn Padarn | 8 BW | 19.8 | 6x6mm 50l/s | Online Storage 269.34m3 | PSKPM | PSKPM sent 04/12/2015
CSO Serving Nolton Haven SPS | UP3629XK | Yes | Nolton Haven, Haverfordwest, Pembrokeshire, SA62 3NH | SM 85997 18644 | SM8603518617 | SM 86035 18617 | SM 85997 18644 | SM 86035 18617 | Tributary of Nolton Bay | 5 BW | 4 | 6x6mm 25l/s | 8.7 | PSKPM | PSKPM sent 17/07/2015
Combined Sewer Overflow at Dunns Lane/Park Street | BP0237402 | Yes | Oystermouth, Mumbles, Swansea, SA3 4BX | SS 61671 88163 | SS 61582 88113 | SS 61582 88113 |  |  | Swansea Bay | 5 BW | 62 | 6x6mm 122l/s | None
Combined Sewer Overflow at Sketty Green | AB3694FF | Yes | Sketty Green, Swansea, SA2 8PY | SS 62796 91425 | SS 62796 91425 | SS 62796 91425 |  |  | Swansea Bay | 5 BW | 60 | 6x6mm | 50
Swansea Waste Water Treatment Works | BP0236601 | Yes | Fabian Way, Crymlyn Burrows, Swansea, SA1 8QP | SS 68370 89437 | SS 68968 93006 | SS 68968 93006 |  |  | Swansea Bay | 5 BW | 1300 | 6x6mm | 9548
Bynea Sewage pumping Station | BP0253002 | Yes | Bynea, Llanelli, Carmarthenshire, SA14 9SU | SS 55300 98310 | SS 55331 98370 | SS 55331 98370 | SS 55300 98310 | SS 55331 98370 | Unnamed Tidal Pill of Loughor Estuary | 26 SFW | 301 to 501 in line with OTT | 6x6mm | 1800 | PSKPM | PSKPM included in submission - Completed 13/05/24
Cambrian Street P.S. SSO | BF0083605 | Yes | Cambrian Street P.S SSO, Cambrian Street, Llanelli, Carmarthenshire SA15 2PW | SS 50023 99642 | SS 50041 99660 | SS 50030 99656 | SS 50023 99642 | SS 50030 99656 | Loughor Outer | 14 SFW | 144 | 6x6mm | 78 | PSKPM | PSKPM included in submission - version as sent 27/08/2019
New Crofty C Sewage PS Crofty Gower Crofty C SPS | BW4100301 | Yes | New Crofty C Sewage PS Crofty Gower Crofty C, SPS, Crofty North Gower, Swansea, SA4 3SP | SS 52690 94792 | SS 52690 94792 | SS 52690 94792 | SS 52690 94792 | SS 52690 94792 | Morlais River | 14 SFW | 40 | 6x6mm | 92 | PSKPM | PSKPM included in submission - version as sent 27/08/2019
SANDY SPS (A484 o/s gate to Sandy PS) | BW2200201 | Yes | Sandpiper Rd, Llanelli, Carmarthenshire, SA4 3RP | SN4827000698 | SN 49486 00643 | SN 49486 00643 | SN4827000698 | SN 49486 00643 | Afon Dulais | 14 SFW | 80 | 6x6mm | 139 | PSKPM | PSKPM included in submission - version as sent 30/10/2019
BENLLECH WWTW (STW) LSO BENLLECH | CG0381901 | Yes | Off Bay View Road, Benllech, Anglesey, LL74 8TT | SH 53790 83630 | SH 52556 82269 | SH 52556 82269 | N/A | N/A | Coastal Waters of North Anglesey | 14 SFW | 37.4 | 6x6mm | 440
GOWERTON WwTW | BC0003001 | Yes | Victoria Road, Gowerton, Swansea, SA4 3AB | SS 56087 97883 | SS 59504 96941 | SS 59503 96942 | N/A | N/A | Loughor Estuary | 26 SFW | 912 | 6x6mm | 8913 | PFET Operating Technique
Llanelli Wastewater Treatment Works | BP0252601 | Yes | Berwick Road, Bynea, Llanelli, SA14 9SN | SS 54576 97854 | SS 54154 98127 | SS 54156 98126 | N/A | N/A | Loughor Estuary | 26 SFW | 1249 | 6x6mm | 3500 | PFET Operating Technique
Price Avenue CSO, Barry | AN0105301 | Yes | Price Avenue, Barry, Vale of Glamorgan, CF63 1QP | ST 12654 69256 | ST 12649 69254 | ST 12649 69254 |  |  | Coldbrook | 5 BW | 304 | 6x6mm | None
Sully Moors Road SPS | AN0223001 | Yes | Unknown lane off South Road (B4267) Nr roundabout (B4267 & Hayes Rd) Sully, CF64 5TD | ST 14978 68359 | ST 15000 68345 | ST 15000 68345 | ST 14978 68359 | ST 15000 68345 | Tributary of the Sully Brook | 5 BW | 8 | 10x10mm | 52 | PSKPM | PSKPM included In submission - Completed 06/06/25
Old Colwyn Queens Road CSO | CG0166101 | Yes | Queens Road, Old Colwyn, Colwyn Bay, LL29 9EE | SH 87314 78705 | SH 87308 78618 | SH 87308 78618 |  |  | Colwyn Bay | 5 BW | 15.28 | None | None
The Parrog Newport CSO | BP0208401 | Yes | Parrog, Newport, Pembrokeshire, SA42 0RW | SN 05139 39470 | SN 05139 39470 | SN 05139 39470 |  |  | Tributary of Afon Nyfer | 5 BW | 38 | 6x6mm
Northumberland Avenue Sewage Pumping Station | BP0252901 | Yes | New Docks Road, Llanelli, Carmarthenshire, SA15 2HD | Activity A1 Discharge of storm sewage Outlet 1 SS 50234 98505 Activity A3 Discharge of storm sewage (Sea Outfall Relief), Outlet 2 SS 50907 98760 | Activity A1 Discharge of storm sewage via Outlet 1 Effluent sampling SS 50816 98835 Activity A3 Discharge of storm sewage (Sea Outfall Relief) via Outlet 2 Effluent Sampling SS 50816 98835 | N/A | Activity A2 Discharge of sewage in Stage 1 emergency (Pumped) SS 50234 98505 |  | Activity A1 Discharge of storm sewage and Activity A2 Discharge of sewage in Stage 1 emergency (Pumped) - Loughor Estuary Activity A3 Discharge of storm sewage (Sea Outfall Relief), Activity A4 Discharge of sewage in Stage 1 emergency (Pumped Sea Outfall Relief) via Outlet 2 and Activity A5 Discharge of storm sewage from high level gravity overflow and/or sewage in a Stage 2 emergency (gravity) - The Dafen Cut | 14 SFW | 880-1100 in line with OT1 | 6x6mm | 4800 | OT1 - Northumberland Avenue SPS, Bynea SPS & Llanelli STW Operating Technique. PSKPM | PSKPM included In submission - Completed 05/06/25
CSO Behind 8 Pwll Road, Pwll | BW2203201 | Yes | Rear of 8 Pwll Road, Pwll, Llanelli, Carmarthenshire, SA15 4AP | SN 47275 00839 | SN 47305 00935 | SN 47305 00935 |  |  | Unnamed tributary of the Barnaby Pil | 14 SFW | 20 | 6x6mm | 390 |  | DUPLICATE - See line 29 below.
New Penclawdd Sewage PS Penclawdd | BO5109601 | Yes | Penclawdd, North Gower, Swansea, SA4 3YQ | SS 54467 95949 | SS 54502 95885 | SS 54502 95885 | SS 54467 95949 | SS 54502 95885 | Burry Estuary | 26 SFW | 82 | 6x6mm | 300 | PSKPM | PSKPM sent 01/08/2019
Holythorne Crofty B Sewage PS | BP0246301 | Yes | Crofty, North Gower, Swansea, SA4 3RP | SS 53010 95589 | SS 53019 95561 | SS 53019 95561 | SS 53010 95589 | SS 53019 95561 | Loughor Estuary | 14 SFW | 11 | 10x10mm | 10.95 | PSKPM | PSKPM included in submission - version as sent 08/10/2019
Burry Port Sewage Pumping Station | BP0252702 | Yes | Burry Port, Llanelli, Carmarthenshire, SA16 0NN | SN 45362 00761 | SN 45331 00747 | SN 45331 00747 | SN 45362 00761 | SN 45331 00747 | An unnamed tributary of the Barnaby Pil | 14 SFW | 144 | 6x6mm | 400 | PSKPM | PSKPM sent 27/08/2019
Havard Road CSO | BP0359401 | Yes | Nr 88 Havard Rd, Llanelli, Carmarthenshire, SA14 8SD | SN 52715 00803 | SN 52569 00965 | SN 52569 00965 |  |  | River Dafen | 26 SFW | 40 | 10x10mm | None
Halfway Area CSO, Y Llwyn, Coedcae | BW2200901 | Yes | Y Llwyn, Coedcae, Llanelli, Carmarthenshire, SA15 1JE | POINT OF DISCHARGE 1 (to surface water sewer) - SN 52099 00005 POINT OF DISCHARGE 2 (to watercourse) - SN 52502 00025 | Storm sewage via POINT OF DISCHARGE 2 - SN 52099 00005 | POINT OF DISCHARGE 2 - SN 52099 00005 |  |  | Afon Dafen | 26 SFW | 63 | 6x6mm | None
St Michael’s Church CSO | BW2201101 | Yes | Lon Y Maes, Llanelli, Carmarthenshire, SA14 8LW | SN 52715 00803 | SN 52763 00946 | SN 52763 00946 |  |  | River Dafen | 14 SFW | 120-150 | 6x6mm | 1680
East of Kingfisher Court CSO | XP3425XQ | Yes | Dafen, Llanelli, Carmarthenshire, SA15 1EZ | SN 52438 00244 | SN 52420 00244 | SN 52420 00244 |  |  | Afon Dafen | 26 SFW | 20-100 | 6x6mm | 2355
CSO 49 Tir Einon, Llwynhendy | BW2201201 | Yes | Rear of 49 Tir Einon, Llwynhendy, Llanelli, Carmarthenshire, SA14 9DF | SS 53544 99412 | SS 53438 99642 | SS 53438 99642 |  |  | Pîl Dafen | 14 SFW | 75 | 6x6mm | None
CSO Behind 8 Pwll Road, Pwll | BW2203201 | Yes | Rear of 8 Pwll Road, Pwll, Llanelli, Carmarthenshire, SA15 4AP | SN 47275 00839 | SN 47305 00935 | SN 47305 00935 |  |  | Unnamed tributary of the Barnaby Pil | 14 SFW | 20 | 6x6mm | 390
Whitewell Road CSO 2, Barry | AN0104701 | Yes | O/S 68 Whitewell Road, Barry, Vale of Glamorgan, CF62 9TU | ST 11180 69502 | ST 11178 69543 | ST 11178 69543 |  |  | Cold Brook | 5 BW | 77 | 6x6mm | None
Merthyr Dyfan Road CSO | AN0104801 | Yes | Between Elm House and Llan Farm, Merthyr Dyfan Road, Barry, CF62 9TL | ST 11728 69399 | ST 11635 69467 | ST 11635 69467 |  |  | Culverted section of Cold Brook | 5 BW | 177 | 6x6mm | 290
Ashburnham SPS CSO | BW2203101 | Yes | Ashburnham, Burry Port, Llanelli, SA16 0HH | SN 44042 00655 | SN 44042 00655 | SN 44042 00655 | SN 44042 00655 | SN 44042 00655 | Burry Port Harbour via drain | 14 SFW | 46 | 6x6mm | 944 | PSKPM | PSKPM included in submission - version as sent 27/08/2019. The site name and address is spelled incorrectly on the permit and needs to be updated/corrected - Column C address is a reflection of how the permit is currently.