Checking whether a bespoke application is duly made – WDA/GWA

Complete all dates DD/MM/YY. When all the checks are done update the dates, our IT systems and make sure everything is saved correctly to the DMS. Save the completed document to DMS using the title Duly Making Checklist (public register document).

Delete Tables that do not apply to the application.

! Important

We have 21 calendar days from receipt of an application to decide if it is duly made. If we request additional information, the applicant should return it within 10 working days.

The duly made date is either…

(i). the date the application was originally received at Natural Resources Wales in the event of no additional information being requested during the duly make process or

(ii). the date at which the final piece of additional information requested during the duly make process is received.

| Summary |  |  |
| --- | --- | --- |
| Application details |  |  |
| Application Reference | PAN-029429 |  |
| Applicant name | Westland Horticulture Limited |  |
| Facility name | Package treatment plant at Tata Llanwern Works, Llanwern, Newport Monmouthshire NP19 4QZ |  |
| ET Area | Blaenau Gwent, Caerphilly and Newport |  |
| Local Authority | Newport |  |
| Dates |  |  |
| Date arrived in Permit Receipt Centre |  | 27/05/2025 |
| Date arrived with Permitting Officer |  | 10/06/2025 |
| Date of decision |  | 11/06/2025 |
| Date RFI letter sent |  | - |
| Date duly made |  | 27/05/2025 |
| Anticipated Issue Due Date based on complexity of application (i.e. 1 or 2 months for simples / 3 or 4 months for complex: this needs to match the PALS Due Date). |  | 11/09/2025 |
| Date returned to applicant as not duly made or deemed withdrawn |  | n/a |
| Date applicant sent duly made letter |  | 11/06/2025 |
| If asked to acknowledge a cheque payment date this acknowledgement sent: |  | - |

! Important:  If a customer gives feedback on the form, the Permitting Officer should make sure this is passed on to the senior officer and digi-coms team.

Permitting Officer carrying out Duly Made Assessment:

Rachel Mallinson

| ##### Application Types | ##### Forms |
| --- | --- |
| Bespoke domestic sewage (<15m3/d to GW / <20m3/d to SW) | B6.5 |
| Bespoke domestic sewage (>15m3/d to GW / >20m3/d to SW) and or all trade discharges | A, F1/2, B2 and B6 |
| - Bespoke Land Spreading discharges (i.e. sheep dip) | A, F1/2, B2 and B7 |

NB: Make sure there is a section in the B6 for each type of facility listed in Part B2.

|  | ##### Location and habitats checks – to complete for all applications |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| National Park (SW discharges only) |  | SPZ | Drinking water protected area | SAC | Phosphorus sensitive SAC catchment | SPA | Ramsar | SSSI | Protected species | Shellfish or bathing water |
| N |  | N | N | N | N | N | N | Y | N | N |

| ##### New bespoke for domestic sewage < 15m3/day to ground / <20m3 to SW (Application form Part B6.5) |  |  |  |
| --- | --- | --- | --- |
| Is the form complete and does it contain the right information… | Yes | No | N/A |
| Has the correct application form (or paper version of the form) been used? | x |  |  |
| Applicant(s) details complete? Is (are) the applicant(s) a legal person(s) as per definition of ‘operator’? RGN01 Address and contact details complete? | x |  |  |
| Site name, address and NGR provided? Type of activity confirmed? | X x |  |  |
| Distance to foul sewer provided? | x |  |  |
| Is the foul sewer within calculated distance i.e. 30 metres? And is it correct? Have they provided justification for a non-mains drainage system? e.g. coms with DCWW, costs (If yes ensure follow non-proliferation policy OI 538_06) |  | x |  |
| Discharge volume and calculations provided, and correct? | x |  |  |
| Type of system given? If ‘other’ have design details been provided? | x |  |  |
| Sample point NGR provided? (if not at the outlet) (note that existing discharges to ground less than 5m3/day don’t need to provide a sample point) | x |  |  |
| Discharge Point NGR provided? | x |  |  |
| Receiving environment question and correct supplementally question completed? | x |  |  |
| Is a site plan given and it is clear enough? | x |  |  |
| Confirmed that read guidance and management system will meet requirements?(if applicant hasn’t used the table to work out volume) | x |  |  |
| Start date provided? Will the discharge take place all year? | X x |  |  |
| Is the fee correct based on the activity and paid (delete as appropriate): SEE OGN060 and 24/25 charging scheme page 45 on Date payment made: 29 May 2025 Payment type (delete as appropriate): BACS | x |  |  |
| Does the application contain notification of national security issues and/or asked for any information to be kept confidential? |  | x |  |
| Has the correct person(s) completed the declaration and do we have declarations for each applicant? Check against relevant people, per definition of ‘operator’? RGN01 | x |  |  |

Decision and actions required

Creening report indicates within a SSSI. Appendix 4 to be conducted.