## Consent Application information
| If FE permit is to be or has already been consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Asset Type | Current permit in modern EPR format? | Address | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | Receiving Waters Name | DWF m3/day | Overflow / weir setting l/s | Screen Size | Storm tank / storage capacity | Non-standard operating techniques? | Other Comments
(B) Meyrick St, Pembroke Dock | N/A | BP0209401 | N/A | CSO | No | Pembroke Dock, Lower Meyrick St, SA72 6JD | N/A | N/A | SM 96702 03754 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SM 96752 03668 | N/A | SM 96752 03668 | N/A | N/A | Milford Haven | N/A | 90.2 | N/A | None | None | Multi-site Variation
Caernarfon Pont Seiont PS | N/A | CG0163801 | N/A | SPS | No | Seiont Mill Road, Caernarfon, LL55 2YL | N/A | N/A | SH 48246 61714 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 48256 61720 | N/A | SH 48256 61720 | N/A | N/A | Seiont | N/A | 8.72 | N/A | None | PSKPM | Multi-site (Deemed) Variation
Llanfrynach STW Storm Overflow | N/A | AN0075201 | N/A | CSO | No | Llanfrynach, Brecon, powys, LD3 7LJ | N/A | SO 07852 25798 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SO 07752 25731 | N/A | SO 07752 25731 | N/A | N/A | N/A | Nant Menascin | N/A | 3.42 | N/A | 8.27 | None | Multi-site Variation
Pembroke Dock Water Street | N/A | BP0116201 | N/A | CSO | No | O/S 3 Water Street, Pembroke Dock, SA72 6DN | N/A | N/A | SM 96966 03763 to surface water, SM 96733 03933 to Sea outfall | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SM 96968 03764 | N/A | SM 96968 03764 | N/A | N/A | Llanion Pill, Milford Haven | N/A | 61 | N/A | None | None | Multi-site Variation
Crynant NE of STW | N/A | BW2900701 | N/A | CSO | No | Crynant NE of WwTW, Neath, SA10 8SG | N/A | N/A | SN 78994 04230 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 79004 04238 | N/A | SN 79004 04238 | N/A | N/A | River Dulais | N/A | 41.4 | 10 mm | None | None | Multi-site variation. 10 mm Bar Screen.
Llanfairfechan Park Crescent CSO | N/A | CG0162201 | N/A | CSO | No | Park Crescent, Llanfairfechan, Conwy, LL33 0AU | N/A | N/A | SH 68102 75082 to Surface water, SH 67592 75748 to Sea Outfall | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 68115 75058 | N/A | SH 68115 75058 | N/A | N/A | Sea Outfall | N/A | 52.2 | N/A | None | None | Multi-site Variation
Llanrhidian WwTW SPS | N/A | BO5102401 | N/A | WwTW / SPS | No | Mill Lane, Llanrhidian, Swansea, SA3 1ER | N/A | N/A | SS 49616 92486 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SS 49616 92486 | N/A | SS 49618 92485 | SS 49618 92492 | N/A | Llanrhidian Pill (Estuary) | N/A | 6.3 | N/A | None | PSKPM | Multi-site (Deemed) Variation. Also, AMP 7 - combined submission.
Neyland - The Promenade | N/A | BP0208601 | N/A | CSO | No | Opp 1 Promenade, Neyland, Milford Haven, Dyfed, SA73 1QF | N/A | N/A | SM 95940 04960 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SM 96004 05044 | N/A | SM 96002 05032 | N/A | N/A | Milford Haven | N/A | 78.1 | N/A | None | None | Multi-site Variation
Saundersfoot The Glen SPS | N/A | BP0112501 | N/A | SPS | No | The Glen, Saundersfoot, SA69 9NT | N/A | N/A | SN 1382 0434 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 13817 04336 | N/A | SN 13817 04335 | N/A | N/A | Stream above Beach | N/A | 3.2 | N/A | None | PSKPM | Multi-site (Deemed) Variation
Llanfairfechan Hospital SPS | N/A | CG0184301 | N/A | SPS | No | Bryn Neuadd Hospital, Aber Rd, Llanfairfechan, LL33 0HH | N/A | N/A | SH 67600 75000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 67374 74706 | N/A | SH 67374 74706 | N/A | N/A | Conway Bay | N/A | 0.4 | 40 mm Bar | None | PSKPM | Multi-site (Deemed) Variation
Deganwy Beach SPS | N/A | CG0184501 | N/A | SPS | No | Outside No 45, Deganwy Beach Estate, Deganwy, Conwy, LL31 9DP | N/A | N/A | SH 77800 80000 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 77650 79810 | N/A | SH 77650 79810 | N/A | N/A | Unnamed ditch | N/A | 3 | N/A | None | PSKPM