Fill in this form if you are applying for a transitional water resources licence to continue a previously exempt abstraction.

This form is available in both English and Welsh.

Please check that this is the latest version of the form available from our website before submitting your application.

Please ensure you use Guidance Note WRH to help you.

All relevant guidance documents can be found on our website.

Contents

1 Application type and fee

2 Applicant and agent details

3 Site name

4 Entitlement to apply

5 Existing licence number(s)

6 Cross border applications

7 Abstraction details

8 Abstraction history and evidence

9 Discharge details

10 Eel considerations

11 Trickle irrigation

12 Planned abstractions

13 Other abstractions

14 Planning permissions

15 Environmental Impact Assessment

16 Licence duration

17 Application checklist

| 1. Application type and fee |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 Please select your application type from the list below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| A new transitional water resources full abstraction licence for a previously exempt abstraction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☒ |  |
| A new transitional water resources transfer licence for a previously exempt abstraction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |
| A variation to an existing full abstraction licence to add a previously exempt abstraction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |
| A variation to an existing transfer licence to add a previously exempt abstraction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |
| 1.2 Please indicate the amount and how you wish to pay your application |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amount paid |  |  |  |  |  |  |  | £135 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cheque |  |  |  |  |  |  |  | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Credit or debit card |  |  |  |  |  |  |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BACS transfer |  |  |  |  |  |  |  | ☐ |  |  | BACS reference number |  |  |  |  |  |  |  | PRC |  |  |  |  |  |  |  |
| 2 Applicant and agent details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This is the individual or organisation any resulting licence will be issued to, and must be a legal entity. If you are an agent acting on behalf of an applicant, provide their details here and yours in section 2.2. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.1 Applicant details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Individual |  |  |  |  |  |  |  | ☐ |  |  |  | Public body |  |  |  |  |  |  |  | ☐ |  |  |  |  |  |  |
| Registered company |  |  |  |  |  |  |  | ☒ |  |  |  | Organisation or group of individuals |  |  |  |  |  |  |  | ☐ |  |  |  |  |  |  |
| Other |  |  |  |  |  |  |  | ☐ |  |  |  | If ‘Other’, please specify |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Title |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| First name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Last name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Company, charity, body, or trading name (if relevant) |  |  |  |  |  |  |  |  | Sensient Flavors Ltd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Registered company or charity number (if relevant) |  |  |  |  |  |  |  |  | 1514781 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  | Sensient Flavors Ltd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Bilton Road |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Milton Keynes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Bucks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Postcode |  |  |  |  |  |  |  |  | MK1 1HP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone - mobile |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone - office |  |  |  |  |  |  |  |  | 01570 472009 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Email address |  |  |  |  |  |  |  |  | Tim.Pink@sensient.com |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| We will contact you by email unless you tick here. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  |  |  |  |  |  |  |  |
| 2.2 Agent details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This is who we will correspond with unless otherwise informed. If you are an agent applying on behalf of an applicant, please include a letter of authorisation from the applicant allowing you to act as signatory,and provide a reference for this document in the box below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Title |  |  |  |  |  |  |  |  | Mr |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| First name |  |  |  |  |  |  |  |  | Tim |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Last name |  |  |  |  |  |  |  |  | Pink |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Company or trading name |  |  |  |  |  |  |  |  | Sensient Flavors Ltd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Position in company |  |  |  |  |  |  |  |  | EHS Manager |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Address |  |  |  |  |  |  |  |  | Felinfach |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | Lampeter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Postcode |  |  |  |  |  |  |  |  | SA48 8AG |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone - mobile |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Telephone - office |  |  |  |  |  |  |  |  | 01570 472009 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Email address |  |  |  |  |  |  |  |  | Tim.Pink@sensient.com |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| We will contact you by email unless you tick here. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ |  |  |  |  |  |  |  |  |  |
| 2.3 Site operation contact |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please specify who we should contact with regard to your site operation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Applicant |  |  | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Agent |  |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  | ☐ |  |  |  | Please provide contact details for the operational contact on a separate referenced document, and tell us this reference below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.4 Abstraction invoices and records contact |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please specify who we should contact for invoices and abstraction records (returns). Please note that these may not be not required for transfer licences. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Invoice address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Applicant |  |  | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Agent |  |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  | ☐ |  |  |  | Please provide contact details for the operational contact on a separate referenced document, and tell us this reference below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Abstraction records |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Applicant |  |  | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Agent |  |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other |  |  | ☐ |  |  |  | Please provide contact details for the operational contact on a separate referenced document, and tell us this reference below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Site name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.1 Please provide the site name below: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site name |  |  |  |  |  |  |  |  | Sensient Flavors, Felinfach |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Entitlement to apply |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.1 Have you abstracted water between 01 January 2011 and 31 December 2017 for the activity which you are applying to be licensed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes |  | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No |  | ☐ |  |  | Please see our water abstraction and impounding webpage for further information on the correct applicaton forms. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.2 What is your connection to the land where the abstraction takes place? Please provide a map outlining your land ownership/occupation and include all abstractions and discharges where relevant. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Owner |  | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Occupier |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Document reference |  |  |  |  |  | Site plan borehole C |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.3 Do you have a legal right of access to the land where the abstraction take place? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No |  | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes |  | ☒ |  |  |  | Please provide further detail in the box below. If necessary continue on a separate referenced document, and tell us this reference. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Document reference |  |  |  |  |  | Site plan borehole C |  |  |  |  |  |  |  |  |  |  |  |  |
| As owners of the land outlined in blue on the plan we have a legal right of access to the borehole |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Existing licence number(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If you are applying to change an existing licence please provide the licence number below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Licence number(s) |  |  |  |  |  |  |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. Cross border applications |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| As part of your site operation do you also abstract for a previously exempt activity in England? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  |  | Please provide detail of this cross border application in the box below. If possible, provide a reference or application number, or name of an Environment Agency contact with whom the application has been discussed. Continue on a separate referenced sheet if necessary and tell us the reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Abstraction details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7.1 Site map |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please provide a map with details of the location(s) you abstract water from (points reaches, or areas). Tell us the reference for this map, below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Site map reference |  |  |  |  |  |  |  |  | Site Plan borehole C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7.2 Please tell us details about the location(s) you abstract water from (points reaches, or areas) in the tables below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The abstraction location, name, or reference must be the same as those used on the site map, in question 7.1. If you need more space, please continue on a separate referenced sheet if necessary and tell us the reference for this document |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  |  |  |  | Site Plan borehole C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Table 7. 1 - Surface water abstractions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Abstraction location name or reference (As labelled on the site map) |  | Type of location (single point, reach, area) |  |  |  |  | Source of Supply |  |  |  |  | First National Grid Reference (12 digits) |  |  | Second National Grid Reference (12 digits) |  |  |  |  | Third National Grid Reference (12 digits) |  |  |  |  |  | Fourth National Grid Reference (12 digits) |  |
| None |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If necessary, continue on a separate sheet and tell us the reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference(s) |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 7. 2 Ground water abstractions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Abstraction location name or reference (as labelled on map) | Source of Supply |  |  |  | National Grid Reference (12 digit) |  |  | Overall depth (metres) |  | Maximum diameter (millimetres) or area of excavation (square metres) |  |  | Screened section (metres below ground level) |  |  | Drift geology |  |  | Solid geology |  |  | Rest pump water level |  |  | Pumped water level |  | Pump Depth |
| Borehole C | Borehole |  |  |  | SN 51990 57478 |  |  | 20.2 |  | 200mm |  |  | Unknown, borehole C was constructed by Dairycrest (previous site owners) circa 1985. No construction records are available |  |  | Lake clays & silts over 50m thick beneath post glacial river deposits |  |  | Late Ordovician (Caradoc-Ashgill series) and early Silurian (Llandovery series) sedimentary rocks |  |  | 12m |  |  | 15m |  | 17.5m |
| If necessary, continue on a separate sheet and tell us the reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference(s) |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Abstraction history and evidence |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8.1 Please complete table 8.1 to document that the abstraction(s) and transfer(s) has or have been taking place during the qualifying period. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If necessary, continue on a separate sheet and tell us the reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference(s) |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Table 8.1 |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Abstraction location name or reference (as labelled on map) | Purpose(s) water used for | Period of abstraction | Maximum quantities abstracted |  |  |  |  |  | Means of measurement, or assessment of abstracted quantities | Are these the maximum quantities of water you wish to have licensed? (Yes or No) |
|  |  |  | All year, or months, or days (provide specific dates) | Year (cubic metres) | Day (cubic metres) | Hour (cubic metres) | Peak instantaneous flow rate (litres per second) | Maximum number of hours of abstraction per day | Please indicate whether volume is actual (A) or estimated (E) |  |  |
| 01 January 2011 to 31 December 2011 | Borehole C | Manufacture of food flavourings | All year | 166901 | 556 | Meter is read on a daily basis | Not recorded | Continuous | Actual | Meter calibrated to UKAS standard |  |
| 01 January 2012 to 31 December 2012 | Borehole C | Manufacture of food flavourings | All year | 99664 | 516 | As above | Not recorded | Continuous | Actual | As above |  |
| 01 January 2013 to 31 December 2013 | Borehole C | Manufacture of food flavourings | All year | 114683 | 571 | As above | Not recorded | Continuous | Actual | As above |  |
| 01 January 2014 to 31 December 2014 | Borehole C | Manufacture of food flaourings | All year | 154738 | 539 | As above | Not recorded | Continuous | Actual | As above |  |
| 01 January 2015 to 31 December 2015 | Borehole C | Manufacture of food flavourings | All year | 199399 | 737 | As above | Not recorded | Continuous | Actual | As above |  |
| 01 January 2016 to 31 December 2016 | Boerehole C | Manufacture of food flavourings | All year | 221655 | 901 | As above | Not recorded | Continuous | Actual | As above | Yes |
| 01 January 2017 to 31 December 2017 | Borehole C | Manfacture of food flavourings | All year | 188025 | 718 | As above | Not recorded | Continuous | Actual | As above |  |

| 8.2 Please complete the table below if you wish a lesser quantity of water to be licensed than that detailed in table 8.1. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| If necessary, continue on a separate sheet and provide a reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 8.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Abstraction location name or reference (as labelled on map) |  | Purpose water is used for |  |  |  |  | Abstraction period | Maximum annual abstraction volume (cubic metres) |  |  |  | Maximum daily abstraction volume (cubic metres) |  |  |  | Maximum hourly abstraction volume (cubic metres) |  |  | Maximum number of hours of abstraction per day |  |  |  |  | Peak abstraction rate (litres per second) |  |
| 8.3 Do you wish your abstracted quantities to be aggregated? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| You can aggregate: - across some or all of the abstraction points, or reaches, or areas listed above. - with other abstractions you wish to have licensed through the transitional process. - abstractions you need to have licensed through the standard licensing process. - with existing licences you hold. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  | Provide details of any proposed aggregation in the box below. If necessary, continue on a separate sheet and provide a reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8.4 Please provide a detailed description of how the abstraction(s) has/have taken place |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Use the box below to tell us about your abstraction(s). The description should include the following: - A diagram or schematic of how the activity has been undertaken, using your abstraction point references and including any discharge points - Details of the structure and equipment involved in the abstraction. This should include dimensions. - Details of your means of measurement or assessment of abstraction quantities method If necessary, continue on a separate sheet and tell us the reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  | Borehole C P&ID 2019 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Abstraction from borehole C has been more or less continuous from around 1985. The borehole was constructed to provide water to the Dairy that was then at the site. When the site was purchased by Sensient use of the borehole to provide water for the facility continued. There are several boreholes in the vicinity, water from which is pooled between Sensient and Volac (the other occupier of the site) into a shared water storage and treatment system. Water is then used within the processes and for cleaning in the manufacture of food flavourings. The meter used to record the quantities abstracted is a 3” paddle meter calibrated to UKAS standard. Meter readings are manually recorded regularly. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8.5 Please list the evidence you are providing to support your application |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Use the box below. The evidence should demonstrate the following: - That abstraction has taken place at some time during the seven year qualifying period. - The quantities of water you have abstracted during the qualifying period. For example, records of meter readings, or cropping plans. If necessary, continue on a separate sheet and provide a reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  | “Covering letter and document list”, “Examples of meter readings”, “Bore hole C meter readings” and “Calibration examples borehole C” |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Meter readings (in M3) are taken on a regular basis and recorded on an Excel spreadsheet. The complete data set Jan 2011 to Dec 2017 has been provided. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Discharge details |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9.1 Please provide details on any discharge of abstracted water in table 9.1 below and on the map used to show abstraction locations. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If necessary, continue a separate sheet and provide a reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  | N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 9.1 - Details of any discharge of abstracted water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Discharge location name or reference (as labelled on map) |  |  |  |  |  |  |  | National Grid Reference of discharge point (12 digit) |  |  |  |  |  |  | Total volume discharged (cubic metres) |  |  | Environmental Permit number for Water Discharge Activity number (if applicable) |  |  |  |  |  |  |  |
| 9.2 Please provide a description of discharge structures and equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If necessary, continue a separate sheet and provide a reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Eel considerations |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does your abstraction include measures to safeguard eels? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  | Provide details below |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Borehole therefore no safeguarding of eels required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Trickle Irrigation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| If you are applying to licence a trickle irrigation abstraction, do you wish to apply for a Two-Part Tariff agreement with your application? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  |  | We will contact you during determination of your application to arrange this agreement. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. Planned abstractions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12.1 Do you expect to increase the current rate of abstraction for the activity you are applying to have licensed from 01January 2018 onwards or to carry out further new abstractions (both termed ‘planned’ abstractions) at this site in the future? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12.2 Have you submitted a licence application (s) for any planned abstraction(s) as a result of the Water Act 2003 changes? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  |  | Provide a reference number if you have already submitted an application(s) to cover any planned abstractions. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. Other abstractions |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Please provide details of any other abstraction(s) (licensed or exempt) that are associated with this application in table 13.1 below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 13.1 - Details of any other abstraction(s) (licensed or exempt) that are associated with this application |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| National Grid Reference (12 digit) of where you abstract water |  |  |  |  | Source name and type |  |  |  | Purpose of abstraction |  |  |  |  | Where do you use the water? |  |  | When do you abstract the water? |  |  | Is this a pending application, or already licensed? Please provide the application or licence number as appropriate |  |  |  |  |  |
| 14. Planning permission |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Complete table 14.1 below and provide details of any planning permissions or advice associated with the abstraction you are applying to have licensed where relevant. Provide a copy of any permissions or advice,providing a reference for this document below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Table 14.1 – Planning permission |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Abstraction location name or reference (as labelled on map |  |  |  |  | Is planning permission needed, Yes or No? |  |  |  |  |  | Planning permission status (if required) |  |  |  |  |  |  | Have you received any planning advice for the abstraction? |  |  |  |  |  |  |  |
| 15. Environmental impact assessment(EIA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Does your application require an EIA under The Water Resources (Environmental Impact Assessment) (England and Wales) Regulations 2003 (as amended) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  |  | Please provide a copy of your environmental impact assessment; provide a reference for this assessment below. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16. Licence duration |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tell us when you wish your abstraction licence to end |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Normally abstraction licences are granted for between 6 and 18 years in line with the catchment licence common end date. If you require a shorter or longer duration licence, please provide details and your justification in the box below. If necessary, continue a separate sheet and provide a reference for this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Catchement end date is 2028 (ref P16. The Teifi and Northe Cereidigion Abstraction Licencing Strategy, May 2014 published by NRW) The licence should run to the Catchement end date. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 Declaration and data protection and commercial confidentiality |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Data protection: Please read the guidance carefully for details on who can sign this section and note the information relating to the Data Protection Act 1998, our Public Register and exclusions. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Commercial confidentiality: Do you think your application should be confidential, and that information should not be placed on the public register? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No | ☒ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Yes | ☐ |  |  | You must send us supporting information to tell us why. Use the box below or a separate sheet, and tell us the reference you have given this document. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Document reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Declaration: By signing below, you are declaring that as far as you know and believe the information given in this form, on any map and in any supporting or additional information is true. A printed name in the ‘signature’ response box will be treated as the equivalent of an electronic signature. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Title |  |  |  |  | Mr |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| First name |  |  |  |  | Kerry |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Last name |  |  |  |  | Boyd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Position |  |  |  |  | Operations Director |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Today’s date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |