| Permit Number: | PAN-010510 |
| --- | --- |
| Applicant name: | Mr. Huw Jones (Aberystwyth University) |
| Site Address: | Cae Rasus, Farm Office, Plas Gogerddan, Aberystwyth, SY23 4LL |
| Discharge Point NGR: | SN 62154 83631 |
| Respond by date: | 25/06/2020 (10 working days) |
| Permitting Officer: | Thomas Dauncey |

Brief Description of proposal:

For this variation, the operator proposes to change the location of their sheep dip disposal to a neighbouring field.

4m3 of spent sheep dip will be disposed of 1 day per year on a dedicated area of land in a field at SN 62154 83631.

A dilution of 1 part spent sheep dip to 3 parts water will be applied by tanker at a rate of 20m3 of diluted liquid per hectare. Discharge will take place during more favourable conditions in August.

The location change is the only proposed change to the current permit.

Habitats Screening Report – Designations or protected species/habitats:

There are no designations or protected species/habitats within screening distance. Therefore, I will not be completing any further assessments.

DMS link to Risk Screening Report

Risk Assessment Results (modelling or L1 Risk Assessment):

The score on the L1 was 34. This is mainly as a result of the, vacuum tanker, disposal method and the sheep dip type which is Organophosphate.

I will not be consulting with Geoscience because the L1 score falls below 50.

DMS link to L1 Matrix

Miscellaneous:

NRM Responses:

Environment Management comments:

We currently have the following concerns the proposed new field (NGR SN 62154 83631) that’s been suggested

1.	The proximity of the field to the ancient woodland

2.	The proximity to the watercourse that flows through this woodland, and it’s not marked on the map provided.

3.	The proximity to the stream which is marked on the map which was provided, is this the reason a section of the field has been marked as ‘not to be used’ and how much of the field will not be used?

4.	According to the application the proposed new field has an area of 1.88ha, however according to the IACS layer on MyMap the field has an area of 1.05ha and this also includes the area of the field that is marked in the application with ‘will not be used’, so we will require clarification on the size of this field.

Officers name: Rhys Brassington
Date: 23/06/2020

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

N/A

Officers name:
Date:

Conservation/Ecology Comments:

N/A

Officers name:
Date:

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | No |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | No |
| Environmental Heath | No |

Any Permitting Responses:

Date: