## AMP8 Tracker
Core information/Submission | [7 empty] | Duly Made |  | NRW RFI/Schedule 5 request | [5 empty] | DCWW Response
AMP Period | Driver & Batch number | Site Name | FE Permit Number | Storm Permit Number | Date Submitted | PAN # | Allocated NRW Officer | Duly Made? | Duly Made Decision Date | Further info required? | What is the Request (limit to 100 words) | RFI Request Date | RFI Deadline | Request Status | Further asssessment? (HRA, WFD) | DCWW Comment | Date of DCWW Comment | DCWW Officer
Non-AMP | Non-AMP - ST conditions update | Cambrian Street SPS | N/A | BF0083605 | 2025-06-09 | PAN-029573 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | New Crofty C SPS | N/A | BW4100301 | 2025-06-09 | PAN-029574 | Hayley | N |  | Y | Although the variation is to just update the ST condtions, would you like to update the NGRs for this permit? All the NGRS are at the outfall including the EDM monitor (SS 52690 94792). | 2025-06-30 | 2025-07-14 | Open
Non-AMP | Non-AMP - ST conditions update | Sandy SPS | N/A | BW2200201 | 2025-06-09 | PAN-029575 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Northumberland Avenue SPS | N/A | BP0252901 | 2025-06-09 | PAN-029580 | Emma | Y | 2025-07-02 | N
Non-AMP | Non-AMP - ST conditions update | CSO Behind 8 Pwll Road | N/A | BW2203201 | 2025-06-09 | PAN-029581 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Holythorne Crofty B SPS | N/A | BP0246301 | 2025-06-09 | PAN-029583 | Hayley | Y | 13/06/2025 | N
Non-AMP | Non-AMP - ST conditions update | Burry Port SPS | N/A | BP0252702 | 2025-06-09 | PAN-029584 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | St Michael’s Church CSO | N/A | BW2201101 | 2025-06-09 | PAN-029587 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | CSO 49 Tir Einon | N/A | BW2201201 | 2025-06-09 | PAN-029589 | Hayley | N |  | Y | Please could you confirm the screen size at this asset - the submission stated 6x6mm mesh screen, however the current permit gives 6mm bar screen. Thank you | 2025-06-30 | 2025-07-14 | Open |  | Current screen is a static screen, wave mesh 6mm 2d. There is also a NoRag install on this screen. | 2025-07-07
Non-AMP | Non-AMP - ST conditions update | Ashburnham SPS | N/A | BW2203101 | 2025-06-09 | PAN-029591 | Hayley | N |  | Y | Although the variation is to just update the ST condtions, would you like to update the NGRs for this permit? All the NGRS are at the outfall including the EDM monitor. | 2025-06-30 | 2025-07-14 | Open
Non-AMP | Non-AMP - ST conditions update | Bynea SPS | N/A | BP0253002 | 2025-06-09 | PAN-029572 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | New Penclawdd SPS | N/A | BO5109601 | 2025-06-09 | PAN-029582 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Havard Road CSO | N/A | BP0359401 | 2025-06-09 | PAN-029585 | Hayley | N |  | Y | There is no spill trigger in this permit - our records show this was agreed in AMP6 between Chris Hall (NRW) and Red Jenkins (DCWW). Would you like to withdraw this variation? | 2025-06-30 | 2025-07-14 | Closed |  | Yes, happy to withdraw, sorry. | 2025-03-07 | Claire Grainger
Non-AMP | Non-AMP - ST conditions update | Halfway Area CSO | N/A | BW2200901 | 2025-06-09 | PAN-029586 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | East of Kingfisher Court CSO | N/A | XP3425XQ | 2025-06-09 | PAN-029588 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | CSO Serving Nolton Haven SPS | N/A | UP3629XK | 2025-06-09 | PAN-029569 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | CSO at Dunns Lane/Park Street | N/A | BP0237402 | 2025-06-09 | PAN-029570 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | CSO at Sketty Green | N/A | AB3694FF | 2025-06-09 | PAN-029571 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Price Avenue CSO | N/A | AN0105301 | 2025-06-09 | PAN-029576 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Sully Moors Road SPS | N/A | AN0223001 | 2025-06-09 | PAN-029577 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Old Colwyn Queens Road CSO | N/A | CG0166101 | 2025-06-09 | PAN-029578 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | The Parrog Newport CSO | N/A | BP0208401 | 2025-06-09 | PAN-029579 | Hayley | N |  | Y | Apologies - I have added a map on a tab below - Was supposed to say the EDM looks to be at SN 05137 39467 and the discharge at SN 05143 39478. | 2025-06-30 | 2025-07-14 | Open |  | The NGRs that have been submitted and the one that you have suggested are the same? Please can you confirm if this is correct? | 2025-07-07 | Rhiannon Stevens
Non-AMP | Non-AMP - ST conditions update | Whitewell Road CSO 2 | N/A | AN0104701 | 2025-06-09 | PAN-029590 | Hayley | Y | 2025-06-13 | N
Non-AMP | Non-AMP - ST conditions update | Llanberis SPS | N/A | CG0352001 | 2025-06-09 | PAN-029568 | Hayley | N |  | Y | Apologies we have no PSKPM on record for this asset - please could you provide one. | 2025-06-30 | 2025-07-14 | Open
AMP6 | AMP6 Carryover - EDM | (B) Meyrick St, Pembroke Dock | N/A | BP0209401 | 2025-06-20 | PAN-029688 | Emma | Y | 2025-07-01 | N
AMP6 | AMP6 Carryover - EDM | Caernarfon Pont Seiont PS | N/A | CG0163801 | 2025-06-20 | PAN-029689 | Emma | Y | 2025-07-01 | N
AMP6 | AMP6 Carryover - EDM | Llanfrynach STW Storm Overflow | N/A | AN0075201 | 2025-06-20 | PAN-029690 | Emma | Y | 2025-07-01 | N
AMP6 | AMP6 Carryover - EDM | Pembroke Dock Water Street | N/A | BP0116201 | 2025-06-20 | PAN-029691 | Tom | N |  | Y | Discharge to Surface Water and a Discharge to Sea Outfall has been provided. Is the the Discharge to Surface Water where it enters a culvert/surface water runoff pipe and the Discharge to Sea Outfall where that run off meets the environment? If thats the case, we only need to use where it enters the environment for the purpose of the permit, and can a new map with a single discharge point, labelled Storm Discharge Point be provided. I can mention this discharge to a surface water pipe, and where, in Table 1.1 as additonal information. | 2025-07-03 | 2025-07-17 | Open
AMP6 | AMP6 Carryover - EDM | Crynant NE of STW | N/A | BW2900701 | 2025-06-20 | PAN-029692 | Tom | Y | 2025-07-03 | N
AMP6 | AMP6 Carryover - EDM | Llanfairfechan Park Crescent CSO | N/A | CG0162201 | 2025-06-20 | PAN-029693 | Tom | N |  | Y | Discharge to Surface Water and a Discharge to Sea Outfall has been provided. Is the the Discharge to Surface Water where it enters a culvert/surface water runoff pipe and the Discharge to Sea Outfall where that run off meets the environment? If thats the case, we only need to use where it enters the environment for the purpose of the permit, and can a new map with a single discharge point, labelled Storm Discharge Point be provided. I can mention this discharge to a surface water pipe, and where, in Table 1.1 as additonal information. Currert map has Discharge to Sea Oufall twice. Label for EDM is out of the box. | 2025-07-03 | 2025-07-17 | Open
AMP6 | AMP6 Carryover - EDM | Llanrhidian WwTW SPS | N/A | BO5102401 | 2025-06-20 | PAN-029694 | Helen | N |  | Y | Our records show this to be an EO-only permit. Please could you check your records? While this appears on the multi-permit schedule from 2010, which was written to cover permits which included either CSOs or EOs, or both, the appearance of a permit on this schedule does not mean that both activities are permitted at the site. Also, are you able to provide the Unique ID for this permit for AMP6, please? | 2025-07-02 | 2025-07-16 | Open
AMP6 | AMP6 Carryover - EDM | Neyland - The Promenade | N/A | BP0208601 | 2025-06-20 | PAN-029696 | Helen | N |  | Y | We have received a trigger exceedance notification for this site. Please could you check and confirm whether this site has received investment in the paste (possibly AMP5) for bathing / shellfish water reductions of spill? | 2025-07-03 | 2025-07-17 | Open
AMP6 | AMP6 Carryover - EDM | Saundersfoot The Glen SPS | N/A | BP0112501 | 2025-06-20 | PAN-029697 | Helen | Y | 2025-07-04 | N
AMP6 | AMP6 Carryover - EDM | Llanfairfechan Hospital SPS | N/A | CG0184301 | 2025-06-20 | PAN-029698 | Hayley | N
AMP6 | AMP6 Carryover - EDM | Deganwy Beach SPS | N/A | CG0184501 | 2025-06-20 | PAN-029699 | Olu | N
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
AMP7
Note on L2: Dulson, Emma: If maps or other documents are used for the RFI - please add an extra tab at the bottom stating the site name/permit number. Please delete this once the RFI is closed.