## READ ME
TREWERN FARM LTD
The Water Resources (Transitional Provisions) Regulations 2017
APPLICATION FOR NEW GROUNDWATER ABSTRACTION
LICENCE FOR A PREVIOUSLY EXEPMT ABSTRACTION AT TREWERN FARM

## Annual Summary
TREWERN FARM, FELINDRE FARCHOG, PEMBROKESHIRE
GROUNDWATER ABSTRACTION ANNUAL SUMMARY 2011 - 2017
Point A
YEAR | TOTAL ABSTRACTION (m3/yr) | Hourly Max (m3/hr) | Peak Instantaneous (l/s) | Daily Max (m3/d) | Hrs/Day
2011 | 44500.23 | 6.5 | 1.8056 | 128.095 | 19.7069
2012 | 45759.48 | 6.5 | 1.8056 | 131.545 | 20.2377
2013 | 47858.23 | 6.5 | 1.8056 | 137.295 | 21.1223
2014 | 48068.105 | 6.5 | 1.8056 | 137.87 | 21.2108
2015 | 48697.73 | 6.5 | 1.8056 | 139.595 | 21.4762
2016 | 47858.23 | 6.5 | 1.8056 | 137.295 | 21.1223
2017 | 48194.03 | 6.5 | 1.8056 | 138.215 | 21.2638
MAX | 48697.73 | 6.5 | 1.8056 | 139.595 | 21.4762

## Abstraction Volumes 11-17
TREWERN FARM, FELINDRE FARCHOG, PEMBROKESHIRE
GROUNDWATER ABSTRACTION ANNUAL SUMMARY 'POINT A' 2011 - 2017
| Milk Production (Washdown and Drinking) | [6 empty] | Domestic |  |  |  |  | Agrochemical Spraying | [5 empty] | Machinery Washing |  |  |  |  | Total Annual Abstraction - all uses (m3/year)
Year | Number of Cows | Typical Water Requirement - Cleaning with power hose (l/day/animal)* | Daily Water Usage for Washdown (m3/day) | Annual Abstraction Volume for Parlour Washdown (m3/yr) | Typical drinking requirement - adults (l/day/animal)* | Daily Water Usage for Drinking (m3/day) | Annual Abstraction Volume for Drinking (m3/yr) | Number of people present all year | Water Usage l/day/pp* | Water Usage m3/d/pp | Water Usage m3/day | Annual Abstraction for Domestic Use (m3/year) | Crop | Area (Ha) * | Application Rate (l/Ha) | Days to spray | Water Usage (m3/day) | Annual Abstraction for crop spraying (m3/yr) | Number of Vehicles / day | Time to wash (minute) | Wash equipment flow (l/min)* | Water Usage (m3/d) | Annual Abstraction for Plant Wash (m3/yr)
2011-01-01 | 1040 | 45 | 46.8 | 17082 | 70 | 72.8 | 26572 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 44500.23
2012-01-01 | 1070 | 45 | 48.15 | 17574.75 | 70 | 74.9 | 27338.5 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 45759.48
2013-01-01 | 1120 | 45 | 50.4 | 18396 | 70 | 78.4 | 28616 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 47858.23
2014-01-01 | 1125 | 45 | 50.625 | 18478.125 | 70 | 78.75 | 28743.75 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 48068.105
2015-01-01 | 1140 | 45 | 51.3 | 18724.5 | 70 | 79.8 | 29127 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 48697.73
2016-01-01 | 1120 | 45 | 50.4 | 18396 | 70 | 78.4 | 28616 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 47858.23
2017-01-01 | 1128 | 45 | 50.76 | 18527.4 | 70 | 78.96 | 28820.4 | 12 | 150 | 0.15 | 1.8 | 657 | Wheat & Grass | 124.9 | 200 | 4 | 6.245 | 24.98 | 3 | 10 | 15 | 0.45 | 164.25 | 48194.03
| 7743 | *Standard usage figures from ‘R&D Best Practice Manual W6-056/TR for industry and agriculture’ | [6 empty] | *from British Water - Codes of Practice: Flows and Loads |  |  |  |  | *28.3 Ha Wheat sprayed 3x per year | [5 empty] | *pressure washer spec
|  |  | Dairy Cows cleaning power hose |  | 27-45l/d/head | [8 empty] | *40Ha grass sprayed 1x per year
|  |  | Dairy Cows drinking |  | 45-70l/d/head