File Note

- Block “B” as now referred to as “Block A” as per the rfi response received 03/04/05. I have therefore altered the site plan from the applicant and have changed Block B to Block A and vice versa in the permit.

- Option 2 connection to foul sewer not used in the cost benefit analysis as this is the more expensive option. The Cost of Option 2, stated in Annex B is £586,377 see document here >> PAN-028669 Cost of connection to foul sewer Option 2.pdf

- Option 3 public sewer connection used as this is the cheaper option of connection to foul sewer at £455,441.40. See Appendix G >> PAN-028669 Foul Drainage Options and Cost Review .

- Option 1 - Quotation used for cost of package treatment plant in Appendix E in the document above at £54,047.21