## Proposed PTP
Capital cost items
Item | Description | Cost | Notes | See document "PAN-028669 Foul Drainage Options and Cost Review" | Option 2 not used as conneciton to foul more expensive.
1 | Supply & Install | 54047.21 | Graf quotation incl. VAT.
2 | Transportation and Installation |  | site power & Design cost
3 | Commissioning/power
4 | Drains and Private Sewers
5 | Pumping Stations
6 | Drainage Field | 3400 | Appendix E Treatment cost breakdown ref 2.1
7 | Outfall | 0
8 | Sampling Point | 0
9 | Site Access/legal fees
| Total capital cost | 57447.21
Annual operating cost items
Item | Description | Cost | Notes
1 | Power | 0 | Estimated cost
2 | Maintenance | 500 | Estimated cost
3 | Effluent Removal |  | N/A
4 | Sludge Removal | 500 | Estimated cost
5 | Drainage Field |  | N/A
6 | NRW Annual Subsistance | 2355
| Total annual operating expenditure | 3355
| Lifetime Costs 25 yrs | cost | Note
1 | Power | 0 | Estimated cost
2 | Maintenance | 12500 | Estimated cost
3 | Effluent Removal |  | N/A
4 | Sludge Removal | 12500 | Estimated cost
5 | Replacement | 57447
6 | NRW Annual Fee | 18694.75
| Total annual operating expenditure | 101141.75
158588.96
| Environmental Impact | 240000 | x £8000 higher figure used x 30 equiv number of properties. Higher figure used as discharge within 50m of shellfish waters.
| PTP Installation total | 398588.96
| Sewer connection cost total | 435693.6
| Difference | 37104.64

## Sewer Connection Costs
Sewer Connection estimates - JBF group
| Description | Costs | Notes
| Packaged pumping station and rising main | 134925
| Gravity sewer in Highway | 140805
| Traffic management | 6000
| Road closure | 2500
| Preliminaries | 20000
| Service crossings | 16000
| Disposal of excavated rocl | 1800
| Welsh Water Fees and adoption | 5000
| Electic supply to pump station | 3000
330030
| Contingency @ 10% | 33003
| Total | 363033
| VAT @ 20% | 72606.6
| Total | 435639.6

## Sheet1
Description | Costs | Notes
Section 104
Construction Costs
Connection to foul main
Man Holes to adoptable Standard
120m across field
2no. man holes - Field
230m in private road
Manholes in private access road 5no. man holes
Traffic management
Gas main Legal cost
Annual, cost
0
Description | Cost | Notes
Supply & Install
Transportation and Installation |  | site power & Design cost
Commissioning/power
Drains and Private Sewers
Pumping Stations
Drainage Field
Outfall | 0
Sampling Point | 0
Site Access/legal fees
Total capital cost |  |  | 0
Description | Cost | Notes
Power | 0 | Estimated cost
Maintenance | 500 | Estimated cost
Effluent Removal |  | N/A
Sludge Removal | 500 | Estimated cost
Drainage Field |  | N/A
NRW Annual Subsistance | 747.79
Total annual operating expenditure | 1747.79
Lifetime Costs 25 yrs | cost | Note
Power | 0 | Estimated cost
Maintenance | 12500 | Estimated cost
Effluent Removal |  | N/A
Sludge Removal | 12500 | Estimated cost
NRW Annual Fee | 18694.75
Total annual operating expenditure | 43694.75
Environmental Impact | 78000 | x £4000
PTP Installation total | 121694.75
Sewer connection cost total | 0
Difference | -121694.75
Note on E45: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Distance calculator based 19.5 properties, this figure is consistent with the distance to sewer connection calculation