| Summary |  |
| --- | --- |
| Application Details |  |
| Permit Number (if applicable) | BP0251001 |
| Application Reference | PAN-020592 |
| Project | Run to Waste |
| Operator Name | Dŵr Cymru Cyfyngedig |
| Site/Asset Name | Llechryd Water Treatment Works |
| Environment Team | Ceredigion |
| Area | Mid |
| Local Authority | Ceredigion County Council |
| Allocated permitting officer | Emma Dulson |

| Dates |  |
| --- | --- |
| Arrived to Permit Delivery Team | 24/01/2023 |
| Payment Date (on MyNRW) | 21/12/2022 |
| Duly Made Date | 10/04/2025 |
| Duly Made Notification Sent | 17/06/2025 |
| RFI Sent | 03/03/2025 |

| Administrative Checks |  |
| --- | --- |
| Correct application forms used (paper or online) | YES |
| Correct fee paid | YES |
| Basic details (site name, address) correct | YES |
| Declaration / Authorisation letter provided | YES |
| Does the application contain notification of national security issues and/or asked for any information to be kept confidential | NO |

| Location and habitats check (taken from risk screening report) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SSSI | SAC | Phosphorus sensitive SAC catchment | Ramsar | SPA | SINC | Protected Species and/or Habitats | National Park (SW only) | Drinking water protected area | Shellfish or bathing waters |
| Y | Y | Y | N | N | N | Y | N | Y | N |

| Basic Technical Checks |  |
| --- | --- |
| Correct permit number supplied (only applies if a variation) | YES |
| Type of activity confirmed / effluent type | YES |
| Discharge point NGR provided | YES |
| Sample / monitoring point NGR provided | YES |
| Distance to foul sewer provided | NO |
| Have they provided justification for a non-mains drainage system? | N/A |
| Discharge volume and calculations provided, and correct | YES |
| Receiving waters correct | YES |
| Site plan provided and clearly labelled NGRs | YES |
| Is the effluent treated completed and information provided | YES |
| Has the applicant provided an environmental risk assessment and /or modelling (if applicable) | N/A |
| Has an operating technique been provided (if applicable) | YES |
| Has a H1 risk assessment been provided (if applicable) | N/A |
| Have any scour mitigation measures been provided | YES |