Crymlyn burrows Materials Recovery and Energy Centre Environmental Permit Variation and Partial Surrender Application Working Plan Prepared for: Neath Port Talbot County Borough Council Environmental Permit Ref: EPR/BJ5775IF

SLR Ref: 402.02718.00005 Version No: 3 May 2025

Basis of Report

This document has been prepared by SLR Consulting Limited (SLR) with reasonable skill, care and diligence, and taking account of the timescales and resources devoted to it by agreement with Neath Port Talbot County Borough Council (the Client) as part or all of the services it has been appointed by the Client to carry out. It is subject to the terms and conditions of that appointment.

SLR shall not be liable for the use of or reliance on any information, advice, recommendations and opinions in this document for any purpose by any person other than the Client. Reliance may be granted to a third party only in the event that SLR and the third party have executed a reliance agreement or collateral warranty.

Information reported herein may be based on the interpretation of public domain data collected by SLR, and/or information supplied by the Client and/or its other advisors and associates. These data have been accepted in good faith as being accurate and valid.

The copyright and intellectual property in all drawings, reports, specifications, bills of quantities, calculations and other information set out in this report remain vested in SLR unless the terms of appointment state otherwise.

This document may contain information of a specialised and/or highly technical nature and the Client is advised to seek clarification on any elements which may be unclear to it.

Information, advice, recommendations and opinions in this document should only be relied upon in the context of the whole document and any documents referenced explicitly herein and should then only be used within the context of the appointment.

Document Revision History

Any changes to the working plan will be labelled in chronological order and the date of the change recorded. All records of the changes will be listed in the revision history in Table 1-1 below.

Table 1-1 Revision History

| Version | Reason for Revision | Date of Revision | Signature of Site Manager |
| --- | --- | --- | --- |
| 1.0 | First Version of the new Working Plan Document Finalised and Released | November 2023 |  |
| 2.0 | Second Version of new Working plan in response to NRW Schedule 5 | December 2024 |  |
| 3.0 | Third Version of new Working plan in response to NRW Schedule 5 | May 2025 |  |

CONTENTS

1.0	Introduction	5

1.1	Environmental Permit	5

1.2	Site Location	5

1.3	Report Structure	5

2.0	Waste Activities	6

2.1	Overview	6

2.2	Specified Waste Management Activities	7

3.0	Waste Types	8

4.0	Engineering Controls	10

4.1	Site Boundary	10

4.2	Waste Transfer and Materials Recovery Building	10

4.3	Surfacing	10

4.4	Drainage	10

4.4.1	Surface Water	10

4.4.2	Foul Water and Operational Run-off	11

4.5	Mechanical controls	12

4.5.1	Odour and Dust Abatement System	12

4.5.2	Fire Detection and Control	13

5.0	Operating Techniques	14

5.1	Waste Acceptance	14

5.2	Waste Transfer	14

5.3	Materials Recovery	15

5.4	Operating Techniques for Vehicles and Plant	16

5.5	Inspection, Cleansing and Maintenance	17

5.5.1	Engineering Controls	17

5.5.2	Maintenance of Plant and Equipment	17

5.5.3	Waste Transfer and Materials Recovery Operation	17

5.6	Storage of Consumable Materials	18

5.7	Security	18

5.8	Point Source Emissions and Monitoring	18

5.9	odour and dust abatement system is at A3.Specific Management Plans	18

6.0	Management	18

6.1	Technical Competence	18

6.1.1	Attendance	18

6.1.2	Technical Competence Scheme and Persons	19

6.1.3	Supervision	19

6.1.4	Training	19

6.2	Accidents and Incidents Procedure	19

6.3	Non-compliance Procedure	20

6.4	Complaints Procedure Including Contingency Actions	20

6.5	Information and records	20

6.5.1	Site Board	20

6.5.2	Site Daily Log	21

6.5.3	Waste Records	21

6.5.4	Waste Transfer Notes	21

6.5.5	Site Condition Report	21

6.5.6	Permit Point Source Emissions Monitoring and Reporting	21

6.6	Emergency Contact Details	21

document references

tables

Table 1-1 Revision History	1

Table 2-1 Specified Waste Management Activities	7

Table 3-1 Waste List	8

Table 5-1 Maximum Retention Times – Waste Transfer	14

Table 5-2 Maximum Retention Times – Materials Recovery	16

Appendices –  (All appendices to be incluDed once approval has been gained for the variation and partial surrnder)

Appendix 01 :	Environmental Permit (TBC)

Appendix 02 :	WAMITAB Certificates

Appendix 03:	Emergency Contacts

Appendix 04:	Fire Prevention and Mitigation Plan (TBC)

Appendix 05:	Odour Management Plan (TBC)

Appendix 06:	Pest Management Plan (TBC)

REFERENCED DRAWINGS

Drawing 01	Environmental Site Setting Local Receptors

Drawing 02	Environmental Site Setting Natural and Cultural Heritage

Drawing 03	Environmental Permit Boundary and Site Layout

Drawing 031 	Transfer Station Proposed Layout Sheet 1

Drawing 032	Transfer Station Proposed Layout Sheet 2

Drawing 033 	Transfer Station Proposed Layout Sheet 3

Drawing 070 	Transfer Station Site Drainage Layout Sheet 1

Drawing 071 	Transfer Station Site Drainage Layout Sheet 2

# Introduction

Neath Port Talbot County Borough Council (Council) has instructed SLR Consulting Limited (SLR) to prepare an Environmental Permit (Permit) variation and partial surrender application for the Materials Recovery and Energy Centre at Crymlyn Burrows under the Environmental Permitting (England and Wales) Regulations 2016 (as amended). Herein the facility will be referred to as ‘the site’.

Whereas the Environmental Risk Assessment identifies hazards associated with the operation together with pathways and potential receptors, this Working Plan describes the risk management measures developed to reduce the risk from all identified hazards and help prevent accidents: in terms of engineering controls, operating techniques and management procedures.

- A hard copy of the Permit and this Working Plan are available in the site office for all staff and visitors to view.

## Environmental Permit

The waste operation at the site is ongoing under the existing Permit (Ref: EPR/BJ5775IF).

The Council is submitting a variation and partial surrender application to bring the Permit in line with ongoing operations on site recognising that the Waste to Energy Facility has not functioned since 2013, and the remodelling of the waste transfer and materials recovery operation.

## Site Location

The site is situated in Crymlyn Burrows, Neath Port Talbot approximately 3.5km East of Swansea City Centre, and approximately 6km North West of Port Talbot at National Grid Reference (NGR) SS 69849 93362.

The site’s location is illustrated on Drawing 01 and the Permit boundary is illustrated on drawing 03.

## Report Structure

The Working Plan sets out the following:

Waste Activities;

Waste Types;

Engineering Controls;

Operating Techniques; and

Management.

The Working Plan is the over-arching document for the operation and brings together the following documents including the ERA, together with specific management plans:

Environmental Risk Assessment;

Odour Management Plan;

Pest Management Plan;

Fire Prevention and Mitigation Plan; and

Drawings.

# Waste Activities

## Overview

The site operates as a waste transfer station with some materials recovery taking place on site prior to onward transport for further treatment, recovery or disposal.

The site will continue to be limited to accept a maximum of 260,000 tonnes of waste per annum.

Separately collected waste types are tipped into separate bays in the reception areas.

The following separately collected waste types are tipped in separate designated bays in the waste reception area:

Residual waste

Green waste

Bulky

Street litter

AHP

The following separately collected waste types are tipped in separate designated bays in the recycling reception area:

Food waste;

Paper;

Glass;

Cardboard; and

Co-collected plastic and cans.

There are also designated areas for separately collected household batteries and small WEEE.

Plastic and cans are then separated further on the Materials Recovery Facility process line to recover metals and plastics.

All waste types are then bulked up, with certain dry recyclables baled, prior to transfer off site. All waste transfer and treatment will occur within the waste transfer and materials recovery building.

The operational layout is illustrated on Drawings 31, 32, and 33.

Ongoing waste treatment activities on site consist of the sorting, separation, screening, baling and bulking up of materials.

As part of the consolidation of activities at the site Neath Port Talbot council will be storing their fleet of waste collection vehicles at the site. The waste collection vehicles stored at the site will be washed in an external wash bay.

A detailed description of the operating techniques is set out in Section 5.0 of the Working Plan.

## Specified Waste Management Activities

Table 2-1
Specified Waste Management Activities

| Description of Activities | Limits of Activities |
| --- | --- |
| R3: recycling/reclamation of organic substances which are not used as solvents; R4: recycling/reclamation of metals and metal compounds; R5: recycling/reclamation of other inorganic materials; and R13: storage of wastes pending any of the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where is produced). D9: physico-chemical treatment; D14: repackaging prior to submission to any of the operations numbered D1 to 13; and D15: storage pending any of the operations numbered D1 to D14. | Maximum total throughput, not more than 260,000 tonnes per annum of waste. Maximum throughput of household and commercial AHP, not more than 3,000 tonnes per annum, and not more than 25tonnes in any one day. Maximum throughput of batteries, not more than 2.5 tonnes per annum, and not more than 100kg in any one day. Treatment consisting only of: - Sorting - Separation - Screening - Baling - bulking For disposal (no more than 50 tonnes per day) or for recovery. Waste types as specified in Table S2.1. |

# Waste Types

Table 3-1
Waste List

| Waste Code | Description | Notes |
| --- | --- | --- |
| 20 | MUNICIPAL WASTES (HOUSEHOLD WASTE AND SIMILAR COMMERCIAL INDUSTRIAL AND INSTITUTIONAL WASTES) INCLUDING SEPARATELY COLLECTED FRACTIONS |  |
| 20 01 | Separately collected fractions (except 15 01) |  |
| 20 01 01 | paper and cardboard |  |
| 20 01 02 | glass |  |
| 20 01 08 | biodegradable kitchen and canteen waste |  |
| 20 01 11 | textiles |  |
| 20 01 33* | Batteries and accumulators included in 16 06 01, 16 06 02 or 16 06 03 and unsorted batteries and accumulators containing these batteries | No treatment of batteries will occur – only acceptance and sorting before bulking up for onward transfer |
| 20 01 34 | batteries and accumulators other than those mentioned in 20 01 33 |  |
| 20 01 36 | discarded electrical and electronic equipment other than those mentioned in 20 01 21, 20 01 23 and 20 01 35 |  |
| 20 01 39 | plastics |  |
| 20 01 40 | metals |  |
| 20 01 99 | separately collected fractions of municipal waste (AHPs comprising nappies and AHPs) |  |
| 20 02 | Garden and park wastes (including cemetery waste) |  |
| 20 02 01 | biodegradable waste |  |
| 20 03 | Other municipal wastes |  |
| 20 03 01 | mixed municipal waste |  |
| 20 03 03 | street-cleansing residues |  |
| 20 03 07 | bulky waste |  |

The source of 20 01 99 (Absorbent Hygiene Products (AHP’s) is from household and commercial from care homes, day nurseries and similar.  AHP is currently collected as part of the residual, municipal waste stream, in order to accommodate Welsh Government’s direction of travel, Waste Collection Authorities will be increasingly required to collect AHP separate to the residual municipal waste stream

The source of 20 03 07 (Other Municipal Waste, bulky waste) is from household and similar commercial.  Bulky waste is currently taken by householders to Household Waste Recycling Centres (HWRC).  This will include large furniture, mattresses, carpets, containers, packaging, etc. (it is not practical to provide an exhaustive list of all items acceptable under EWC 20 03 37).  This will not include large WEEE, fridges or appliances.  20 03 07 will be tipped off, bulked up and transferred off site.  For the avoidance of doubt, 20 03 07 will not be separated or sorted or treated.  As such the risks and storage requirements for bulky waste are considered to be similar to those from residual waste, and there are no specific waste transfer operating techniques that will apply to Bulky waste.

The source of 20 01 36 (Municipal Waste, discarded electrical and electronic equipment (small WEEE) is from household and similar commercial.  Small WEEE is currently collected as part of the residual, municipal waste stream, in order to accommodate Welsh Government’s direction of travel, Waste Collection Authorities will be increasingly required to collect small WEEE separately to the residual municipal waste stream.  This will include toasters, kettles, hair dryers, etc. (it is not practical to provide an exhaustive list of all items acceptable under EWC 20 01 36).  20 01 36 will be manually off-loaded, bulked up and transferred off site.  For the avoidance of doubt, 20 01 36 will not be separated or sorted or treated.

# Engineering Controls

## Site Boundary

The site is enclosed by a perimeter fence and a screen of trees.  These features will:

Limit windblown litter;

Limit noise and vibration; and

Provide security against unauthorised access and vandalism.

## Waste Transfer and Materials Recovery Building

The waste transfer and materials recovery building is a large, mostly single storey, steel framed, metal clad building with a pitched roof.  The floor throughout is an impermeable concrete hardstanding.

The waste transfer and materials recovery building will:

Limit the contamination of rainwater, and assist in preventing contaminated run-off;

Limit windblown litter;

Limit noise and vibration;

Assist in the control of odour; and

Assist in the control of dust.

Tipping bays are constructed of reinforced concrete push walls with demountable alpha-block dividing walls.  The food waste tipping bay is constructed of reinforced concrete enclosed on three sides, with the floor laid to fall away from the open side and towards the drain at the rear.

The building also offers additional security against unauthorised access and vandalism.

Fire detection and control and other physical and mechanical features within the building are described elsewhere.

## Surfacing

The floor of the waste transfer and materials recovery building is constructed of concrete and is hardstanding and impermeable.

All site roads are constructed of concrete and are hardstanding and impermeable.

The hardstanding and impermeable floor and road surfaces will:

Prevent the contamination of groundwater and ground.

## Drainage

### Surface Water

All surface water from site buildings and roads is collected in the site surface water drainage system.  Discharge form site is controlled by an interceptor and filter, with the additional security of an automatic slam-shut valve.

The site surface water drainage system will:

Prevent contaminated run-off; and

- Prevent the contamination of groundwater and ground.

Discharge is regulated by a fixed throttle and onsite attenuation to prevent overloading the local system and help prevent flooding.

Surface water drainage layout is shown in the Site Drainage Plan. The site is operated to prevent fugitive emissions to surface water. All waste operations take place undercover, within the Waste Transfer and Materials Recovery building.  Surface water will not come into contact with waste. Rain water falling on site buildings is collected in roof gutters and drains to the surface water point source emission W1. Rain water falling on site roads is collected in kerb drains and drains to the point source emission W1 Surface water discharge is via an oil interceptor and separator.  Suspended solids are allowed to settle out, and a filter removes oil.  Silt is removed and tankered off site, and the filter changed regularly.

Surface water discharge from the site is via a raising main at point source emission W1.  The maximum rate of surface water discharge from the site is dictated by the rising main pumping station which has a maximum duty of 2x 14l/sec.  The pumping station consists of two automatic pumps providing alternating duty and standby, both pumps running if necessary. The surface water discharge is fitted with a slam-shut devise (AquaSentry).  The slam-shut devise is linked to the fire alarm system and will close automatically in the event of a fire on site.  The devise will also slam-shut if oil is detected.  The above ground control panel is fitted with a flashing alarm, which signals when the devise is shut.

The on-site surface water attenuation is c. 430m3

### Foul Water and Operational Run-off

Foul water and operational run-off is collected by drains and mechanical sweepers within the waste transfer and materials recovery building and drains either direct, pumped or via holding tanks and discharge via existing consent to the public sewer.

The site foul water and operational run-off drainage system will:

Prevent contaminated run-off; and

- Prevent the contamination of groundwater and ground.

Run-off and wash-down from tipping and bulking areas for:

- Food waste

- Green waste

- Residual waste

- Street litter

- Recyclables (inc bales storage area)

- Bulky household waste

AHP will be off-loaded from collection vehicles onto the hardstanding impermeable floor within the waste transfer and materials recovery building then loaded by mechanical shovel into sealed skips.

Batteries will be manually off-loaded from separate compartments on collection vehicles within the waste transfer and materials recovery building then manually loaded into sealed battery storage containers.

Small WEEE will be manually off-loaded from separate compartments on collection vehicles within the waste transfer and materials recovery building then manually loaded into a sealed storage container.

Foul water and operational run-off drainage layout is shown in the Site Drainage Plan. Operational run-off is from the transfer operation: tipping and bulking-up of waste deliveries, prior to transfer off site.

Run-off is produced on the impermeable floor of the tipping bays, and the baling and bales storage area within the Waste Transfer and Materials Recovery building.  Run-off on the floor can drain to floor drains, which in turn drain to a 20,000l holding tank in the site road to the North of the Waste Transfer and Materials Recovery building (the North Road Tank).  A mechanical sweeper is used across the floors of all operational areas within the Waste Transfer and Materials Recovery building.  Water from the sweeper is emptied into the North Road Tank.  Liquid in the North Road Tank is pumped across to the pumping chamber on the South Road and point source emission S1.  The level in the North Road Tank is checked regularly and the pump manually activated when necessary.

The food waste tipping bay is laid to fall to the rear of the bay and to the sump beyond.  Liquid in the sump is automatically pumped to the pumping chamber on the South Road and point source emission S1.

Foul water from the staff facilities in the Waste Transfer and Materials Recovery building are also pumped over to the pumping chamber on the South Road and point source emission S1. The pumping chamber on the South Road is fitted with a duty and standby pump. Point source emission S1 is subject to an existing Discharge Consent from the Water Authority. Discharge from S1, together with foul from the office Main Office Building is discharged from site via a rising main. The maximum rate of surface water discharge from the site is dictated by the rising main pumping station which has a maximum duty of 2x 4l/sec.  The pumping station consists of two automatic pumps providing alternating duty and standby, both pumps running if necessary

Run-off from the vehicle wash drains to an interceptor, and from there is pumped to the pumping chamber on the South Road and point source emission S1.  The surface grids prevent debris entering the drainage system.  Where debris (recyclables and mixed residual waste which has not been fully ejected into the tipping bays) is removed at the vehicle wash, it is swept up and disposed of off-site with the mixed residual waste.  The interceptor allows suspended solids to settle-out.  Silt is removed and tankered off site.

## Mechanical controls

### Odour and Dust Abatement System

A mechanical odour and dust abatement system is installed in the waste transfer and materials recovery building.  The system draws in air from residual waste, garden waste, AHP waste and food waste tipping bays.

The systems is fitted with bag and carbon filters and will:

Assist in the control of odour; and

Assist in the control of dust.

The Odour Management Plan is included at Appendix 05 to this Working Plan.

The Odour and Dust Abatement System installed in 2022-23 replaced an out-going system. The Odour and Dust Abatement System is made-up of two parallel streams each consisting of: dust filtration, carbon deep-bed absorber unit with activated Carbon, and centrifugal extract fan. Both extract fans discharge into the 15m, 1600mm diameter stack (which replaced the outgoing 15m stack).  Point source emission to air A3. Each filter stream comes complete with blast gate shut-off dampers on inlet and outlet for isolation. One of the two parallel streams draw in air from the residual waste, garden waste, and AHP waste tipping bays, the other stream draws in air from the food waste tipping bay.

The dust filter system consists of high capacity dust filters, grade F6 with a total media area 371m2 The odour abatement system is an activated carbon bed system consisting of high grade CX65 granular carbon with a total

volume 57m3 There are 2 no. 75kW extract fans providing a combined duty of approx. 100,000m3/hr

The system includes differential pressure gauge which constantly monitor the pressure loss across the filters to pre-warns of clogging.  There is an orange ‘Filter change’ lamp on the control panel that will light up when the filters need changing.  Under the current maintenance arrangements, the pre-filter bags are changed every 4 months.  These are removed from site to an appropriate facility.  Replacement of the carbon bed will be dictated by performance, with reference to post-installation performance monitoring (on-going).

The dust emission limits at the emission point will be well within DEFRA guidelines for particulate emissions of 50mg/m3 With regard to odour emissions, the carbon filtration system is a recognised “appropriate measure” in H4 and as such provides evidence of control measures.

### Fire Detection and Control

All waste tipping bays and temporary bale storage areas within the waste transfer and materials recovery building are protected by automatic and manual fire detection and an automatic sprinkler system.  The extent of the fire prevention and mitigation measures are set out in the Fire Prevention and Mitigation plan included as Appendix 04 to this Working Plan.

# Operating Techniques

## Waste Acceptance

All vehicles delivering waste enter and exit via the site weighbridge system.

A description of the waste is entered onto the weighbridge system.

If the waste delivery is a permitted waste type, then the vehicle is directed to the corresponding tipping bay.

Only waste which the site is permitted to take is allowed to tip off.  All other waste deliveries will be denied access.

All waste is subject to visual inspection at the tipping bay. Batteries are inspected as they are manually off-loaded from separate compartments on collection vehicles  Similarly, small WEEE is inspected as it is manually off-loaded from separate compartments on collection vehicles Unauthorised waste will either be loaded back onto the delivery vehicle, or isolated and sent to a suitably licenced facility.

## Waste Transfer

Waste deliveries are off-loaded into tipping bays on the hardstanding impermeable floor within the waste transfer and materials recovery building.  Separate tipping bays are designated for specific materials, and the banksman will direct the delivery vehicles to the correct tipping bay.

After tipping, the waste is visually inspected to ensure the waste is permitted waste and tipped in the correct bay.  Any unauthorised waste is isolated in accordance with the waste acceptance procedure.

Waste materials are pushed up by mechanical shovel, to ensure waste materials are within the tipping bays and no materials are beyond the bay.

Table 5-1 shows the maximum retention times for waste transfer under normal operations.  However, the following parameter will also apply:

Tipping bays will not be filled beyond a maximum allowing 1m freeboard to the top and front of the bay walls;

Materials are taken off site so as to avoid nuisance;

Materials are removed on a first in first out basis; and

Materials are removed to maximise efficient transport of waste.

Retention times may be reduced as part of contingency actions.

Retention times are determined in consideration of risk management measures.

Table 5-1
Maximum Retention Times – Waste Transfer

| Waste Type | Containment | Maximum Retention Times |
| --- | --- | --- |
| Food waste | Tipping bay – within building | 7 days |
| Green waste | Tipping bay – within building | 7 days |
| Residual waste | Tipping bay – within building | 7 days |
| Street litter | Tipping bay – within building | 14 days |
| AHP | Sealed container | 1 month |
| Bulky household waste | Tipping bay – within building | 1 month |
| Paper | Tipping bay – within building | 1 month |
| Glass | Tipping bay – within building | 1 month |
| Cardboard | Tipping bay – within building | 1 month |
| Co-collected plastic and cans | Tipping bay – within building | 1 month |

Waste materials will be loaded by mechanical shovel from the tipping bays into off-take vehicles within the waste transfer and materials recovery building.  Waste compartments of off-take vehicles are covered before exiting the building.

The following specific additional waste transfer operating techniques will be applied for AHP.  AHP will be off-loaded from collection vehicles onto the hardstanding impermeable floor within the waste transfer and materials recovery building and subject to visual inspection to ensure the waste is permitted waste, then loaded by mechanical shovel into sealed skips.  Any unauthorised waste is isolated in accordance with the waste acceptance procedure.  Sealed skips are removed from site and replaced with empty sealed skips.

The following specific additional waste transfer operating techniques will be applied for batteries.  Batteries will be manually off-loaded from separate compartments on collection vehicles within the waste transfer and materials recovery building, and subject to visual inspection to ensure the waste is permitted waste, then manually loaded into sealed battery storage containers.  Any unauthorised waste is isolated in accordance with the waste acceptance procedure.  Battery storage containers are removed from site and replaced with empty Battery storage containers.  Supervisors will also inspect AHP sealed skips and Battery storage containers for signs of damage.  Any damaged containers will be replaced, and waste secured in replacement containers.

The following specific additional waste transfer operating techniques will be applied for small WEEE.  Small WEEE will be manually off-loaded from separate compartments on collection vehicles within the waste transfer and materials recovery building, and subject to visual inspection to ensure the waste is permitted waste, then manually loaded into sealed small WEEE storage containers.  Any unauthorised waste is isolated in accordance with the waste acceptance procedure.  Small WEEE storage containers are removed from site and replaced with empty storage containers for small WEEE.

All vehicles leaving operational areas are checked to ensure that they are clear of loose waste.

Before leaving the site, vehicles are checked to ensure their load is secure and any waste on the outside of vehicles removed.

## Materials Recovery

Co-collected dry recyclables are separated by the Materials Recovery Facility (MRF) within the waste transfer and materials recovery building.

The MRF process is described below:

1.	Bag splitter – mechanical process to rip bags to release any recyclables presented in plastic bags

2.	Ballistic separator – separating the waste stream into 2-D (eg film and similar); and 3-D (eg bottles and cans) for further sorting and rejecting fines.

3.	Oversized obstructions picking room – manually removing any items that might block the downstream process.

4.	Overband magnate – separating steel cans and other steel items from the main stream.

5.	Eddy Current Separator – separating Al cans and other Al items from plastics

6.	Refining picking room – available for manual picking to remove contamination from Al and plastics streams

For the avoidance of doubt, no materials or substances are added to the waste stream.

The MRF is loaded by mechanical shovel from the tipping bay.

Separated materials are discharged into bays standing on the floor, beneath the MRF.

Separated materials are loaded by mechanical shovel into the baler hoper and automatically formed into secured bales.  With the exception of the fines (non-recyclable rejects) which are removed to the residual waste tipping bay.

The bales are temporarily bulked-up pending off-take in separated, designated bays on the hardstanding, impermeable floor within the waste transfer and materials recovery building.

Table 5-2 shows the maximum retention times for materials recovery under normal operations.  However the following parameter will also apply:

Bale storage bays will not be filled beyond a maximum allowing 1m freeboard to the top and front of the bay walls;

Materials are taken off site so as to avoid nuisance;

Materials are removed on a first in first out basis; and

Materials are removed to maximise efficient transport of waste.

Retention times may be reduced as part of contingency actions.

Retention times are determined in consideration of risk management measures.

Table 5-2
Maximum Retention Times – Materials Recovery

| Waste Type | Containment | Maximum Retention Times |
| --- | --- | --- |
| Ferrous bales | Bale storage bay – within building | 2 months |
| Non-ferrous bales | Bale storage bay – within building | 2 months |
| Plastic bales | Bale storage bay – within building | 1 month |
| Plastic film bales | Bale storage bay – within building | 1 month |
| Fines | Tipping bay – within building | 14 days |

Baled materials will be loaded by forklift from the bays into off-take vehicles within the waste transfer and materials recovery building.  Waste compartments of off-take vehicles are covered before exiting the building.

## Operating Techniques for Vehicles and Plant

All vehicles on site will travel at not more than the maximum speed limit: 10mph.

All vehicles and plant will be turned off when not in use.

As part of the consolidation of activities at the site Neath Port Talbot council will be storing their fleet of waste collection vehicles at the site. The waste collection vehicles stored at the site will be washed in an external wash bay. The waters from this washing process that contains run off from the waste collection vehicles will be discharged into the Welsh Water foul sewer.

The vehicle wash area is located in the yard to the east of the Waste Transfer and Materials Recovery Building. Comprising of two parts: jet-wash bay; and drive through.  The vehicle wash area is on an impermeable concrete hardstanding.  The area is enclosed by screens, save for vehicle access.  The water from the vehicle wash is collected and discharged to foul, and solid material intercepted by grates and an interceptor.

The jet wash bay is used to clear the insides of waste collection bays on both refuse and recycling collection vehicles.  The drive through maintains the external appearance of the vehicles, with fixed arches applying and rinsing detergent.  With hand-held lances for specific external cleaning.

## Inspection, Cleansing and Maintenance

Inspection, cleansing and maintenance is an integral part of the operation.

### Engineering Controls

As part of their daily function, Supervisors inspect the proper operation of the engineering controls.  Defects to be made good as soon as practicable.

The following features are subject to specialist maintenance and servicing:

Surface water filter and automatic slam shut valve;

Foul water and operational run-off pumps;

Odour and dust abatement system; and

Fire detection and control systems.

### Maintenance of Plant and Equipment

As part of their daily function, Supervisors inspect the proper operation of Plant and Equipment.  Defects to be made good as soon as practicable.

The following Plant and Equipment are subject to specialist maintenance and servicing, and undertaken in accordance with manufacturers’ recommendations:

MRF; and

Mobile plant.

### Waste Transfer and Materials Recovery Operation

As part of the operation, Supervisors inspect both the external permitted area, and the area within the waste transfer and materials recovery building for odour, together with litter and waste outside the tipping bays, including inaccessible areas.  Defects to be made good as soon as practicable.

Measures include the mechanical sweeping of all hardstanding areas both external and within the waste transfer and materials recovery building to remove litter and dust; tipping bays and internal areas cleaned down.

MRF and Baler regularly cleaned to remove waste build-up, including inaccessible areas. Supervisors will also inspect AHP sealed skips and Battery storage containers for signs of damage.  Any damaged containers will be replaced, and waste secured in replacement containers.

## Storage of Consumable Materials

All consumable materials are stored in accordance with COSHH and data sheets, in particular diesel is held in a double-bunded tank.

## Security

The site is manned by security personnel 24/7.  The security gatehouse is manned 24/7.  The site is also covered by CCTV which is monitoring 24/7 on site.

## Point Source Emissions and Monitoring

Point source emission monitoring requirements are set out in the permit.

There are no point source emissions to groundwater or land.

Surface water is discharged from the site at point source emission W1 (ref 4.4.1).  The site is operated to prevent fugitive emissions to surface water.

Point source emission for foul and process run-off is at S1.

An odour and dust abatement system is installed to mitigate fugitive emissions. The point source emission to air from the

## odour and dust abatement system is at A3.Specific Management Plans

The following specific management plans are included as appendices to this Working Plan:

Odour Management Plan;

Pest Management Plan; and

Fire Prevention and Mitigation Plan.

# Management

## Technical Competence

### Attendance

Attendance by Competent Persons will be greater than the minimum recommended in guidance documents for a waste operation. The guidance is applied to the waste transfer and materials recovery operation in the table below.

| OPRA Attribute | Band* | Attendance Points |
| --- | --- | --- |
| Complexity | A | 1 |
| Location | D | 3 |
| Emissions | A | 1 |
| Total |  | 5 |

*Based on a provisional assessment of the waste transfer and materials recovery operation.

A technically competent person is required on site for a minimum of 20% of weekly operating hours.  For example where the site operates for 60 hours in a week, then a technically competent person will attend for a minimum of 12 ours in that week.

Whereas five attendance points corresponds to 15% attendance, the minimum attendance of 20% is considered to apply.

### Technical Competence Scheme and Persons

Technically competent persons, the relevant accepted industry scheme(s), together with continued competence are identified by the enclosed certificates at Appendix 02

### Supervision

A member of staff, fully conversant with both the Permit and this Working Plan, will be on site when the operation is ongoing.

### Training

Technically competent persons undertaken continuing competence training.

Managers, technically component persons and supervisors are fully conversant with both the Permit and this Working Plan.

## Accidents and Incidents Procedure

Accident prevention and management is an integral part of the operation and cuts across engineering controls together with the operating techniques and management procedures.

The ERA identified accidents and external hazards which might increase the risk form identified, operational hazards.

The engineering controls together with the operation techniques and management procedures will help prevent accidents and manage the impact of accidents.

Accident prevention and management not stated elsewhere are set out below:

Spill kits are maintained on site within the waste transfer and materials recovery building.  Spill kits will be used for minor spills.

In the event of a major spill entering the surface water drainage system, the slam-shut valve will be closed to prevent contaminated run-off.  Contained, contaminated run-off will be tankered off-site for treatment and disposal.

As stated in the ERA: The NRW’s Flood Risk Assessment Wales Map indicates that the site is not at risk of flooding from rivers, the sea or reservoirs.  A small area at risk of surface water flooding is indicated in the eastern part of the site. This area corresponds to a topographical ‘low point’ within the site, where rainwater would naturally collect; however drainage gullies are located here to prevent any flooding from occurring.

Mobile plant breakdown: Operational resilience from multiple mobile plant employed across the operation.  Mobile plant used are industry standard and repairs and replacement are readily available.

MRF / Baler breakdowns: co-collected recyclable materials will be taken off site loose.

Odour and dust abatement system breakdown: initiate repair, increased inspections, review operating techniques and consider taking waste off-site in smaller less efficient loads.

Fire: The FPMP is included as an appendix 04 to this Working Plan.

## Non-compliance Procedure

Non-compliances detected on site will be reported, investigated, and rectified. Staff maintain awareness of non-compliances in the following areas:

- Actual or potential non-compliance with conditions of the environmental permit;

- System failure discovered at internal audit;

- Suppliers or subcontractors breaking the agreed operating rules;

- Incidents, accidents, and emergencies;

- Malfunction, breakdown or failure of plant;

- Other operational system failure; and

- Complaints.

The action taken in response to the non-conformance may include:

- Obtaining additional information on the nature and extent of the non-conformance;

- Discussing and testing alternative solutions;

- Modifying procedures and responsibilities;

- Seeking approval for additional resources and training; and

- Contacting suppliers and contractors (as applicable).

## Complaints Procedure Including Contingency Actions

All complaints will be logged on the site Complaints Log.  And the following contingency actions will be taken and recorded:

Establish if the complaint is valid;

Review site activates and control measures and correct defects where identify;

Record metrological data at the time of the complaint;

Minimise the impact of the activity causing the problem;

Investigate the root cause of the problem;

Take steps to ensure the problem is not repeated and if needed amend the Working Plan to reflect any changes; and

Provide feedback to the complainant.

## Information and records

### Site Board

A Site Board with the will be fixed at the site entrance and display:

Site name;

Operator;

Permit number and statement;

Contact phone numbers; and

NRW national telephone numbers.

### Site Daily Log

The Supervisor’s daily report will form the Site Diary, recording:

Daily inspections;

Defects across the site’s engineering controls, together with any repairs;

Non-conformance with operating techniques;

Unauthorised waste in the tipping bays, together with action to isolate and remove; and

Accidents, together with any response.

### Waste Records

All waste delivered and removed from site is recorded on the weighbridge system, recording:

Vehicle registration;

Waste producer;

Waste Description;

Time in / Time out; and

Weight in / weight out /net weight.

Unauthorised waste which is denied access is recorded in the control room, denied access, unauthorised waste log.

### Waste Transfer Notes

Waste Transfer Notes will be issued and records held in accordance with duty of care legislation.

### Site Condition Report

Whereas the original permit was issued prior to the requirement for a Baseline Site Condition Report (SCR), an SCR is prepared as part of the permit variation and partial surrender 2023.

Further additional records will be kept as required by the SCR, including:

Maintenance of surfacing;

Maintenance of drainage system; and

Actions taken to clean up incidents and spillages.

### Permit Point Source Emissions Monitoring and Reporting

The point source emissions monitoring and reporting requirements are set out in the Permit, together with requirements for Schedule 5 notification.

## Emergency Contact Details

Emergency contact details are included as Appendix 03.

______________________

______________________________________________________________________