Permit Number: 	BV5858IW			Operator: 		Abril Industrial Waxes Limited

Facility: 	Abril Industrial Waxes Limited		Form Number: 		Sewer1 / 27/08/2025

# Reporting of emissions to sewer for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | Suspended solids | 400 mg/l |  |  | BS EN 872 |  |  |
|  | Chemical oxygen demand mg/l | 20000 mg/l |  |  | BS 6068-2.34 or BS ISO 15705 |  |  |
|  | pH | 6-10 |  |  | Methods for monitoring shall be carried out as specified by the appropriate CEN standard. If CEN standards are not available, ISO standards shall be used. If ISO standards are not available then national standards which will ensure the provision of data of an equal scientific quality shall apply |  |  |
|  | Temperature °C | 43 |  |  |  |  |  |
|  | Oil and Grease | 150 mg/l |  |  |  |  |  |
|  | Flow | 1000 litre/day |  |  |  |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	BV5858IW			Operator: 		Abril Industrial Waxes Limited

Facility: 	Abril Industrial Waxes Limited 		Form Number: 	WaterUsage1 / 27/08/2025

# Reporting of Water Usage for the year 20XX

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| Site borehole |  |  |  |
| River abstraction |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	BV5858IW			Operator: 		Abril Industrial Waxes Limited

Facility: 	Abril Industrial Waxes Limited	Form Number: 	Energy1 / 27/08/2025

# Reporting of Energy Usage for the year 20XX

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

.

Permit Number: 	BV5858IW			Operator: 		Abril Industrial Waxes Limited

Facility:		Abril Industrial Waxes Limited		Form Number: 		Performance1 / 27/08/2025

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used |  | tonnes |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Drafting note: if the operator is required to submit Resource Efficiency Physical Index (REPI) data to the Pollution Inventory, please ensure that no metrics are repeated in this reporting form.