[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





	Notice of request for more information

	Environmental Permitting (England and Wales) Regulations 2016






Notice requiring further information 
To: Rupert and Bonnie Cunliffe
Wern Farm
Pentraeth Road

Menai Bridge

Anglesey

LL59 5RR

Application number: PAN-027063
Natural Resources Wales, in exercise of its powers under paragraph 4 of Part 1 of Schedule 5 of the above Regulations, requires you to provide the information detailed in the attached schedule. The information is required in order to determine your application for a permit, dated 30th September 2024.  The information requested should be sent to the following address by 10th March 2025
Information should be sent to: 

Permitting Centre
Natural Resources Wales
Cathays Park 2

King Edward VII Avenue
Cardiff
CF10 3NQ
Or sarah.pa.jones@cyfoethnaturiolcymru.gov.uk 

	Name



	Date

	Terry Gulliford
	10/02/2025



Authorised on behalf of Natural Resources Wales
Schedule

1. Provide the projected final effluent quality expected after being treated by the reedbeds, ideally in mg/l. This should include and not limited to Ammonia as N, Suspended Solids, Biochemical Oxygen Demand (BOD), Total Nitrogen as N and Phosphorous as P.
2. Provide updated management plan; including details of management when reedbeds are in maintenance or offline, and provide expected daily discharge rate from the reedbeds in litres per second.
3. Is it feasible to use a package treatment that produces better than British Standard final effluent quality? If so, please provide make, model, and the final effluent test certificate.
4. The proposed receiving watercourse has seasonal flow, therefore provide proposal of an alternative route of discharge from the reedbed to ensure adequate dilution within a waterbody all year round.
Cyfoeth Naturiol Cymru’ Swyddfeydd Llywodraeth Cymru, Parc Cathays, Rhodfa’r Brenin Edward VII, Caerdydd, CF10 3NQ 
Permitting Centre, Natural Resources Wales, Cathays Park 2, King Edward VII Avenue, CARDIFF CF10 3NQ

Ffôn/Tel

0300 065 3078
Ebost/Email
Sarah.Pa.Jones@cyfoethnaturiolcymru.gov.uk 



Sarah.Pa.Jones@naturalresourceswales.gov.uk

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk 

Correspondence welcomed in Welsh and English

Page 2 of 3

Page 3 of 3

[image: image1.jpg]