Site Condition Report evaluation form

	Applicant
	South West Wood Products Limited

	Permit reference
	EPR/QBP3093HE

	Address
	Newport Alexandra Docks, East way Road, Newport, NP20 2NP

	Grid reference
	ST 32198520

	Activity Type
	Waste Transfer Station

	Surrender Type
	Low risk surrender

	Site Condition Report document reference, date and version number
	2025 04 22 QB3093HE Compliance report CAR_NRW0048203-SWWP Ltd- Alexandra Docks 


	1.0 Site details (Source)


	Has the applicant provided the following information as required by the application SCR template?

Site plans showing site layout, drainage, surfacing, receptors, sources of emissions/releases and monitoring points
	Applicant has provided as part of surrender application: BK01 - Drainage Plan BK03 - Site Location & Boundary Plan BK05 - Surrounding Area Premises Use.


	2.0 Condition of the land at permit issue (Receptor)



	Has the applicant provided the following information as required by the application SCR template?

a) Environmental setting including geology, hydrogeology and surface waters

b) Pollution history including:

· pollution incidents that may have affected land

· historical land-uses and associated contaminants

· visual/olfactory evidence of existing contamination

· evidence of damage to existing pollution prevention measures

c) Evidence of historic contamination (i.e. historical site investigation, assessment, remediation and verification reports (where available)

d) Has the applicant chosen to collect baseline reference data?
	Information provided as part of surrender application: 

a. Site geology is made ground, with a low risk of surface water flooding and is not within a GPZ or SSSI.

b. No known incidents on site. 

c. N/A 

d. N/A


	3.0 Permitted activities (Source)



	Has the applicant provided the following information as required by the application SCR template?

a) Permitted activities

b) Non-permitted activities undertaken at the site
	a. Waste transfer station for healthcare and hygiene related wastes. 

b. None


	3.0(a) Environmental Risk Assessment (Source)



	The environmental risk assessment should identify elements that could impact on land and waters, cross- referenced back to documents and plans provided as part of the wider permit application.
	Applicant provided: “BK06 Group Environmental Risk Assessment” as part of surrender application. Not required as not a new application.


	3.0(b) Will the pollution prevention measures protect land and groundwater? (Conceptual model)



	Are the activities likely to result in pollution of land? 


	no

	For dangerous and/or hazardous substances only, are the pollution prevention measures for the relevant activities to a standard that is likely to prevent pollution of land?

	n/a


	4.0 Changes to the activities (Source)


	Have there been any changes to the following during the operation of the site?

a) Activity boundaries

b) Permitted activities

c) “Dangerous substances” used or produced
	A) No

B) Yes- permit was varied in 2014 to include RDF storage and increased through put to 140,000.
Varied in 2015 to treat waste wood for recovery prior to transport. 
Varied in 2019 to include waste codes 19 12 02 and 19 12 03 and increase through put to 150,000 tons. 
permit was also consolidated.
Varied in 2019 to add waste code 19 05 01. 
Permit was varied in 2024 to increase annual through put 


C) No 



	5.0 Measures taken to protect land (Pathway)



	Has the applicant provided evidence from records collated during the lifetime of the permit, to show that the pollution prevention measures have worked?
	No, site was cleared prior to final site visit, no evidence of any pollution issues at the site. 


	6.0 Pollution incidents that may have impacted on land and their remediation (Sources)


	Has the applicant provided evidence to show that any pollution incidents which have taken place during the life of the permit, and which may have impacted on land or water have been investigated and remediated (where necessary)?


	n/a


	7.0 Soil gas and water quality monitoring 


	Where soil gas and/or water quality monitoring has been undertaken, does this demonstrate that there has been no change in the condition of the land? Has any change that has occurred been investigated and remediated?
	N/a Low risk surrender


	8.0 Decommissioning and removal of pollution risk



	Has the applicant demonstrated that decommissioning works have been undertaken and that all pollution risks associated with the site have been removed? Has any contamination of land that has occurred during these activities been investigated and remediated?
	Site has been cleared and all activity have ceased prior to final site visit and CAR form. Evidence provided shows site is empty. 


	9.0 Reference data and remediation


	Has the applicant provided details of any surrender reference data that they have collected and any remediation that they have undertaken?

If the surrender reference data shows that the condition of the land has changed as a result of the permitted activities, the applicant will need to undertake remediation to return the condition of the land back to that at permit issue. You should not require remediation of historic contamination or contamination arising from non-permitted activities as part of the permit surrender.
	n/a 


	10.0 Statement of site condition 



	Has the applicant provided a statement, backed up with evidence, confirming that the permitted activities have ceased, decommissioning works are complete, and that pollution risk has been removed and that the land and waters at the site are in a satisfactory state? 
	Applicant has provided an array of documents showing the equipment which was used to empty the septic tank, and clean the site. Final site visit showed that all operations had ceased as of 22/04/2025. Waste Regulation Officer Greg Gardner confirmed they were satisfied that the application was suitable for allow risk surrender. 


	Surrender SCR decision summary



	Option 1:

Sufficient information has been supplied to show that pollution risk has been removed and that the site is in a satisfactory state – accept the application to surrender the permit.



	Date and name of reviewer: Ethan Banfield 11/09/25





1
1

