| Summary |  |
| --- | --- |
| Application Details |  |
| Permit Number | CM0001201 |
| Application Reference | PAN-028747 |
| Submission Batch | AMP7 UMON 3/4 - Batch 9 (21/03/2025) |
| NEP Driver | Installation of MCERTS flow monitoring meters as close to the storm flow separations |
| Unique NEP ID |  |
| Operator Name | Dŵr Cymru Cyfyngedig |
| Site/Asset Name | Llanarmon-yn-Ial Wastewater Treatment Works |
| Environment Team | Denbighshire |
| Area | North East |
| Local Authority | Denbighshire County Concil |
| Allocated permitting officer | Oluwasegun Tinubu |

| Dates |  |
| --- | --- |
| Arrived to Permit Delivery Team | 21/03/2025 |
| Payment / added to AMP tracker | 21/03/2025 |
| Arrived with Permit Officer | 28/07/2025 |
| Duly Made Decision | 28/07/2025 |
| RFI Sent | 31/03/2025 |

| Administrative Checks |  |  |  |
| --- | --- | --- | --- |
| Correct submission spreadsheet used |  |  | YES |
| Correct variation type and fee |  |  | YES |
| Variation type: | Normal | Fee: | £ 862.00 |
| Basic details (site name, address) correct |  |  | YES |
| Declaration / Authorisation letter provided |  |  | YES |

| Basic Technical Checks |  |
| --- | --- |
| Correct permit number supplied | YES |
| Relevant NGRs provided and correct | YES |
| Information provided matches previous permit (e.g. screen size, weir setting, DWF) | YES |
| Site plan provided and correct (label names) | YES |
| PSKPM provided (if applicable) | YES |
| Receiving waters correct? | YES |

| Other/Driver specific (delete rows as necessary) |  |
| --- | --- |
| UMON 3/4 |  |
| FPF (UMON 4) | YES |