# Compliance Assessment Report for:Photronics UK Limited

# STANDALONE MEDIUM COMBUSTION PLANT AND SPECIFIED GENERATORS

| Permit number | PAN-012754 | Operator name | Photronics UK Limited |
| --- | --- | --- | --- |

| Site name | PAN-012754 Photronics UK Limited |
| --- | --- |
| Site address | Photronics UK Ltd 1 Technology Drive, Bridgend, CF31 3LU, United Kingdom |
| Type of assessment | Check monitoring |

| Date of assessment | 04/02/2022 | Time in | 14:00 | Time out | 17:00 |
| --- | --- | --- | --- | --- | --- |

| Parts of permit assessed | Monitoring |
| --- | --- |

| NRW Lead officer | Geraint Harris | Accompanied by | --/-- |
| --- | --- | --- | --- |
| Report sent to – Name and position | Brian Jones | Date | 04/02/2022 |

# Summary of our findings (full details in section 4)

| ## Part of permitted activity assessed ## (use action criteria below) | ## Assessment result | ## Permit condition |
| --- | --- | --- |
|  | Choose an item. |  |
| G1 Monitoring and records, maintenance and reporting – Monitoring of emissions and environment | A - Assessed, no evidence of non-compliance | 3.2.1 |
| Choose an item. | Choose an item. |  |
| Choose an item. | Choose an item. |  |
| Choose an item. | Choose an item. |  |
| Choose an item. | Choose an item. |  |

Result types are explained in more detail in the ‘Important Information’ section below.

## Total number of non-compliances recorded

0

# What action is required?

| ## Criteria | ## Action needed | ## Complete by |
| --- | --- | --- |
| --/-- | None Needed | --/-- |

Action criteria codes are listed in the ‘Important information’ section below.

# What will happen next?

Any non-compliance we have identified and recorded on this form is an offence. It can result in criminal prosecutions and/or suspension or revocation of your permit.

# Details of our assessment

Photronics UK Limited PAN-012754 Photronics UK Limited were issued with a standard rules permit (SR2018 No1) on the 5th May 2021. The permit was issued to the site due to the operation of a new 1.35MW gas fired, specified Generator. This will allow the operator to operate one or more Tranche B Specified Generators which are natural gas or non-waste derived biogas fired engines, turbines or boilers which are CHPs. Individual unit capacity is between 0-5MWth and the total is ≤5MWth at the specified location which may be in rural and urban areas where background NOx and NO2 has sufficient headroom. This permit needs to be read in conjunction with the Standard Rules SR2018 No1 which also form part of the permit. The permit requires Monitoring (for NOx and CO) needs to be done every three years, from the permit issue date. The first monitoring has to be within four months of the permit issue date or the date when the combustion plant is first put into operation, whichever is later. The emission monitoring has to be done in line with the EA technical guidance M5 (available via this link M5 guidance ). Photronics will be required to submit the results to NRW (using a standard form that NRW should have supplied) and the monitoring results need to be submitted to NRW within 28 days of the monitoring. NRW received the monitoring returns from Photronics UK Ltd on the 14th June 2021.In addition to the monitoring returns NRW also received the product conformity certificate and the calibration certificate. All submissions were found to be compliant. No futher action required. End.

If you have any queries about this report, or to discuss completion of any actions, please contact the NRW Officer named above.

# Important information

## Legal status of this report

Your permit is issued to you under the Environmental Permitting Regulations. You have a responsibility to comply with the conditions of your permit and prevent pollution/harm of the environment. You must also ensure that you comply with any other relevant legislation that may apply to your site’s operations.

This report explains the findings of our assessment and any action you are required to take. We categorise non-compliance using our guidance for assessing non-compliance at regulated sites.

When we find potential non-compliance/s we will normally give you advice on how to maintain compliance.

To correct non-compliance, we may:

- require you to take specific actions

- issue a notice

- review the conditions of your permit.

Any advice and guidance we give will be without prejudice to any other enforcement response that we consider may be required.

## Assessment results and non-compliance categories (used in section 1):

| ### Assessment result | ### Description |
| --- | --- |
| Assessed (A) | Assessed or assessed in part, no evidence of non-compliance found |
| Action only (X) | Action only relating to the activity assessment |
| Ongoing (O) | Ongoing non-compliance, not scored |

| ### Non-compliance category | ### Description |
| --- | --- |
| C1 Major | Potential to have a major, serious, persistent and/or extensive impact or effect on the environment, people and/or property |
| C2 Significant | Potential to have a significant impact or effect on the environment, people and/or property |
| C3 Minor | Potential to have a minor or minimal impact or effect on the environment, people and/or property |
| C4 No environmental impact | Non-compliance at a regulated site that cannot foreseeably have any impact on the environment, people and/or property |

Full list of Industry and Waste action criteria (used in section 1 and 2):

A: Permitted activities

- A1 Specified by permit

B: Infrastructure

- B1 Infrastructure – Engineering for prevention and control of emissions

- B2 Infrastructure – Closure and decommissioning

- B3 Infrastructure – Site drainage engineering (clean and foul)

- B4 Infrastructure – Containment of stored materials

- B5 Infrastructure – Plant and equipment

C: General management

- C1 General management – Staff competency/training

- C2 General management – Management system and operating procedures

- C3 General management – Materials acceptance

- C4 General management – Storage, handling, labelling and segregation

D: Incident management

- D1 Incident management – Site security

- D2 Incident management – Accidents, emergency and incident planning

E: Emissions

- E1 Emissions – Air

- E2 Emissions – Land and groundwater

- E3 Emissions – Surface water

- E4 Emissions – Sewer

- E5 Emissions – Waste

F: Amenity

- F1 Amenity – Odour

- F2 Amenity – Noise

- F3 Amenity – Dust/fibres/particulates and litter

- F4 Amenity – Pests/birds and scavengers

- F5 Amenity – Deposits on road

G: Monitoring and records, maintenance and reporting

- G1 Monitoring and records, maintenance and reporting – Monitoring of emissions and environment

- G2 Monitoring and records, maintenance and reporting – Records of activity, site diary/journal/events

- G3 Monitoring and records, maintenance and reporting – Maintenance records

- G4 Monitoring and records, maintenance and reporting – Reporting and notification to Natural Resources Wales

H: Resources efficiency

- H1 Resource efficiency – Efficient use of raw materials

- H2 Resource efficiency – Energy efficiency

## Enforcement response

Any permit condition non-compliance is an offence and we may take legal action against you. Action we take can include prosecution, serving a notice on you and/or suspension or revocation of your permit. See our Enforcement and Sanctions Guidance for further information.

## Data protection notice

You should make sure that anyone named in this report knows that the information it contains will be processed by Natural Resources Wales to fulfil its regulatory and monitoring functions and to maintain the relevant public register(s).

We may also use and/or disclose the report in connection with:

- offering or providing you with our literature or services relating to environmental matters

- consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues

- carrying out statistical analysis, research and development on environmental issues

- providing public register information to enquirers

- investigating possible breaches of environmental law

- assessing customer service satisfaction and improving our service

- Freedom of Information Act or Environmental Information Regulations requests.

We may also pass it on to our agents or representatives to do these things on our behalf.

## Disclosure of information – this report will be available to view on-line

If you think this report contains commercially confidential information that should not be placed on our public register, you must contact your local Natural Resources Wales office within fifteen working days of receiving this report, using the contact details in the accompanying email or letter. You must give a full explanation of why it should not be added to our public register, including specifying which information is commercially confidential. We will assess your request and respond to you within 20 working days to let you know if we agree to your request.

## What do I do if I disagree with the report or have a complaint?

If you disagree with this compliance assessment report, you should contact the lead officer without delay to discuss your concerns.

If you are unable to resolve the issue with the lead officer or their line manager you should contact our Customer Contact team on 0300 065 3000 (Monday to Friday 08:00 – 18:00), or email enquiries@naturalresourceswales.gov.uk for details of how to raise your dispute further through our Complaints and Commendations procedure.

If you are dissatisfied with our response, you can contact the Public Services Ombudsman for Wales by phone on 0300 7900203 or by email at ask@ombudsman.wales

## Welsh Language Standards

We are committed to establishing Natural Resources Wales as a naturally bilingual organisation. We will provide compliance reports in your preferred language.