## Sheet4
Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Point of Discharge | Effluent Sampling | EDM Monitoring point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Minimum screen capacity flow l/s | S33 Storm tank / storage capacity | Non-standard operating techniques | Additional Comments
AN0021801 | Harbour Rd | Barry | Vale of Glamorgan | CF62 5BH | ST 10852 64346 | ST 10926 66877 | ST 10926 66877 | Severn Estuary | 820 | 6mm | 6mm x 6mm | N/A | 177m3 | None | 14 BW Spill Limit and AMP9 Improvement condition to be included (as agreed in COG Moors / Barry Catchment Workshop in March 2025)