[image: image4.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
Tarmac Trading Limited
Settlement Lagoons and Treatment System serving 

Hafod Quarry 

Abercarn

Newbridge

Caerphilly

NP11 5LH

Variation application number

PAN-027864
Consolidated permit number

AN0235601
Settlement Lagoons and Treatment System 

serving Hafod Quarry 

Consolidated permit number AN0235601
Introductory note

This introductory note does not form a part of the notice.

The following notice gives notice of the variation of environmental permits AN0235601 and AN0337201 referred to in the status logs below and the replacement of those permits with consolidated environmental permit AN0235601.

This permit variation and consolidation includes future effective date to reflect asset improvements to be undertaken by Tarmac Trading Limited. The improvements require the moving of the trade effluent and storm discharge point approximately 160 metres upstream. Also the addition of two siltbuster treatment systems one located in the ‘quarry’ attenuation pond and another at the ‘plant’ area attenuation pond. 
In addition the flow monitoring point for the Nant Hafod Fach has also moved to a new location. 
The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  It is not backdated before 6 April 2010.
	Status Log of permit A: AN0235601

	Description
	Date
	Comments

	Notification of change of registered address
	Duly made 12/09/2013
	Registered address changed

	Variation issued AN0235601/V001
	12/10/2013
	Permit issued to Lafarge Aggregates Limited

	Application AN0235601/V002
	Duly made

26/11/2015
	Application to change company name to Tarmac Trading Limited

	Variation issued AN0235601/V002
	14/12/2015
	Varied permit issued to Tarmac Trading Limited

	Application AN0235601/V003
	Duly Made 07/09/2022
	Application to change registered company address

	Variation issued AN0235601/V003
	26/10/2022
	Varied permit issued to Tarmac Trading Limited.

	Application PAN-027864 

(variation and   consolidation)
	23/12/2024
	Variation to change the discharge point and to consolidate with permit AN0337201 The discharge and sample points have been amended with a future effective date of 31/10/2026.



	Variation determined AN0235601
	30/10/2025
	Varied and consolidated permit issued in modern condition format.


	Status Log of permit B: AN0337201

	Description
	Date
	Comments


registered address

	
	Duly made 12/09/2013
	Registered address changed

	Variation issued AN0337201/V001
	21/10/2013
	Permit issued to Lafarge Aggregates Limited

	Application AN0337201/V002 
	Duly Made 27/11/2015
	Application to change company name to Tarmac Trading Limited

	Variation issued AN0337201/V002
	14/12/2015
	Varied permit issued to Tarmac Trading Limited

	Application AN0337201/V003 
	Duly made

07/09/2022
	Application to change registered company address

	Variation determined AN0337201/V003
	26/10/2022
	Varied permit issued to Tarmac Trading Limited

	Application PAN-027864

(variation and consolidation)
	Duly Made 23/12/2024
	Variation to change the discharge point and the consolidation of the storm discharge into permit AN0235601

	Variation determined AN0337201
	30/10/2025
	Varied and consolidated permit issued in modern condition format to Tarmac Trading Limited


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016
The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulations 18 and 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates environmental permits 
permit numbers 

AN0235601 

AN0337201 
issued to:

Tarmac Trading Limited (“the operator”)

whose registered office is
Ground Floor T3 Trinity Park

Bickenhill Lane

Birmingham

United Kingdom

B37 7ES
company registration number 00453791
to operate a regulated facility at
Hafod Quarry 

Abercarn 

Newbridge 

Caerphilly 

NP11 5LH
to the extent set out in the schedules.
The notice shall take effect from 30/10/2025
The number of the consolidated permit is AN0235601
	Name
	Date

	Katrin Raynor
	30/10/2025


Authorised on behalf of Natural Resources Wales

Schedule 1 – changes in the permit
Note: The conditions numbers used in this schedule refer to those in the consolidated permit.
All conditions have been varied by the consolidated permit as a result of the application made by the operator.

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 
	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

AN0235601
This is the consolidated permit referred to in the variation and consolidation notice for application PAN-027864 authorising, 
Tarmac Trading Limited (“the operator”)

whose registered office is
Ground Floor T3 Trinity Park

Bickenhill Lane

Birmingham

United Kingdom

B37 7ES

company registration number 00453791

to operate a water discharge activity at
Hafod Quarry 

Abercarn 

Newbridge 

Caerphilly 

NP11 5LH
subject to the conditions of this permit.

	Name
	Date

	Katrin Raynor
	30/10/2025


Authorised on behalf of Natural Resources Wales
Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.
1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green and the discharges shall be made at the points marked on the site plan at schedule 7 to this permit and as listed in table S3.2 (discharge points). 

2.3
Operating techniques

2.3.1
(a)
The activities shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.


(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3
Emissions and monitoring
3.1
Emissions to water

3.1.1
There shall be no point source emissions to water except from the sources and emission points listed in schedule 3.

3.1.2
The limits given in schedule 3 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.2.3
All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

3.3
Monitoring 

3.3.1
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2 and S3.3 unless otherwise agreed in writing by Natural Resources Wales.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made.
4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

4.3
Notifications
4.3.1
Natural Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or  emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 

(c) any significant adverse environmental effects.  

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:
(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:
(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a)
Natural Resources Wales shall be notified at least 14 days before making the change; and


(b)
the notification shall contain a description of the proposed change in operation. 

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 
	Table S1.1 Activities


	Activity reference
	Description of activity
	Limits of specified activity

	A1
	Discharge of trade effluent consisting of treated site drainage 
	N/A

	A2
	Discharge of trade effluent consisting of site drainage during storm conditions 
	This discharge shall only occur when the following are reached;

· The attenuation ponds across the site are fully utilised.

· The Nant Fach is flowing at a rate of greater than 0.53 m3/s at the monitoring point located at NGR ST 22209 96293.  


	Table S1.2 Operating techniques


	Activity reference
	Description of documentation
	Parts
	Date Received

	A1
	Discharge Permit varitation and H1 assessment 
	Pages 8 – 16, Appendix B, E, F, G & H
	23/12/2024

	A2
	
	
	


Schedule 2 - Waste types, raw materials and fuels

Wastes are not accepted as part of the permitted activities and there are no restrictions on raw materials or fuels under this schedule.

Schedule 3 – Emissions and monitoring
	Table S3.1a Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Activity Reference
	Discharge source and discharge point ref. & location
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1 
	Trade effluent consisting of Site drainage 
	Maximum rate of discharge
	41.7 l/s
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	
	Suspended solids (measured after drying at 105o C)
	80 mg/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum 

	
	
	pH
	6 to 9
	Instantaneous (spot sample)
	N/A
	N/A
	Minimum and maximum

	
	
	Total Aluminium as Al
	1000 ug/l
	Instantaneous (spot sample)
	N/A
	N/A
	Maximum

	
	
	Visible oil or grease
	No significant trace present
	Instantaneous (spot sample)
	N/A
	N/A
	No significant trace

	A2
	Trade effluent consisting of Site drainage via the Storm Overflow
	N/A
	N/A
	See table 
S1.1
	N/A
	Whenever discharge occurs
	N/A


	Table S3.2a Discharge points
Effective up to and including 30/10/2026 unless otherwise agreed in writing by NRW

	Activity Reference
	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water/Environment



	A1
	Trade effluent consisting of treated site drainage 
	Consent Point
	ST 21997 95988
	Nant Hafod-fach

	A2
	Storm overflow
	Consent Point
	ST 21997 95988
	Nant Hafod-fach


	Table S3.2b Discharge points
Effective from 31/10/2026 unless otherwise agreed in writing by NRW

	Activity Reference
	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water/Environment



	A1
	Trade effluent consisting of treated site drainage 
	Discharge Point for Quarry Attenuation Pond & Plant Area Attenuation Pond
	ST 22088 96127
	Nant Hafod-fach

	A2
	Trade effluent consisting of Site drainage via the Storm Overflow 
	Storm Overflow
	ST 22097 96148
	Nant Hafod-fach


	Table S3.3a Monitoring points
Effective up to and including 30/10/2026 unless otherwise agreed in writing by NRW

	Activity Reference
	Effluent(s) and discharge point(s)
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1
	Trade effluent consisting of treated site drainage  via Consent Point
	Effluent Sampling
	ST 21997 95988
	Sampling Point

	A2
	Storm Overflow via Sampling Point
	Effluent Sampling
	ST 21997 95988
	Sampling Point


	Table S3.3b Monitoring points

Effective from 31/10/2026 unless otherwise agreed in writing by NRW

	Activity Reference
	Effluent(s) and discharge point(s)
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1
	Trade effluent consisting of treated site drainage  via discharge point
	Effluent Sampling
	ST 22088 96127
	Effluent Sample Point

	A2
	Trade effluent consisting of Site drainage via the Storm Overflow
	Effluent Sampling
	ST 22097 96148
	Storm Sample Point


Schedule 4 – Reporting

There is no reporting under this schedule.

Schedule 5 - Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	AN0235601

	Name of operator
	

	Location of Facility
	Hafod Quarry, Abercarn, Newbridge  Caerphilly, NP11 5JJ

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.

“annually” means once every year.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, which are not controlled by an emission or background concentration limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.
“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.  
“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“year” means calendar year ending 31 December.

Schedule 7 - Site plan
Site Boundary

[image: image1.png]Celynen

Site Boundary

Watercourse
Nant Hafod fach

Nant Hafod fach Culvert
Proposed Discharge Point

Proposed Sampling Location





Effective up to and including 30/10/2026 unless otherwise agreed in writing by NRW
[image: image2.png]NATICHAL s AUTHORITY
WELSH REGION

CONSENT AN 023 S Lot
e

FUTHORISED

Crushed stone
stocking areg

ecoated chippings
stocking area

SAMPLING POINT

oating
plan

™~

Screening
plan

S

. Site Access ,7

“road - #

CONSENT POINT

Crushing

7/
/
/

plant

QUARRY WATER 1c PUMPED FROM

BOTTOM OF QUARRY. UNDER THE RO/
INTO 1ST  LAGOON. WHEN SUFFICENTLY
SETTLED IT IS POMPED BhCK ACKosS
THE RORD INTO THE SECOMD L AGOCA
\T THEN TRAVELS UNDERGROUND TO TH
FivaL LASOON BEFORE BEINE QISCHARGE

INTO THE LEAT

Overburden

_DRAwiwg_ 1o Rhna fo





Effective From 31/10/2026 unless otherwise agreed in writing by NRW
[image: image3.png]Storm Overflow

Efiuent Sample
Point

7

Halod fach

Hafod fach

Nant Fach Flow
Monitoring Point

Tkt

Discharge Point for
Quarry Attenuation Pond
& Plant Area Attenuation

Pond





© Crown Copyright and database right 2025. Ordnance Survey licence number 100019741.
END OF PERMIT

	Variation and consolidation application number  
PAN-027864
	Page i
-  -
- i -
- i -i
	


PAGE  
	Variation and consolidation application number

PAN-027864
	Page ii
-  -
- ii -
- ii -ii
	



