## Consent Application information
| If FE permit is to be or has already been consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities |  |  |  |  | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Current permit in modern EPR format? | Address | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | Receiving Waters Name | DWF m3/day | Overflow / weir setting l/s | Screen Size | Storm tank / storage capacity | Non-standard operating techniques? | Other Comments
CASTLE CAEREINION STW | S/01/56172/R | N/A | N/A | No | Castle Caereinion, Coppice Lane, Castle Caereinion, Welshpool, Powys, SY21 9DX | SJ 16436 05972 | N/A | N/A | N/A | N/A | SJ 16445 05955 | N/A | N/A | SJ 16417 05948 | N/A | N/A | N/A | N/A | N/A | N/A | Cyfronydd Brook | 35 | N/A | N/A | N/A | N/A | Add 3 in5 requirement.