This form covers all DCWW operations environmental pollution and MCerts Flow meter issues.

The Originator must mark either box A or B and then Email the form as detailed below for onward transmission to the EA / NRW.

| Unplanned Event |  |  | X |  | Planned Event |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| To the Smart Hub Risk team at Linea for onward transmission to EA / Natural Resources Wales |  |  |  |  |  |  |  |  |  |  |  |  |  |
| E-mail: | smarthub@dwrcymru.com |  |  |  |  | Telephone: |  |  |  | 0303 313 0103 |  |  |  |
| To Be Completed By DCWW: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Name: |  | Geraint Michael |  |  |  | Job Role: |  |  |  | Operations |  |  |  |
| Date: |  | 09/11/2019 |  |  |  | Time: |  |  |  | 13:33 |  |  |  |
| Office: |  |  |  |  |  | Phone: |  |  |  |  |  |  |  |
| Fax: |  |  |  |  |  | E mail: |  |  |  |  |  |  |  |
| Details Of Notification: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Asset Type (WwTW, Pstn, CSO, EO, service reservoir, trunk sewer, WTW, storm treatment etc) |  | SWK |  |  |  |  | Permit No: |  |  |  | AF4021601 |  |  |
| Location: |  | Weycock Cross - Off A4226 Waycock Road Adj Brynhill Golf Course Barry CF62 3AA |  |  |  |  | Grid Ref: |  |  |  | ST0912169538 |  |  |
|  |  |  |  |  |  |  | Watercourse: |  |  |  | River Weycock |  |  |
| Date of Occurrence: |  | 09/11/2019 13:33:12 |  |  |  |  | Expected Duration: |  |  |  | 12/11/2019 13:33:12 |  |  |
| M Cert Related: |  | Y/N |  |  |  |  | Photographic Evidence |  |  |  | Y/N |  |  |
| Brief Outline: |  | Aeration Number 1 failed due to Electrical Issues at site |  |  |  |  |  |  |  |  |  |  |  |
| Remedial Action: |  | The assistant aeration unit is ooperating as required and is being monitored throughout by Operational staff |  |  |  |  |  |  |  |  |  |  |  |
| Actions Taken to Reduce Future Risks: |  | Operationalstaff will monitor |  |  |  |  |  |  |  |  |  |  |  |
| Environmental Impact: |  | No environmental impact |  |  |  |  |  |  |  |  |  |  |  |
| Updates: |  | Further updates to follow |  |  |  |  |  |  |  |  |  |  |  |
| DCWW Ref: |  | 315307459 |  | Message No: |  |  |  |  | Update / Final: |  |  | Initial |  |
| Smart Hub Analyst: |  | Lisa Thorpe |  | Date: |  |  |  | 09/11/2019 | Time: |  |  | 13:50 |  |