[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA437

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig


Pentwyn Road 


Nelson


Treharris


Mid Glamorgan


CF46 6LY
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: Cwmwernderi Reservoir, Neath Port Talbot, SA13 2YR

	

	AT: NATIONAL GRID REFERENCEs SS 81465 90280 and SS 81546 90196

	

	TO: Nant Cwmwernderi

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA437

	

	This consent is issued on the 19th day of November 2025
This consent takes effect on the 28th day of February 2026
This consent shall cease to have effect on the 15th day of June 2026
Signed: Katrin Raynor


	


CONDITIONS OF CONSENT TO DISCHARGE

 RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Cwmwernderi Reservoir.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SS 81465 90280 and SS 81546 90196, marked ‘Discharge/Sample Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 14,584,320 cubic metres.

6. The total daily volume of the Discharge shall not exceed 34,560 cubic metres.

7. The rate of the Discharge shall not exceed 400 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 28th day of February 2026 and the 15th  day of June 2026.
ANNEX 1- PLAN No. NRWWIA437
[image: image1.png]IDischarge and Sample Point 1

(Draw-off system) SS 81465 90280.

[Discharge and Sample Point 2
IPump System)
SS 81546 90196.

[Approx route of
lexisting draw-off
lsystem pipework.

‘ Pump 2 location
|

o




© Crown Copyright and database right 2025. Ordnance Survey licence number 100019741.

