[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales





	Ein cyf/Our ref: PAN-007584
Ty Cambria

29 Newport Rd,  Cardiff. CF23 0TP

Ebost/Email: liz.cole@cyfoethnaturiolcymru.gov.uk
Date: 15 November 2019


	Deborah Thomas

Envireau Water

By email: deborahthomas@envireauwater.co.uk



Dear Deborah
Acknowledgement of your application for a transitional abstraction licence
Application number: PAN-007584
Applicant: Breedon Southern Limited
Site: Cwrt y Bugail
Thank you for your application for a new full abstraction licence at the above site.  
We have reviewed the supporting information submitted; based upon this we conclude the following:
1) Quarry sump contains wholly/mainly rainfall due to the slate rock being impermeable to groundwater ingress; there is no gravity connection to any other inland water.   The sump is a discrete waterbody and therefore no licence is required to abstract water from it.  To continue to abstract from the quarry sump you must be satisfied that the water is not being taken from a source of supply.
2) Agor Franc contains wholly/mainly rainfall filled via the quarry sump/surface water run-off.  It is a manmade chamber situated below ground formed from impermeable slate rock; therefore groundwater does not feed into this chamber.  No gravity connection exists between this waterbody and another inland water body.  It can therefore be classed as a discrete waterbody and no abstraction licence is needed to remove water from it. To continue to abstract from Agor Franc you must be satisfied that the water is not being taken from a source of supply. Please confirm if you wish to continue with your application to abstract from this source.  
3) Llyn Ministry is described  as an independent reservoir.  We are unsure if this waterbody is a source of supply from the information you have provided.  Please can you clarify: 

· How is this reservoir filled?  
· Are there any gravity fed outflows from this waterbody?  
· Is there any interaction between this waterbody and groundwater?  
If you are satisfied that this waterbody is considered a source of supply you should continue with your application to abstract from this waterbody.  You have provided quantities for this abstraction based upon pumping rates within the storage pond.  Do you hold any pump certificates, dated maintenance records or other information to evidence the use of the pump during the qualifying period?  If you wish your abstraction to be licensed please provide this further evidence  to support your application. Alternatively, please can you confirm if your intention is to not pursue a licence at this point.   
It is your responsibility to ensure you apply for the required licences.  You should note that it is an offence under Section 206 of the Water Resources Act 1991 to furnish any information or make a statement which is known to be false or misleading, or to recklessly make any statement which is false or misleading.  Enforcement action in line with Natural Resources Wales Enforcement and Sanctions Policy can be taken if it becomes evident that this offence has occurred.
If you have any questions, please phone the Water Resources Permitting Team on 03000 65 4240.  
Yours sincerely

Liz Cole
Water Resources Permitting Team
Natural Resources Wales

Direct phone line: 0300 065 4240
Direct email: liz.cole@naturalresourceswales.gov.uk
Tŷ Cambria   (   29 Heol Casnewydd   (   Caerdydd   (    CF24 0TP
Cambria House   (   29 Newport Road    (   Cardiff   (    CF24 0TP
Croesewir gohebiaeth yn y Gymraeg a’r Saesneg
Correspondence welcomed in Welsh and English

www.naturalresourceswales.gov.uk
www.cyfoethnaturiolcymru.gov.uk

www.naturalresourceswales.gov.uk
www.cyfoethnaturiolcymru.gov.uk


[image: image1.jpg]