## Consent Application information
| If FE permit is to be or has already been consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities |  |  |  |  | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Current permit in modern EPR format? | Address | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | Receiving Waters Name | DWF m3/day | Overflow / weir setting l/s | Screen Size | Storm tank / storage capacity | Non-standard operating techniques? | Other Comments
Welshpool STW | S/01/55969/R | S/01/55969/R | S/01/55969/R | Yes | Welshpool STW, Henfaes Lane, Welshpool, Powys, SY21 7BE | SJ 23519 07259 | SJ 23519 07259 | SJ 23519 07259 | SJ 23385 07252 | SJ 23447 07270 | SJ 23447 07270 | N/A | N/A | SJ 23402 07253 | SJ 23395 07223 | SJ 23375 07260 | SJ 23396 07226 | SJ 23371 07258 | SJ 23404 07253 | SJ 23397 07253 | River Severn | 2021 | 60.4 and 155 | 6mm x 6mm | 645 | N/A | Add UMON3 and UMON4 conditions
Berriew STW | S/01/56022/R | S/01/56022/R | N/A | Yes | Berriew WWTW, Off A483, North of Refail Berriew, Welshpool, SY21 8AQ | SJ 19138 00492 | N/A | SJ 19080 00506 | N/A | N/A | SJ 19141 00498 | N/A | N/A | SJ 19092 00534 | N/A | SJ 19110 00539 | N/A | SJ 19085 00542 | SJ 19092 00539 | SJ 19085 00542 | River Rhiw | 91.3 | 5.3 | 10mm | N/A | N/A | Add UMON3 and UMON4 conditions
Llansantffraid SPS | N/A | S/01/55049/O | N/A | Yes | Llansantffraid SPS, Lletty Lane, Llansantffraid, Welshpool, SY22 6AA | N/A | SJ 22607 20289 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SJ 22541 20250 | N/A | SJ 22541 20265 | SJ 22803 20272 | SJ 22541 20265 | River Vyrnwy | N/A | 8.28 | 10mm | 32 | N/A | Add UMON3 and UMON4 conditions
BETTWS CEDEWAIN STE | S/01/56190/R | S/01/56190/R |  | Yes | [13 empty] | SO 12484 96088 |  | SO 12496 96093 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
CAERSWS SEWAGE TREATMENT WORKS | S/01/55298/R | S/01/55298/R |  | Yes | [13 empty] | SO 03706 92672 |  | SO 03706 92672 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
GUILSFIELD STW | S/01/55544/R | S/01/55544/R |  | Yes | [13 empty] | SJ 22543 12179 |  | SJ 22543 12179 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
LLANFAIR CAEREINION (STW) | S/01/56183/R | S/01/56183/R |  | Yes | [13 empty] | SJ 10814 06949 |  | SJ 10814 06949 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
LLANRHAEADR (STW) | S/01/55508/R | S/01/55508/R |  | Yes | [13 empty] | SJ 12838 25600 |  | SJ 12840 25595 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
LLANSILIN (STW) | S/01/56023/R | S/01/56023/R |  | Yes | [13 empty] | SJ 21210 28173 |  | SJ 21230 28202 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
MEIFOD (STW) | S/01/55231/R | S/01/55231/R |  | Yes | [13 empty] | SJ 14831 13435 |  | SJ 14831 13435 | [6 empty] | Alter permit to correct UMON3 condition. No other changes
Alter permit to correct UMON3 condition. No other changes