## Sheet1
Water discharge monitoring report in accordance with Environmental Permit EPR/DB3190ZV dated 23rd February 2024 issued to Hochtief (UK) Construction Ltd
The surface water discharge from Hochtief (UK) Construction Ltd's Cilfor site drainage was sampled monthly between December 2024 to present. This report summarises the chemical analysis of the surface water samples.
Monthly Monitoring Period Begins on 1st of Month
|  | Determinand | Units | Trigger level | 2024-12-01 | 2025-01-01 | 2025-02-01 | 2025-03-01 | 2025-04-01 | 2025-05-01 | 2025-06-01 | 2025-07-01 | 2025-08-01 | 2025-09-01 | 2025-10-01 | 2025-11-01 | 2025-12-01
Environmental Permit Parameters | Parameters reported monthly | Suspended Solids at 105C | mg/l | 60 | 2 | 11 | 4 | 0 | 0 | 0 | 2 | 5 | 8 | 13 | <2 | 12
|  | pH |  | 6 - 9 | 7.3 | 7.1 | 7.5 | N/A | N/A | N/A | 7 | 7.7 | 8 | 7.5 | 7.5 | 7.5
|  | Visible Oil and Grease |  | no visible oil and grease | none observed | none observed | none observed | none observed | none observed | none observed | none observed | none observed | none observed | none observed | none observed | none observed
| Max Daily Discharge |  | m3/day | 754 | 50 | 55.5 | 15 | 0 | 0 | 0 | 210 | 203 | 435 | 313.35 | 605 | 419.74
| Total Annual Discharge to month end |  | m3 |  | 360 | 772 | 925 | 925 | 0 | 0 | 1373 | 6854 | 11839 | 14260 | 22378 | 27400
Notes.
1. Trigger Level - Permit Ref. EPR/DB3190ZV
2. On days when the discharge is made a visual check of the discharge is undertaken to confirm the absence of visible oil and grease.
3. The surface water samples were take by Hochtief (UK) Construction Ltd personnel.
4. The chemical analysis of the water samples was undertaken at the following laboratory: Chemtech Environmental, Unit 6, Greencroft Ind Park, Stanley, County Durham, DH9 7YB
5. None of the samples analysed exceeded a threshold value of 60mg/l SS prescribed by the above permit.
6. Annual monitoring period beginning on 1 April and ending on 31 March
7. Report author David Grantham, Hochtief (UK) Construction Ltd david.grantham@hochtief.co.uk, and Phoebe Redman, Hochtief (UK) Construction Ltd phoebe.redmna@hochtief.co.uk
8. December 2024. Chemtech Report 24-04823 describing water sample taken 03-12-24. Intermittent weekday discharges associated with shaft construction.
9. January 2025. Chemtech Report 25-00304 describing water sample taken 14-01-25. Intermittent weekday discharges associated with shaft construction.
10. February 2025. Chemtech Report 25-01064 describing water sample taken 03-02-25. Intermittent weekday discharges associated with shaft construction.
11. March 2025. No water was discharged to the esturary due to no works creating waste water.
12. April 2025. No water was discharged to the esturary due to no works creating waste water.
13. May 2025. No water was discharged to the esturary due to no works creating waste water.
14. June 2025. No water was discharged to the esturary due to no works creating waste water for most of June. There was no water being discharged at the time of monthly water sampling - 04/06/2025. Chemtech Report 25-07090 describes water sample taken 17/07/2025 which is believed to be indicative of the water discharged at the end of the June from intermittent weekday discharges associated with shaft construction.
15. July 2025. Chemtech Report 25-06765 describing water sample taken 08-07-25. Intermittent weekday discharges associated with shaft construction. Mechanical metre on outfall point used for metre reading this month
16. August 2025. Chemtech Report 25-07649 describing water sample taken 04-08-25. Consistent weekday discharges associated with shaft construction.
17. September 2025. Chemtech Report 25-08741 describing water sample taken 09-09-25. Consistent weekday discharges associated with shaft construction.
18. October 2025. Chemtech Report 25-09793 describing water sample taken 06-10-25. Consistent weekday discharges associated with shaft construction.
19. November 2025. Chemtech Report 25-10897 describing water sample taken 06-11-25. Consistent weekday discharges associated with shaft construction.