|  |  |  |  | Form CP63-3 revB WATER SPOT CHECK SAMPLING |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name: | Ffos-y-fran Land Reclamation Scheme |  |  |  |  |  |  |  |  |  |  |
| Permit No: | EPR/DB3131AF |  |  |  |  |  | Month: | October 2019 (samples taken 21.10.19) |  |  |  |
| Reporting of emissions to water (other than to sewer) |  |  |  |  |  |  |  |  |  |  |  |
| Consent Number |  | Suspended Solids Consent limits | pH Consent limits |  | Date of Sample | Discharge Status |  | pH result | Susp solids result |  | Weather Conditions |
| AN0264601 (WC1 Final Effluent) |  | 50 mg/l | 5-9 |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0264602 (WC1 Storm) |  | N/A | N/A |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| NPSWQD000674 (WI Final Effluent) |  | 50 mg/l | 5-9 |  | 21.10.19 | Discharging |  | 8.3 | 13 |  | Dry |
| NPSWQD002105 (WI Storm) |  | N/A | N/A |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0264501 (WB Final Effluent) |  | 50 mg/l | 5-9 |  | 21.10.19 | Discharging |  | 8.1 | 14 |  | Dry |
| AN0264502 (WB Storm) |  | N/A | N/A |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0264603 (WC Final Effluent) |  | 50 mg/l | 5-9 |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0274601 (WC Storm) |  | N/A | N/A |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0265001 (WG Final Effluent) |  | 50 mg/l | 5-9 |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0265002 (WG Storm) |  | N/A | N/A |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0264801 (WF Final Effluent) |  | 50 mg/l | 5-9 |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0264802 (WF Storm) |  | N/A | N/A |  | N/A | Not Discharging |  | N/A | N/A |  |  |
| AN0264401 (WA Final Effluent) |  | 50 mg/l | 5-9 |  | N/A | N/A |  | N/A | N/A |  |  |
| AN0264402 (WA Storm) |  | N/A | N/A |  | N/A | N/A |  | N/A | N/A |  |  |
| Notes: WA has not yet been constructed. |  |  |  |  |  |  |  |  |  |  |  |
| Name |  | S. Woolmington |  | Position: |  | Engineer |  |  |  | Date: | 14.11.19 |