Permit Number: 	AB3695CH						Operator:  Drumcastle Limited

Facility:   Nine Mile Point Waste Transfer Facility		Form Number: 	 Air1 / 09/01/2026

# Replacement date of activated carbon media DD/MM/YYYY

# Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Odour concentration | 1000 OUE/m3 | Instantaneous | (7th month) | EN 13725 |  |  |
|  |  |  |  | (9th month) |  |  |  |
|  |  |  |  | (11th month) |  |  |  |
|  | Dust | 5 mg/m3 | Periodic |  | BS EN 13284-1 |  |  |
|  | TVOC [5] | 30 mg/m3 | Periodic (average over one hour) |  | BS EN 12619 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

- The BAT-AEL and monitoring only applies when organic compounds are identified as relevant in the waste gas stream, based on the inventory required by BAT 3 of the Waste Treatment BREF Document (EU 2018), to be provided in pre-operational measure 11 by the Operator.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3695CH						Operator:  Drumcastle Limited

Facility: 	Nine Mile Point Waste Transfer Facility		Form Number: 	Water1 / 09/01/2026

# Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SW1 | Oil and grease | None visible | Periodic |  | Visual check |  | N/A |
|  |  |  |  |  |  |  | N/A |
|  |  |  |  |  |  |  | N/A |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3695CH						Operator:   Drumcastle Limited

Facility:	Nine Mile Point Waste Transfer Facility		Form Number: 	Sewer1 / 09/01/2026

# Reporting of emissions to sewer for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | To be agreed upon completion of pre-operational measure 11 and pre-operational measure 2 [5] | To be agreed upon completion of pre-operational measure 11 and pre-operational measure 2 | To be agreed upon completion of pre-operational measure 11 and pre-operational measure 2 |  | To be agreed upon completion of pre-operational measure 11 and pre-operational measure 2 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

[5]   The monitoring of parameters and limits to be set are to be agreed, if substances are identified as relevant following completion of the waste water inventory required by BAT 3 of the Waste Treatment BREF Document (EU 2018), to be provided as part response to pre-operational measure 11 by the operator.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: AB3695CH						Operator:  Drumcastle Limited

Facility:  Nine Mile Point Waste Transfer Facility		Form Number: WaterUsage1 / 09/01/2026

# Reporting of Water Usage for the year XXXX

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	AB3695CH						Operator: Drumcastle Limited

Facility:  Nine Mile Point Waste Transfer Facility		Form Number:  Energy1 / 09/01/2026

# Reporting of Energy Usage for the year XXXX

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	AB3695CH						Operator:  Drumcastle Limited

Facility:	Nine Mile Point Waste Transfer Facility		Form Number:  Performance1 / 09/01/2026

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Result | Units |  |
| --- | --- | --- | --- | --- |
| Total raw material used |  |  | tonnes |  |
| Generation of residues |  |  | tonnes |  |
| Generation of waste water |  |  | m3 |  |
| Solid recovered fuel produced |  |  | tonnes |  |
| Refuse derived fuel produced |  |  | tonnes |  |
| Total amount of waste treated |  |  | tonnes |  |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)