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LICENCE TO IMPOUND WATER
The Natural Resources Body for Wales (hereafter referred to as “NRW”) grants this licence to:-
Ty’n Yn Onnen Farm LLP (“the Licence Holder”)

Suite 11

33 - 34 Gleaming Wood Drive

Chatham

England

ME5 8RZ 

Company Registration Number: OC364282

This licence authorises the Licence Holder to obstruct or impede the flow of the inland water described in the Schedule of Conditions (to extent and manner authorised by those conditions) to this licence and subject to the provisions of that Schedule. 
The licence commences from the effective date shown below and shall remain in force until revoked, subject to Condition 4.6.
	Signed:
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Ashley Lansdown

Permitting Team Leader
Permitting Service 
Natural Resources Wales

Cambria House

29 Newport Road

Cardiff 

CF24 0TP

	Date of issue……………………12/02/2019


	
	Date effective…………………...12/02/2019

	
	


This licence should be kept safe and its existence disclosed on any sale of the land and the impounding works to which it relates

SCHEDULE OF CONDITIONS 
	1.
1.1
	
	NAME OF INLAND WATER TO BE IMPOUNDED 

Inland water (stream) known as Nant Y Betws near Ty’n Yn Onnen Farm, Waunfawr, Gwynedd



	2.
2.1
	
	Point of Impoundment
At National Grid Reference SH 53950 59204 marked ‘Point A’ on the map.



	3.
3.1
	
	MANNER AND EXTENT OF IMPOUNDMENT

Intake works consisting of works consisting of a new concrete weir with stop log boards, stainless steel intake box, perforated screen with spacing no greater than 3 millimetres, a HoF notch, rocky ramp fish pass, plunge pool, and 280 millimetre external diameter gravity feed penstock pipe controlled by spear valve:
Nant Y Betws Intake Overall Dimensions, dated April 2017,
GA/Dimensions and Fish Pass Details A0.1 dated January 2019 and 
GA/Dimensions and Fish Pass Details A0.2 dated January 2019,
copies of which are appended to this licence, or such minor amendments to those documents that are accepted in writing by NRW prior to the date of commencement of construction.


	4.
4.1
	
	FURTHER CONDITIONS

For the purpose of this licence, references to ‘intake works’ shall mean all works consisting of new concrete weir with stop log boards, stainless steel intake box, perforated screen with spacing no greater than 3 millimetres, a HoF notch, rocky ramp fish pass, plunge pool, and 280 millimetre external diameter gravity feed penstock pipe controlled by spear valve.


	4.2
	
	The Licence Holder shall ensure that during construction works, any subsequent maintenance works to the intake works, and when abstraction for the purpose of power production is not taking place, the flow in the Nant Y Betws is allowed to pass downstream unchanged in quantity and quality at all times.



	4.3
	
	Prior to commencement of the works authorised by this licence, the Licence Holder shall give 28 calendar days notice in writing to NRW of their intention to commence the authorised works.


	4.4
	
	The Licence Holder shall confirm to NRW in writing that the intake works have been constructed in accordance with the submitted specifications and drawings referred to in Condition 3.1 of this licence 28 calendar days before the scheme is commissioned or becomes operational.



	4.5
	
	The Licence Holder shall construct, operate and maintain the intake works in accordance with the specifications and drawings referred to in Condition 3.1 of this licence and keep them free from leakage and obstruction at all times.


	4.6
	
	This licence shall cease to be of any effect if the intake works authorised by it have not commenced within 3 years of the licence issue date.


	4.7
	
	The intake works authorised by this licence shall not be carried out in the watercourse between 17 October and 15 May in any year.


	4.8
	
	Prior to the completion of the works authorised by this licence, the Licence Holder shall construct a plunge pool, with a minimum depth of 300 millimetres, across the width of the watercourse immediately downstream of the intake works specified in condition 3.1 to ensure the safe downstream passage of fish.




ADDITIONAL INFORMATION
Note: the following information is provided for information only.  It does not form part of the licence.
REASONS FOR CONDITIONS
Conditions 4.1, 4.3, 4.4 and 4.5: to ensure the intake works are constructed, operated and maintained in accordance with the drawing and specifications agreed by NRW during the determination of this licence.
Conditions 4.2 and 4.5: to ensure a flow is maintained in the watercourse in order to i) maintain the riverine habitat for the conservation of the flora and fauna of the watercourse and ii) to ensure that the water environment is not impacted during construction and subsequent maintenance.
Condition 4.3: to start NRW’s compliance process.

Condition 4.6: to secure the proper use of water resources and to avoid commitment of water resources to an abstraction right that cannot be exercised.

Condition 4.7: to avoid damage to fish during vulnerable life stages such as spawning, migration, emergence and early maturation.
Condition 4.8: to avoid damage to downstream migrating fish.
IMPORTANT NOTES
This impoundment licence facilitates the abstraction of water for a hydropower scheme 

authorised under licence serial number WA/065/0015/0010. 
For the purposes of Conditions 3.1, 4.3 and 4.4, the Licence Holder shall contact:
Senior Environmental Planning Officer

Maes y Ffynnon
Penrhosgarnedd
Bangor
Gwynedd
LL57 2DW

Tel: 0300 065 3000

Email: nrp.northmid@cyfoethnaturiolcymru.gov.uk
Licence history 
	Licence Serial  Number
	Issue and Effective Date
	Summary of Changes

	WA/065/0015/0011
	02/12/2019
	NA

	WA/065/0015/0011
	12/02/2019
	Issue and effective date changed to correct administrative error 
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Would you like to find out more about us, or about your environment?





Then call us on


 0300 065 3000 (Mon-Fri 9-5)





email


� HYPERLINK "mailto:enquiries@naturalresourceswales.gov.uk" �enquiries@naturalresourceswales.gov.uk�





or visit our website


� HYPERLINK "http://www.naturalresourceswales.gov.uk" �www.naturalresourceswales.gov.uk�








incident hotline 0300 065 3000 (24hrs)


floodline 0345 988 1188

















�








Note: References to "the map" are to the map which forms part of this licence.
References to “NRW” are to the Natural Resources Body for Wales or any successor body.
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Environment Act 1995

Water Resources Act 1991 as amended by the Water Act 2003

Water Resources (Abstraction and Impounding) Regulations 2006
Article 3 of the Natural Resources Body for Wales (Establishment) Order 2012

The Natural Resources Body for Wales (Functions) Order 2013

