Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	 Air1 / 08/07/21

# Reporting of emissions to air for the period from: 01/01/2025 – 31/12/2025

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Hydrogen Sulphide | - | - | Nil (Not in use) | No Standard | NA |  |
| A1 | Ammonia | 2.0 mg/Nm3 | - | Nil (Not in use) | No Standard | NA |  |
| A1 | Odour | 1000 OUE/Nm3 | - | Nil (Not in use) | BS EN 13725 | NA |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed D Parsons	                                                                                                     Date	16/01/2026

(Authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	Water1 / 08/07/21

# Reporting of emissions to water (other than to sewer) and land for the period from: 01/01/2025 – 31/12/2025

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| The watercourse adjacent to the site which flows south before joining the Afon-y-Bantwen | Oil and grease | None visible | Weekly or as agreed in writing with Natural Resources Wales | None visible | Visual Check | Checked Weekly | - |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed D Parsons	                                                                                                     Date	16/01/2026

(Authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	WaterUsage1 / 08/07/21

# Reporting of Water Usage for the year for the period: 01/01/2025 – 31/12/2025

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water | 167 m3/year | 0.0142 m3/t of waste transferred |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments : Mains water is used for washing vehicles and washing down floors/walls within the food transfer area 167 m3/year Mains Water only used by Food Transfer Station, that handled 11731 tonnes of Food Waste in 2025. The ‘Specific Water usage’ is based on this output, i.e. Total Water divided by the Tonnes of Food Waste transferred

Signed D Parsons	                                                                                                     Date	16/01/2026

(authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Energy1 / 08/07/21

# Reporting of Energy Usage for the year for the period: 01/01/2025 – 31/12/2025

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | 2,814 KWh x 2.4 | 6.75 KWh for the year | 0.00042 MWh/ t waste recovered |  |
| Natural Gas | Nil MWh |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments : The electrical power used is principally for lighting and a pressure washer. The Conversion factor x 2.4 has been applied. Outputs are Food Waste Transferred, and CA Site waste recovered and sent for recycling. Data from waste returns for the year = 15378 tonnes. Specific energy use (all electrical) is based on this value.

Signed D Parsons	                                                                                                     Date	16/01/2026

(Authorised to sign as representative of Operator)

Permit Number: 	EP3698FL								Operator: 		CWM Environmental Limited

Facility:		Nantycaws HCI Waste Transfer & Treatment Facility		Form Number: 	Performance1 / 08/07/21

# Reporting of other performance indicators for the period: 01/01/2025 – 31/12/2025

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Total raw material used (Compost bags and shrink wrap for pallets) |  | 2.3 tonnes |  |
| Generation of residues (solid waste generated by the waste treatment activity) |  | 15378 tonnes |  |
| Generation of waste water |  | 2178 (802) tonnes |  |
| Total amount of waste treated |  | 43769 tonnes |  |
| Total amount of compost produced |  | 11,877 tonnes of compost produced |  |

Operator’s comments : Raw Materials comprises Compost Bags and wrapping: Bags as 3 pallets, @ 0.5t per pallet = 1.5 tonnes; wrap as 4 pallets @ 200kg/ pallet = 800kg Generation of Waste Water is sum of effluent sent off site to treatment = 2718 (802) tonnes Total amount of waste treated is the overall input waste total 43,769 t, comprising the Food Waste, Civic Amenity site waste and the Green Waste inputs Compost produced in various forms and grades totals 11,500 tonnes (PAS100 QMS)

Signed D Parsons	                                                                                                     Date	16/01/2026

(Authorised to sign as representative of Operator)