## Variation Information
| If FE permit is to be or has already been consolidated with storm | If consolidating - settled or, if no storm tanks, unsettled | If consolidating - only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable | If applicable |  | UMON3 If applicable | UMON4 | UMON3 If applicable
Site/Asset Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Unique NEP ID | Is current permit in modern EPR format? | Address | Final Effluent Discharge Point (NGR) | Settled Storm Discharge Point (NGR) | Storm Discharge Point (NGR) | Emergency Discharge Point (NGR) | UWWTR Inlet Sample Point (NGR) | UWWTR Sample Point (NGR) | Final Effluent Sample Point (NGR) | UV Monitoring Point (Pre-treatment) (NGR) | UV Monitoring Point (Post-treatment) (NGR) | MCERTS Flow Monitoring Point (NGR) | Settled Storm Sample Point (NGR) | Storm Sample Point (NGR) | Emergency Sample Point (NGR) | Settled Storm to Environment EDM Monitoring Point (NGR) | Storm to Environment EDM Monitoring Point (NGR) | MCERTS FPF Monitoring Point (NGR) | EDM to Storm Tank Monitoring Point (NGR) | Receiving Waters (Name) | DWF (m3/day) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | MCERTS Certificate Ref / Certification Date | Any other comments or changes worth noting?
Llangybi Usk | AB0046601 | N/A | N/A | DCWW100278a | Y | Behind Vine Tree Cottage, Llangybi, Gwent, NP15 1NP | ST 38477 96090 | N/A | ST 38477 96090 | N/A | N/A | N/A | ST 37679 96603 | N/A | N/A | ST 37682 96589 | N/A | ST 37684 96585 | N/A | N/A | ST 37663 96583 | ST 37673 96581 | N/A | River Usk | 204 m3/day | 5.3 | 6 mm x 6 mm | N/A | All flows pass through the primary settlement tanks. Flows over 5.3 l/s bypass the secondary treatment, recombining with the treated effluent, before being pumped to the discharge outfall | CSA EDM334 12/09/2024
Pontneddfechan WwTW | BA2014001 | N/A | N/A | DCWW100344a | Y | Off Mellte Avenue, Pontneddfechan, Neath, SA11 5NX | SN 90332 07478 | N/A | SN 90352 07504 | N/A | N/A | N/A | SN 90332 07482 | N/A | N/A | SN 90314 07508 | N/A | SN 90326 07521 | N/A | N/A | SN 90326 07527 | SN 90326 07525 | N/A | Afon Mellte | 77 m3/day | 3.88 | 6 mm x 6 mm | N/A | No | CSA EDM389 19/11/2024
Clarbeston Rd No 1 | BG0014501 | N/A | N/A | DCWW100165a | Y | Track off Market Place, Clarbeston Road, Pembrokeshire, SA63 4UN | SN 01096 20967 | N/A | SN 01130 20982 | N/A | N/A | N/A | SN 01124 20973 | N/A | N/A | SN 01137 20962 | N/A | SN 01142 20973 | N/A | N/A | SN 01130 20961 | SN 01137 20962 | N/A | Cartlett Brook | 84 m3/day | 7.4 | 6 mm x 6 mm | N/A | No | CSA EDM457 18/12/2024
Cosheston WwTW | BG0046401 | N/A | N/A | DCWW100170a | Y | West Lane, Cosheston, Pembrokeshire, SA72 4UJ | SN 00149 03414 | N/A | SN 00149 03414 | N/A | N/A | N/A | SN 00143 03475 | N/A | N/A | SN 00152 03502 | N/A | SN 00146 03495 | N/A | N/A | SN 00152 03502 | SN 00152 03502 | N/A | Cosheston Pill | 129.8 m3/day | 4.5 | 10mm | N/A | No | CSA EDM505 29/01/2025
Hook WwTW | BN0000402 | N/A | N/A | DCWW100232a | Y | Pill Road, Hook, Haverfordwest, SA62 4LU | SM 98863 11054 | N/A | SM 98483 11030 | N/A | SM 98448 11026 | SM 98480 10990 | SM 98480 10990 | N/A | N/A | SM 98450 11050 | N/A | SM 98468 11068 | N/A | N/A | SM 98439 11036 | SM 98450 11050 | N/A | Final Effluent Discharge Point - Sprinkle Pill, Daucleddau Storm Discharge Point Nash Lake | 1087 m3/day | 58.1 | 6 mm x 6 mm | N/A | No | CSA EDM456 18/12/2024
Llanpumpsaint WwTW | BN0049101 | N/A | N/A | DCWW100284a | Y | Next to Thornton House, Llanpumpsaint, Carmarthenshire, SA33 6BS | SN 41542 29129 | N/A | SN 41590 29158 | N/A | N/A | N/A | SN 41573 29145 | N/A | N/A | SN 41607 29125 | N/A | SN 41589 29125 | N/A | N/A | Storm to Environment EDM Monitoring Point 1 SN 41614 29122 Storm to Environment EDM Monitoring Point 2 SN 41597 29114 | SN 41607 29125 | N/A | Afon Gwili | 317 m3/day | 17.42 | 6 mm x 6 mm | N/A | No | CSA EDM512 30/01/2025
Llanfynydd WwTW | BN0077601 | N/A | N/A | DCWW100086a | Y | Road past ‘Llys y Nant’, Llanfynydd. Carmarthen, SA32 7TG | SN 55660 27107 | N/A | SN 55660 27107 | N/A | N/A | N/A | SN 55669 27129 | N/A | N/A | SN 55669 27129 | N/A | SN 55682 27145 | N/A | N/A | SN 55688 27144 Monitoring Point 1 SN 55680 27145 Monitoring Point 2 | SN 55682 27145 | N/A | Afon Sannan | 68m3/day | 3.91 | N/A | N/A | No | CSA EDM490 15/01/2025
Llanedi Wastewater Treatment Works | BP0072801 | N/A | N/A | DCWW100084a | Y | Track opposite ‘Penygraig’, Ebeneezer Road (B4297), Llanedi, Carmarthenshire, SA4 0FB | SN 57875 07839 | N/A | SN 57875 07839 | N/A | N/A | N/A | SN 58107 07830 | N/A | N/A | SN 58120 07880 | N/A | SN 58187 07885 | N/A | N/A | SN 58194 07889 | SN 58189 07897 | N/A | Afon Gwili | 72 m3/day | 3.4 | 6 mm x 6 mm | N/A | No | CSA EDM563 11/03/2025
Bronwydd Wastewater Treatment Works | BP0211901 | N/A | N/A | DCWW100139a | Y | Adjacent to Train Track, Road off B4301, Bronwydd Arms, Carmarthenshire, SA33 6HX | SN 41820 23700 | SN 41819 23672 | N/A | N/A | N/A | N/A | SN 41810 23703 | N/A | N/A | SN 41815 23712 | SN 41808 23714 | N/A | N/A | SN 41808 23714 | N/A | N/A | N/A | Afon Gwili | 92 m3/day | 12 | 6mm x 6mm | 50 (online) | No | CSA EDM493 15/01/2025
Cerrigydrudion Wastewater Treatment Works | CM0052101 | N/A | N/A | DCWW101850a | Y | Cerrigydrudion Wastewater Treatment Works, Off A5, Cerrigydrudion, Corwen, LL21 9SY | SH 95258 48277 | N/A | SH 95258 48277 | N/A | N/A | N/A | SH 95269 48326 | N/A | N/A | SH 95270 48328 | N/A | SH 95271 48336 | N/A | N/A | SH 95258 48278 | SH 95276 48361 | N/A | Afon Nug | 111 m3/day | 7 | 6 mm x 6 mm | N/A | No | CSA EDM558 26/02/2025