| Summary |  |
| --- | --- |
| Application Details |  |
| Permit Number | CG0359101 |
| Application Reference | PAN-030955 |
| Submission Batch | AMP7 UMON 3/4 (18/11/2025) |
| NEP Driver | Installation of MCERTS monitoring |
| Unique NEP ID | N/A |
| Operator Name | Dŵr Cymru Cyfyngedig |
| Site/Asset Name | Penrhyndeudraeth CSO |
| Environment Team | Dwyfor ac Meirionnydd |
| Area | North West |
| Local Authority | Gwynedd |
| Allocated permitting officer | Olu |

| Dates |  |
| --- | --- |
| Arrived to Permit Delivery Team | 18/11/2025 |
| Payment / added to AMP tracker | 18/11/2025 |
| Arrived with Permit Officer | 18/11/2025 |
| Duly Made Decision | 08/12/2025 |
| Duly Made Notification Sent | 09/12/2025 |
| RFI Sent | 24/11/2025 |

| Administrative Checks |  |  |  |
| --- | --- | --- | --- |
| Correct submission spreadsheet used |  |  | YES |
| Correct variation type and fee |  |  | YES |
| Variation type: | Normal | Fee: | £888 |
| Basic details (site name, address) correct |  |  | YES |
| Declaration / Authorisation letter provided |  |  | YES |

| Basic Technical Checks |  |
| --- | --- |
| Correct permit number supplied | YES |
| Relevant NGRs provided and correct | YES |
| Information provided matches previous permit (e.g. screen size, weir setting, DWF) | YES |
| Site plan provided and correct (label names) | YES |
| PSKPM provided (if applicable) | N/A |
| Receiving waters correct? | YES |

| Other/Driver specific (delete rows as necessary) |  |
| --- | --- |
| UMON 3/4 |  |
| FPF (UMON 4) and EDM to storm tank (UMON3) NGRs provided | YES |

| Only complete the following if the variation is Not Duly Made |  |
| --- | --- |
| Date of Not Duly Made decision | 24/11/2025 |
| Reason for Not Duly Made decision | Discharge point seems of and needs to be re-confirmed by the applicant. |
| Deadline for RFI response | 08/12/2025 |