This document gives the reasons why application PAN-030893 has been returned. Should you choose to re-apply, then all points within this document should be addressed.

Application form

- Treatment capacity: On the application form the Non-hazardous waste treatment capacity is missing. Only the storage and annual throughput amounts have been given.

- Point source emissions to water (not sewers)/ waste operation that could involve releasing any substance into water: In response to these questions you have stated that there are no discharges from site, however documents Victorian Sliders Env Permit Application document 0.3 251102 and VS Site Activity Layout do show a discharge from site. Please note there is an assessment fee for Discharges to water.

Environment Management System

Information on the level of detail we require for Management Systems is included on our website: Natural Resources Wales / Bespoke waste permit applications: information about your waste activities namely “You must send a summary with your application. It must include enough information to allow us to assess whether your full system does meet the standards set out in our guidance.”

- Documents Victorian Sliders Env Permit Application document 0.3 251102 and VSED 001 ISO14001 Management System Manual have been reviewed against our guidance- How to Comply with Your Environmental Permit.

These documents do not meet the requirements of the guidance.

See section What you need in your management system on pages 21-26 for what should be included. Please ensure all sections are completed.

- Some of the required information may be given in the policies and procedures as referenced in Section 5.1 of Victorian Sliders Env Permit Application document 0.3 251102. These should be provided to support the application.

Site Specific Risk Assessment

We note that the generic risk assessment for SR2024 No.3 has been used and that additional information has been provided for external storage, Granulation and Pulverisation.

The guidance for Risk assessments for bespoke permits states that “you only need to do a risk assessment for the activities or risks that are not covered by the generic risk assessment for those standard rules”. The additional activities have been included, not all of the risk have been included as the risk assessments provided do not include any site specific environmental or human risk assessments required for a bespoke application.

- The following areas of risk need to be reviewed:

- discharges to surface or groundwater- as the site has discharge that has an "Assumed outfall into Fferrws Brook”.

- Accidents e.g. flooding, fire, electric shock etc- no policies or relevant management plans have been provided (see more below)

- Noise and Vibration- A Noise Impact Assessment and Noise Management Plan may be required as a potentially noisy activity is occurring outside, and the residential receptor boundary is closer than VS Site Activity Layout states- it is a shared boundary and not 50 meters away.

- Fire- a Fire Prevention and Mitigation Plan is required as the promised wastes are combustible, but one has not been provided.

- Flooding and flood plains- The generic risk assessment states that sections relating to flooding will be included in the EMS, but no section or information on this given in the EMS.

- The following receptors need to be include din the risk assessment:

- There are 7 SSSIs within 2km of the site; information on these can be found at Natural Resources Wales / Find protected areas of land and sea:

- Caeau Capel Hendre (nearest at approximately 609m)

- Broad Oak and Thornhill Meadows

- Caeau Blaenau-mawr

- Felin Fach Meadows, Cwmgwili

- Caeau Lotwen

- Cae Gwynfryn

- Caeau Ffos Fach

- There are 6 areas of ancient woodlands within 1km of the site- 4x Ancient Semi Natural Woodland and 2x Restored Ancient Woodland Site. The nearest is 338 m from site. Information on this can be found at Ancient Woodland Inventory 2021 | DataMapWales

- The site is at Low, Medium and High Flood Risk from Surface Water & Small Watercourses. Information on this can be found at Natural Resources Wales / Check your flood risk on a map (Flood Risk Assessment Wales Map)

- There are protected species and habitats within 1km of the site. Information on these can be found at Environment (Wales) Act Section 7 Terrestrial Habitats of Principal Importance | DataMapWales and NBN Atlas Wales

- The site is on a Secondary (undifferentiated) Superficial Aquifer and a Designation (Bedrock)- Secondary A Bedrock Aquifer. The application states that the external areas of the site has “concrete hardstanding” however we consider hardstanding to be a permeable surface, therefore groundwater may be at risk.

- surface water courses- Nant Arw to the north and Fferrws Brook to the south. There may be a discharge to Fferrws Brook.

- local residents- there are residential properties to the north with a shared boundary and to south east approx. 285m away.

Noise Impact Assessment (NIA) and Noise Management Plan (NMP)

- We do not agree with the application forms justification for not supplying a NIA or NMP for the following reasons:

- it does not include the external storage of waste (nor does section 4.4 of Victorian Sliders Env Permit Application document 0.3 251102)

- as residential receptors are close to the external waste storage area,

- the application does not include information on the sites operational times.

A NIA and NMP are required in line with the following guidance:

- Noise and vibration management: environmental permits - GOV.UK (www.gov.uk)

- Method implementation document (MID) for BS 4142 - GOV.UK (www.gov.uk)

- Noise impact assessments involving calculations or modelling

Fire Prevention and Mitigation Plan (FPMP)

- Plastic waste (including uPVC) is considered to have the potential to be combustible, therefore a FPMP written in line with guidance Natural Resources Wales / Fire prevention and mitigation plans is required.

Fee

- For this application only the base application fee has been paid, as explained above the following component assessment fees may also be required. Please see our charging pages for the current charging fees (please note that these may increase in April 2026):

- New Application

- Assessment / documentation of other protected sites

- Site of Special Scientific Interest (SSSI) assessment

- Noise impact assessment and noise management plan

- Fire prevention and mitigation plan (FPMP)

- Discharge to water