## Variation Information
| If FE permit is to be or has already been consolidated with storm | If consolidating - settled or, if no storm tanks, unsettled | If consolidating - only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable | If applicable |  | UMON3 If applicable | UMON4 | UMON3 If applicable
Site/Asset Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Unique NEP ID | Is current permit in modern EPR format? | Address | Final Effluent Discharge Point (NGR) | Settled Storm Discharge Point (NGR) | Storm Discharge Point (NGR) | Emergency Discharge Point (NGR) | UWWTR Inlet Sample Point (NGR) | UWWTR Sample Point (NGR) | Final Effluent Sample Point (NGR) | UV Monitoring Point (Pre-treatment) (NGR) | UV Monitoring Point (Post-treatment) (NGR) | MCERTS Flow Monitoring Point (NGR) | Settled Storm Sample Point (NGR) | Storm Sample Point (NGR) | Emergency Sample Point (NGR) | Settled Storm to Environment EDM Monitoring Point (NGR) | Storm to Environment EDM Monitoring Point (NGR) | MCERTS FPF Monitoring Point (NGR) | EDM to Storm Tank Monitoring Point (NGR) | Receiving Waters (Name) | DWF (m3/day) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | MCERTS Certificate or Inspection Report Ref / Date | Any other comments or changes worth noting?
Beulah WwTW Inlet SP | BN0015801 |  |  | DCWW101783a | Y | Track off Heol y Mynydd, Beulah, Ceredigion, SA38 9QF | SN 29252 46226 |  | SN 29252 46226 |  |  |  | SN 29252 46232 |  |  | SN 29227 46277 |  | SN 29236 46277 |  |  | SN 29218 46291 | SN 29227 46277 |  | Nant Medini | 109 | 6.2 | 10mm |  |  | CFS / 18859 07/08/2025
Bontddu Wastewater Treatment Works | CG0139001 |  |  | DCWW100134a | Y | Off A496, Bontddu, Dolgellau, LL40 2UD | SH 67060 18590 |  | SH 67067 18614 | SH 67067 18614 |  |  | SH 67114 18599 |  |  | SH 67114 18599 |  | SH 67070 18649 | SH 67070 18649 |  | SH 67083 18629 | SH 67114 18599 |  | Afon Cwm-llechen | 85.6 | 3.1 | 10mm |  |  | CFS / 18531 08/07/2025
Carway Wastewater Treatment Works | BC0017801 |  |  | DCWW100073a | Y | Track past ‘Gorwel’, Off B4317, Carway, Carmarthenshire, SA17 4HE | SN 45962 06988 |  | SN 45962 06988 |  |  |  | SN 45974 06969 |  |  | SN 45980 06968 |  | SN 45992 06934 |  |  | SN 45994 06931 | SN 45999 06933 |  | Tributary of the Gwendraeth Fawr | 103.8 | 5.6 | 6mm x 6mm |  |  | CFS / 18110 28/05/2025
Keeston Wastewater Treatment Works | BP0087901 |  |  | DCWW100080a | Y | Bridge Lane, Off A487, Keeston, SA62 6ED | SM 90815 18678 |  | SM 90801 18724 |  |  |  | SM 90809 18699 |  |  | SM 90786 18726 |  | SM 90789 18723 |  |  | SM 90789 18729 | SM 90786 18726 |  | Knock Brook | 129.2 | 5.89 | 20mm |  |  | CFS / 18721 22/04/2025
Llandrillo Wastewater Treatment Works | CM0006001 |  |  | DCWW100251a | Y | Track to Ty’n-y-Ddol, Llandrillo, Corwen, Denbighshire, LL21 0SR | SJ 03415 37542 |  | SJ 03415 37542 | SJ 03500 36900 |  |  | SJ 03454 37498 |  |  | SJ 03476 37467 |  | SJ 03468 37468 | SJ 03460 37486 |  | SJ 03464 37482 | SJ 03476 37467 |  | Afon Ceidiog | 71.3 | 2.31 |  |  |  | CFS / 17906 29/04/2025
Llechryd SPS |  | BG0024901 |  |  | Y | Coedmor Lane, Llechrhyd, Ceredigion, SA43 2QA | N/A |  | SN 21347 43642 | SN 21347 43642 |  |  | N/A |  |  | N/A |  | SN 21359 43744 | SN 21359 43744 |  | SN 21358 43746 | SN 21173 43640 |  | Afon Teifi | N/A | 7.5 | 10mm |  |  | CFS / 19150 10/09/2025
Neyland Wastewater Treatment Works | BH0069602 |  |  |  | Y | Military Road (B4325), Neyland, Pembrokeshire, SA73 1QN | SM 95832 04826 |  | SM 95832 04826 |  | SM 95773 05418 | SM 95787 05330 | SM 95787 05330 |  |  | SM 95782 05330 |  | SM 95770 05417 |  |  | SM 95770 05410 | SM 95782 05330 |  | Milford Haven Waterway | 1274 | 70 | 6mm x 6mm |  |  | CFS / 18398 25/06/2025
Rowen Wastewater Treatment Works | CG0089401 |  |  |  | Y | Opposite Roewen Primary School, Rowen, Conwy, LL32 8TS | SH 76075 71747 |  | SH 76059 71798 |  |  |  | SH 76029 71771 |  |  | SH 76023 71792 |  | SH 76024 71797 |  |  | SH 76019 71798 | SH 76023 71792 |  | Afon Roe | 95.5 | 3.3 |  |  |  | CFS / 18049 20/05/2025
Sennybridge Wastewater Treatment Works | AC0140301 |  |  |  | Y | Sennybridge Army Camp, Sennybridge, Powys, LD3 8TS | SN 92509 29458 |  | SN 92504 29398 |  |  |  | SN 92472 29482 |  |  | SN 92472 29442 MCERTS Flow Monitoring Point 1 |  | SN 92460 29406 |  |  | SN 92465 29412 | SN 92472 29442 MCERTS FPF Monitoring Point 1 SN 92462 29443 MCERTS FPF Monitoring Point 2 SN 92489 29433 MCERTS FPF Monitoring Point 3 |  | River Usk | 451 | 12 | 6mm x 6mm |  |  | CSA EDM571 20/03/2025
SN 92462 29443 MCERTS Flow Monitoring Point 2
SN 92489 29433 MCERTS Flow Monitoring Point 3
Storm and Emergency Overflow at Solva Pumping Station |  | BP0111701 |  |  | Y | Solva Harbour Car Park, Off Main Street, Solva, Pembrokeshire, SA62 6UU | N/A |  | SM 80554 24286 | SM 80554 24286 |  |  | N/A |  |  | N/A |  | SM 80534 24312 | SM 80534 24312 |  | SM 80540 24313 | SM 80535 24314 |  | Tidal River Solva | N/A | 19 | 10mm |  |  | CFS / 18704 22/07/2025
Trevine Wastewater Treatment Works | BH0052401 |  |  |  | Y | Nr 42 Ffordd Y Felin, Trefin, Haverfordwest, Pembrokeshire, SA62 5AX | SM 83497 32363 |  | SM 83497 32363 |  |  |  | SM 83705 32285 |  |  | SM 83687 32287 |  | SM 83689 32317 |  |  | SM 83689 32319 | SM 83689 32317 |  | Aberdraw Stream | 104.5 | 7.3 | 3mm |  |  | CFS / 18687 22/07/2025