## Variation Information
| If FE permit is to be or has already been consolidated with storm | If consolidating - settled or, if no storm tanks, unsettled | If consolidating - only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable | If applicable |  | UMON3 If applicable | UMON4 | UMON3 If applicable
Site/Asset Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Unique NEP ID | Is current permit in modern EPR format? | Address | Final Effluent Discharge Point (NGR) | Settled Storm Discharge Point (NGR) | Storm Discharge Point (NGR) | Emergency Discharge Point (NGR) | UWWTR Inlet Sample Point (NGR) | UWWTR Sample Point (NGR) | Final Effluent Sample Point (NGR) | UV Monitoring Point (Pre-treatment) (NGR) | UV Monitoring Point (Post-treatment) (NGR) | MCERTS Flow Monitoring Point (NGR) | Settled Storm Sample Point (NGR) | Storm Sample Point (NGR) | Emergency Sample Point (NGR) | Settled Storm to Environment EDM Monitoring Point (NGR) | Storm to Environment EDM Monitoring Point (NGR) | MCERTS FPF Monitoring Point (NGR) | EDM to Storm Tank Monitoring Point (NGR) | Receiving Waters (Name) | DWF (m3/day) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | MCERTS Certificate or Report Ref / Issue Date | Any other comments or changes worth noting?
Clynderwen Wastewater Treatment Works | BG0029501 | N/A | N/A | DCWW100166a | Y | Track off Llanfallteg Road, Clynderwen, Pembrokeshire, SA66 7HB | SN 12390 18320 | N/A | SN 12345 18313 | N/A | N/A | N/A | SN 12364 18348 | N/A | N/A | SN 12350 18341 | N/A | SN 12355 18390 | N/A | N/A | SN 12365 18381 | SN 12359 18380 MCERTS FPF Monitoring Point 1 SN 12365 18381 MCERTS FPF Monitoring Point 2 | N/A | Pont-Shan Brook | 182.8 | 20 | 6mm x 6mm | N/A | N/A | CFS/18101 29/05/2025 | N/A
Storm Overflow at Llannerch-y-Môr SPS | N/A | CM0198601 | N/A | DCWW100259a | Y | Fun Ship Access Road, Off A548, Llannerch-y-Môr, Flintshire, CH8 9DX | N/A | N/A | SJ 17662 79167 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SJ 17670 79165 | N/A | N/A | SJ 17669 79170 | SJ 16880 80072 | N/A | Llanerchymor Gutter | N/A | 0.27 | 6mm x 6mm | N/A | N/A | CFS/18813 06/08/2025 | N/A
Storm Overflow at Llanybydder SPS | N/A | BJ0091402 | N/A | DCWW100294a | Y | Rear of Pantyglyn House, Llanybydder, Carmarthenshire, SA40 9SD | N/A | N/A | SN 51856 43363 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 51935 43399 | N/A | N/A | SN 51930 43406 | SN 51939 43401 | N/A | River Teifi via an unnamed tributary | N/A | 27.5 | 6mm x 6mm | 63 | N/A | CSA EDM801 30/07/2025 | N/A
Blaenffos Wastewater Treatment Works | BN0010301 | N/A | N/A | DCWW100068a | Y | Track past Morfa Farm, Blaenffos, Boncath, Pembrokeshire, SA37 0HX | SN 18194 37422 | N/A | SN 18194 37422 | N/A | N/A | N/A | SN 18204 37362 | N/A | N/A | SN 18204 37365 | N/A | SN 18208 37341 | N/A | N/A | SN 18204 37334 | SN 18201 37338 | N/A | Tributary of the Afon Nyfer | 79 | 4.5 | 6mm x 6mm | N/A | N/A | CSA EDM1355 22/01/2026 | N/A
Boncath Wastewater Treatment Works | BG0001201 | N/A | N/A | DCWW100133a | Y | Boncath to Rhos Hill, Boncath, Pembrokeshire, SA37 0JQ | SN 20112 39045 | N/A | SN 20101 39030 | N/A | N/A | N/A | SN 20118 39007 | N/A | N/A | SN 20142 39007 | N/A | SN 20147 38977 | N/A | N/A | SN 20145 38978 | SN 20145 38978 | N/A | Tributary of the Afon Morgenau | 58.3 | 4.2 | 6mm x 6mm | N/A | N/A | CSA EDM1357 22/01/2026 | N/A
Cenarth Wastewater Treatment Works | BP0101201 | N/A | N/A | DCWW100160a | Y | Glanyrafon, Cenarth, Ceredigion, SA38 9JR | SN 26579 41662 | N/A | SN 26579 41662 | N/A | N/A | N/A | SN 26557 41681 | N/A | N/A | SN 26544 41704 | N/A | SN 26555 41701 | N/A | N/A | SN 26555 41701 | SN 26531 41701 | N/A | Afon Teifi | 152 | 9.46 | 6mm x 6mm | N/A | N/A | CFS/19250 02/10/2025 | N/A
Cwrtnewydd Wastewater Treatment Works | BN0005601 | N/A | N/A | DCWW100074a | Y | Track off B4338, Llanybydder, Ceredigion, SA40 9YD | SN 49474 47095 | N/A | SN 49474 47095 | N/A | N/A | N/A | SN 49477 47117 | N/A | N/A | SN 49459 47132 | N/A | SN 49458 47123 | N/A | N/A | SN 49459 47145 | SN 49459 47132 | N/A | Nant Cledlyn | 205 | 7.1 | 6mm x 6mm | N/A | N/A | CSA EDM1395 13/02/2026 | N/A
Hermon Wastewater Treatment Works | BG0018701 | N/A | N/A | DCWW100229a | Y | On Unnamed Road, Hermon, Pembrokeshire, SA36 0DT | SN 20999 32331 | N/A | SN 20999 32331 | N/A | N/A | N/A | SN 20957 32314 | N/A | N/A | SN 20952 32303 | N/A | SN 20932 32297 | N/A | N/A | SN 20934 32294 | SN 20952 32303 | N/A | Unnamed tributary of Afon Taf | 41 | 1.22 | 6mm x 6mm | N/A | N/A | CSA EDM1360 22/01/2026 | N/A
Llan Penmachno Wastewater Treatment Works | CG0114601 | N/A | N/A | DCWW100082a | Y | Llewelyn Street (B4406), Penmachno, Conwy, LL24 0PS | SH 79500 51320 | N/A | SH 79560 51364 | N/A | N/A | N/A | SH 79540 51307 | N/A | N/A | SH 79546 51321 | N/A | SH 79545 51312 | N/A | N/A | SH 79548 51316 | SH 79546 51321 | N/A | Afon Machno | 174.9 | 3.82 | 6mm x 6mm | N/A | N/A | CFS/20085 21/01/2026 | N/A
Storm Overflow at Llanilar SPS | N/A | BP0114701 | N/A | DCWW100087a | Y | Adjacent to Vicarage Lake Car Park, Llanilar, Ceredigion, SY23 4PD | N/A | N/A | SN 62521 75353 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 62512 75337 | N/A | N/A | SN 62508 75331 | SN 62510 75337 | N/A | Drain leading to Nant Adail | N/A | 1.49 | N/A | N/A | N/A | CSA EDM1418 19/02/2026 | N/A