## Variation Information
| If FE permit is to be or has already been consolidated with storm | If consolidating - settled or, if no storm tanks, unsettled | If consolidating - only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable | If applicable |  | UMON3 If applicable | UMON4 | UMON3 If applicable
Site/Asset Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Unique NEP ID | Is current permit in modern EPR format? | Address | Final Effluent Discharge Point (NGR) | Settled Storm Discharge Point (NGR) | Storm Discharge Point (NGR) | Emergency Discharge Point (NGR) | UWWTR Inlet Sample Point (NGR) | UWWTR Sample Point (NGR) | Final Effluent Sample Point (NGR) | UV Monitoring Point (Pre-treatment) (NGR) | UV Monitoring Point (Post-treatment) (NGR) | MCERTS Flow Monitoring Point (NGR) | Settled Storm Sample Point (NGR) | Storm Sample Point (NGR) | Emergency Sample Point (NGR) | Settled Storm to Environment EDM Monitoring Point (NGR) | Storm to Environment EDM Monitoring Point (NGR) | MCERTS FPF Monitoring Point (NGR) | EDM to Storm Tank Monitoring Point (NGR) | Receiving Waters (Name) | DWF (m3/day) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | MCERTS Certificate Ref / Certification Date | Any other comments or changes worth noting?
Drefach Velindre WwTW | BH0060601 | N/A | N/A | DCWW100076a | Yes | Off A484, Henllan, Carmarthenshire, SA44 5TG | SN 35336 40291 | N/A | SN 35146 39828 | N/A | N/A | SN 35134 39797 | SN 35134 39797 | N/A | N/A | SN 35134 39797 | N/A | SN 35134 39748 | N/A | N/A | SN 35134 39748 | SN 35137 39747 | N/A | Afon Teifi | 943 | 21.1 | N/A | N/A | N/A | CSA EDM509 17/02/2025
Ganol WwTW | CG0377601 | N/A | N/A | DCWW100213a | Yes | Conway Road, Colwyn Bay, Conwy, LL28 5PS | SH 83660 83020 | N/A | SH 83660 83020 | N/A | SH 80533 77215 | SH 80616 77301 | SH 80610 77291 | SH 80615 77305 | SH 80616 77301 | SH 80611 77304 | N/A | SH 80610 77310 | N/A | N/A | SH 80645 77300 | SH 80525 77238 | N/A | Coastal waters of Penrhyn Bay | 21686 | 500 | 6mm x 6mm | N/A | N/A | CSA EDM1390 13/02/2026 | 30240 m3 online stoage
Henllan (Denbigh) WwTW | CM0107601 | N/A | N/A | DCWW100227a | Yes | Llannefydd Road, Henllan, Denbighshire, LL16 5BD | SJ 01917 68584 | N/A | SJ 01917 68584 | N/A | N/A | N/A | SJ 01966 68531 | N/A | N/A | SJ 01975 68527 | N/A | SJ 01961 68533 | N/A | N/A | SJ 01954 68538 | SJ 01975 68527 | N/A | Afon Meirchion | 170 | 10 | 6mm x 6mm | N/A | N/A | CFS/19876 10/12/2025
Llanarmon-Yn-Ial WwTW | CM0001201 | N/A | N/A | DCWW101339a | Yes | Off B5431, Llanarmon-yn-Ial, Mold, Denbighshire, CH7 4QX | SJ 19022 55938 | N/A | SJ 18999 55912 | SJ 18999 55912 | N/A | N/A | SJ 19020 55938 | N/A | N/A | SJ 19006 55936 | N/A | SJ 18980 55905 | SJ 18996 55919 | N/A | SJ 18988 55911 | SJ 18983 55913 | N/A | Afon Alun | 64.5 | 3.4 | 6mm x 6mm | N/A | Pumping Station Key Protection Measures (21/03/2025) | CFS/17923 29/04/2025
Wilkes Head SPS | N/A | BP0356201 | N/A | DCWW100255a | Yes | Wilkes Head Square, Pontwelly, Llandysul, SA44 4AE | N/A | N/A | SN 41517 40330 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 41598 40306 | N/A | N/A | SN 41599 40307 | SN 41928 40179 | N/A | Afon Teifi | N/A | 58 | 6mm x 6mm | N/A | N/A | CFS/19891 26/11/2025
Storm and Emergency Overflow at Penley Hospital SPS | N/A | CM0177201 | N/A | DCWW100331a | Yes | Penley Industrial Estate, Penley, Wrexham, LL13 0LQ | N/A | N/A | SJ 41465 40195 | SJ 41465 40195 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SJ 41461 40194 | SJ 41461 40194 | N/A | SJ 41472 40189 | SJ 41611 40409 | N/A | Tributary leading to Ermal Brook | N/A | 13 | 6mm x 6mm | N/A | Pumping Station Key Protection Measures (31/03/2023) | CSA EDM1388 12/02/2026
Penrhos Camp WwTW | CG0041301 | N/A | N/A | DCWW100091a | Yes | Polish Village Access Road, Off A499, Penrhos, Gwynedd, LL53 7HG | SH 34004 33850 | N/A | SH 34009 33823 | N/A | N/A | N/A | SH 34000 33850 | N/A | N/A | SH 33953 33836 | N/A | SH 33944 33846 | N/A | N/A | SH 33953 33851 | SH 33955 33840 | N/A | Afon Penrhos | 212 | 9.56 | 6mm x 6mm | N/A | N/A | CFS/18944 19/08/2025
Storm and Emergency Overflow at Pontrhydfendigaid SPS | N/A | BP0115101 | N/A | DCWW100092a | Yes | Maes-y-Dderwen, Pontrhydfendigaid, Ceredigion, SY25 6EU | N/A | N/A | SN 73052 66488 | SN 73052 66488 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 73046 66473 | SN 73046 66473 | N/A | SN 73046 66473 | SN 72782 66751 | N/A | Afon Teifi | N/A | 2.73 | N/A | N/A | Pumping Station Key Protection Measures (14/01/2025) | CSA EDM1414 18/02/2026
CSO and EO at Cwm Sewage Pumping Station | N/A | BP0296401 | N/A | DCWW100319a | Yes | Off Feidr Brenin, Parrog, Newport, Pembrokeshire SA42 0RX | N/A | N/A | SN 04350 40350 | SN 04350 40350 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 04468 39700 | SN 04468 39700 | N/A | SN 04471 39703 | SN 03807 39188 | N/A | Newport Bay | N/A | 13.7 | 6mm x 6mm | N/A | Pumping Station Key Protection Measures (30/11/2023) | CSA EDM1397 13/02/2026 | 170 m3 online storage
Talsarnau WwTW | CG0071401 | N/A | N/A | DCWW100378a | Yes | Behind Ysgol Gynradd Talsarnau, Talsarnau Gwynedd, LL47 6TA | SH 61022 35994 | N/A | SH 61047 35964 | N/A | N/A | N/A | SH 61003 35964 | N/A | N/A | SH 61034 35960 | N/A | SH 61042 35951 | N/A | N/A | SH 61034 35960 | SH 61034 35960 | N/A | Cyt Mawr Stream | 95 | 4.39 | 10mm 2D | N/A | N/A | CSA EDM1351 20/01/2026