[image: image2.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	FORM WR-29  

Water Resources Act 1991 (Section 37) as substituted
Water Resources (Abstraction and Impounding) Regulations 2006 (Regulation 7(4)) as amended


Dispensation with public notice 

	Name and address of applicant: Hydromatch Ltd. 10 Fore Street,  Uffculme, Colllumpton, Devon, EX15 3AN. 

	Brief description of proposal: 
Variations of existing abstraction (WA/065/006/007) & impoundment licence (WA/065/006/009), first issued in 2013, which authorise operation of hydropower scheme on an un-named tributary of the River Nanmor at Clogwyn, Gwynedd.  
The abstraction licence was renewed in accordance wih the local ALS policy during 2025; compliance visit which took place during this process discovered that the scheme had not been built in accordance with the existing licenced drawings. The location of the intake weir has been moved from SH 61788 47203 to SH 61773 47209, whilst the outfall has moved from SH 62025 47126 to SH 62091 47103. In addition the design to secure the hand off flow method has been altered from a rectangular notch to an orifice plate.  The variation applications are to authorise the above changes. There is no proposed change to the abstraction regime or abstraction quantities.
[image: image1.png]As builtiintake location
(]

Licence intake

licensed-outfall
L

As built scheme outfall location





The landownership of the applicant (via lease agreement) encompasses the revised intake weir and outfall positions i.e. the entire length of the depleted reach. There are no identified protected rights or lawful water users within the proposed revised depleted reach.  During advertisement of the original application in 2013 no representations were received.  
During consultation on the 2025 renewal application initial concerns were raised regarding impact to the local environment; the depleted reach is within Meironnydd Oakwood & Bat SAC and Coedydd Nanmor SSSI.   A site survey was conducted by NRW’s bryophyte specialist advisor in April 2025; who advised that although changes had been observed within the SSSI due to the HoF delivery method not being maintained (it had become blocked), no damage to the SSSI features had occurred.   


	Having considered the proposal the Natural Resources Body for Wales (“Natural Resources Wales”) is of the opinion that it does not require advertising because it would have ‘no appreciable adverse effect’ on:


	Tick to confirm each point:

	· any licensed abstraction (protected rights);
	

	· any abstraction to which the restriction on abstraction does not apply (lawful users of water and non-licensed protected rights);
	

	· the environment (this includes any SSSI or other site of conservation value; or a building or other site of archaeological, architectural or historic interest; any other amenity impact; or affect a local water feature).
	


In exercise of its discretion under the Water Resources (Abstraction and Impounding) Regulations 2006 (Regulation 7(4)), Natural Resources Wales has decided to waive the normal publicity and notice requirements of section 37(1) and (2) of the Water Resources Act 1991 (as substituted by section 14 of the Water Act 2003 ) in relation to this proposal.

	Note: The proposed waiver should not be approved unless all boxes above can be ticked.

[image: image3.png]A o




Signed: 
Position: Team Leader Water Resources Permitting

	Date:        13/01/2026                            



