## Variation Information
| If FE permit is to be or has already been consolidated with storm | If consolidating - settled or, if no storm tanks, unsettled | If consolidating - only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable | If applicable |  | UMON3 If applicable | UMON4 | UMON3 If applicable
Site/Asset Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Unique NEP ID | Is current permit in modern EPR format? | Address | Final Effluent Discharge Point (NGR) | Settled Storm Discharge Point (NGR) | Storm Discharge Point (NGR) | Emergency Discharge Point (NGR) | UWWTR Inlet Sample Point (NGR) | UWWTR Sample Point (NGR) | Final Effluent Sample Point (NGR) | UV Monitoring Point (Pre-treatment) (NGR) | UV Monitoring Point (Post-treatment) (NGR) | MCERTS Flow Monitoring Point (NGR) | Settled Storm Sample Point (NGR) | Storm Sample Point (NGR) | Emergency Sample Point (NGR) | Settled Storm to Environment EDM Monitoring Point (NGR) | Storm to Environment EDM Monitoring Point (NGR) | MCERTS FPF Monitoring Point (NGR) | EDM to Storm Tank Monitoring Point (NGR) | Receiving Waters (Name) | DWF (m3/day) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | MCERTS Certificate Ref / Certification Date | Any other comments or changes worth noting?
CSO at Newbridge On Wye WwTW | AW1004401 | N/A | N/A | DCWW100185a | Yes | Off A470, Newbridge-on-Wye, Llandrindod Wells, Powys, LD1 6LH | SO 01460 58122 | N/A | SO 01465 58115 | N/A | N/A | N/A | SO 01484 58132 | N/A | N/A | SO 01468 58121 | N/A | SO 01484 58132 | N/A | N/A | SO 01496 58157 | SO 01496 58127 | N/A | River Wye | 280 | 12.68 | 6 x 6mm | N/A | N/A | CFS/20217v1 03/02/2026
Henllan WwTW | BN0013701 | N/A | N/A | DCWW100079a | Yes | Track off B4334, Henllan, Ceredigion, SA44 5TE | SN 35355 40248 | N/A | SN 35355 40248 | N/A | N/A | N/A | SN 35402 40277 | N/A | N/A | SN 35399 40294 | N/A | SN 35429 40261 | N/A | N/A | SN 35428 40261 | SN 35425 40265 | N/A | Afon Teifi | 357 | 14 | 6 x 6mm | N/A | N/A | CFS/19255v1 02/10/2025
Rhydlewis WwTW | BP0013501 | N/A | N/A | DCWW100094a | Yes | Track off B4334 Opposite ‘Dolwern’ Rhydlewis Ceredigion SA44 5RE | SN 34594 47314 | N/A | SN 34608 47317 | SN 34608 47317 | N/A | N/A | SN 34605 47284 | N/A | N/A | SN 34605 47292 | N/A | SN 34608 47302 | SN 34608 47302 | N/A | SN 34611 47291 | SN 34612 47289 | N/A | Nant Collen | 66 | 1.1 | 10mm | N/A | PSKPM (25/09/2023) | CSA EDM1466 11/03/2026 | Monitoring point reference column for Emergency Sample point should state Emergency rather than Storm sample point.
Llangaffo WwTW | CG0019201 | N/A | N/A | DCWW100269a | Yes | Track off B4419, Llangaffo, Gaerwen, Anglesey, LL60 6NF | SH 44688 67713 | N/A | SH 44688 67713 | N/A | N/A | N/A | SH 44688 67713 | N/A | N/A | SH 44670 67739 | N/A | SH 44664 67744 | N/A | N/A | SH 44658 67755 | SH 44670 67739 | N/A | A tributary of the River Brain | 64 | 1.78 | N/A | N/A | N/A | CFS/20290v1 11/02/2026
Llanfair PG WwTW | CG0081101 | N/A | N/A | DCWW100085a | Yes | Lôn Pwllfanogl, Llanfairpwllgwyngyll, Anglesey, LL61 6PD | SH 52997 70834 | N/A | SH 52997 70834 | N/A | SH 53036 71036 | SH 53018 71076 | SH 53036 71036 | N/A | N/A | SH 53011 71069 | N/A | SH 53020 71066 | N/A | N/A | SH 53007 71071 | SH 53008 71071 | N/A | Menai Strait | 957.8 | 42.5 | 6 x 6mm | N/A | N/A | CFS/20574 13/03/2026
Bronaber WwTW | CG0086701 | N/A | N/A | DCWW100069a | Yes | Track off A470, Bronaber, Gwynedd, LL41 4UR | SH 70406 31422 | N/A | SH 70406 31422 | N/A | N/A | N/A | SH 71090 31420 | N/A | N/A | SH 71124 31427 | N/A | SH 71106 31424 | N/A | N/A | SH 71150 31424 | SH 71124 31427 | N/A | Afon Eden | 141 | 4.9 | 16 x 16mm | N/A | N/A | CFS/19649v1 18/11/2025
Llanbrynmair WwTW | CG0114201 | N/A | N/A | DCWW100246a | Yes | Tafolwern, Llanbrynmair, Powys, SY19 7DT | SH 89340 02550 | N/A | SH 89340 02550 | N/A | N/A | N/A | SH 89344 02668 | N/A | N/A | SH 89339 02680 | N/A | SH 89345 02658 | N/A | N/A | SH 89362 02680 | SH 89339 02680 | N/A | Afon Laen | 102.5 | 2.4 | N/A | N/A | N/A | CFS/20562v1 12/03/2026
Bodedern SPS | N/A | CG0187501 | N/A | DCWW100130a | Yes | Llys Y Meddyg, Bodedern, Anglesey, LL65 3UJ | N/A | N/A | SH 33223 80557 | SH 33223 80557 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 33228 80553 | SH 33228 80553 | N/A | SH 33213 80534 | SH 33381 80821 | N/A | Tributary leading to Afon Alaw | N/A | 15.4 | 6 x 6mm | N/A | PSKPM (22/10/2024) | CFS/19243v1 30/09/2025
Storm and Emergency Overflow at Cemaes Bay SPS | N/A | CG0147001 | N/A | DCWW100159a | Yes | Ffordd y Traeth, Cemaes Bay, Cemaes, Anglesey, LL67 0HA | N/A | N/A | SH 36834 93869 | Emergency Discharge Point 1: SH 36957 93691 Emergency Discharge Point 2: SH 36941 93670 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 36859 93808 | SH 36937 93669 | N/A | SH 36936 93669 | SH 35351 94231 | SH 36937 93669 | Irish Sea / Cemaes Bay | N/A | 13 | 6 x 6mm | 6 hours at Dry Weather Flow (DWF) | PSKPM (31/03/2023) | CSA EDM1460 11/03/2026 | Online storage (balancing tank)
Storm and Emergency Overflow at Llangernyw SPS | N/A | CG0179701 | N/A | DCWW100272a | Yes | Nr Bont Faen, B5382, Llangernyw, Abergele, LL22 8PP | N/A | N/A | SH 87752 67382 | SH 87752 67382 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 87660 67425 | SH 87660 67425 | N/A | SH 87652 67417 | SH 87659 67426 | N/A | Afon Cledwen | N/A | 1.18 | N/A | N/A | PSKPM (31/03/2025) | CSA EDM1465 11/03/2026