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	Site Specific Activity and Control Measures        

                                     (This section must be completed)


	Method
	Hand fill using funnel

	
	Location
	Stores area

	
	Duration
	Various times throughout contract.

	
	Control
	Storeman responsible for filling small items of plant.

	Exposure Limits


	5ppm TWA 8 hr Benzene MEL

	Physical Properties
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	Petroleum hydrocarbons

	Hazard
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	Irritating to skin

Harmful if swallowed

May cause lung damage is swallowed
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	May cause cancer

Highly flammable and produces flammable vapours

	Work Procedures/PPE
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	Do not smoke

Do not permit direct contact with the skin

Use impervious heavy duty knitted wrist gloves (BS EN 374)

	First Aid/Fire
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	Ingestion: do not induce vomiting, give plenty of water in sips, get prompt medical attention

Inhalation: remove to fresh air and rest

Eye Contact: irrigate for at least 15 minutes

Skin Contact: wash with soap and rinse with plenty of water

Fire: extremely flammable, DO NOT USE WATER, use powder/foam/CO2, toxic fumes are produced when substance is involved in a fire, wear self contained breathing apparatus

	Storage/Disposal
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	Storage: petrol must only be kept in a quantity of either 2(5litre plastic container or 2(9litre metal container.  Any larger quantity, a licence must be obtained from the local fire service.  Containers must be clearly labelled indicating their contents.

Note: Containers that are considered empty but contain fumes are to be considered as full.

Disposal: as special waste in accordance with legislative and company requirements

	Environmental
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	Spillages: ventilate area, eliminate all sources if ignition, clean up spill immediately using kit provided and dispose of material appropriately.  Do not allow spill to enter mains drain, sewers, watercourses etc
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