| # Site Specific Activity and Control Measures (This section must be completed) | # Method | General use. Plant filled from bund protected tank |
| --- | --- | --- |
|  | Location | Site compound and bowser |
|  | Duration | Duration of contract |
|  | Control | Toolbox talk to all plant/machine operators. Tank controlled by storeman. |
| # Exposure Limits | None applicable |  |
| # Physical Properties | Petroleum distillates and hydrocarbons DERV - Clear liquid, flashpoint >56°C, characteristic odour GAS OIL - also contains red additives (HM Customs markers) |  |
| # Hazard |  | Vapour in high concentrations can lead to nausea, headaches and dizziness. Skin contact over prolonged period can lead to skin irritation, dermatitis. |
|  |  | Warty skin growths can occur which can become cancerous if occupational and personal hygiene standards are poor. Ingestion/vomiting can result in aspiration into lungs which can be fatal |
| Work Procedures/PPE | Avoid contact with skin and eyes Wear impervious gloves (impervious heavy duty knitted wrist) to BS EN 374. No smoking or other sources of ignition during re-fuelling Avoid breathing vapour, ensure adequate ventilation |  |
| # First Aid/Fire | Inhalation: remove to fresh air and rest Ingestion: do not induce vomiting – seek immediate medical attention Eye Contact: irrigate with plenty of water Skin Contact: wash with soap and water – remove contaminated clothing Fire: treat as a petroleum fire - use foam / dry powder / CO2 |  |
| # Storage/Disposal | Storage: clearly labelled (UN No 1202), Flammable liquid diamond warning symbol. A secondary containment facility must be provided for the storage unit, in accordance with the Control of Pollution (Oil Storage) Regulations 2001 Disposal: as special waste |  |
| # Environmental | Harmful to aquatic organisms, may cause long-term damage in aquatic environment Spillages: remove all ignition sources, absorb with spill kit / sand and prevent entering drains or watercourses, evacuate personnel from area, transfer to suitable containers for disposal |  |