## Variation Information
| If FE permit is to be or has already been consolidated with storm | If consolidating - settled or, if no storm tanks, unsettled | If consolidating - only if there are two separate storm activities | [5 empty] | If applicable | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable | If applicable |  | UMON3 If applicable | UMON4 | UMON3 If applicable
Site/Asset Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | Unique NEP ID | Is current permit in modern EPR format? | Address | Final Effluent Discharge Point (NGR) | Settled Storm Discharge Point (NGR) | Storm Discharge Point (NGR) | Emergency Discharge Point (NGR) | UWWTR Inlet Sample Point (NGR) | UWWTR Sample Point (NGR) | Final Effluent Sample Point (NGR) | UV Monitoring Point (Pre-treatment) (NGR) | UV Monitoring Point (Post-treatment) (NGR) | MCERTS Flow Monitoring Point (NGR) | Settled Storm Sample Point (NGR) | Storm Sample Point (NGR) | Emergency Sample Point (NGR) | Settled Storm to Environment EDM Monitoring Point (NGR) | Storm to Environment EDM Monitoring Point (NGR) | MCERTS FPF Monitoring Point (NGR) | EDM to Storm Tank Monitoring Point (NGR) | Receiving Waters (Name) | DWF (m3/day) | Overflow / weir setting (l/s) | Screen Size (e.g. 6x6mm or 10mm bar) | Storm tank / storage capacity (m3) | Non-standard operating techniques? (information to be included in Table S1.1 or S1.2 of permit) | MCERTS Certificate Ref / Certification Date | Any other comments or changes worth noting?
Rhydlafar Wastewater Treatment Works | AE2021601 | N/A | N/A | DCWW100093a | Y | Llantrisant Road (A4119), St. Fagans, Cardiff, CF5 6D | ST 11067 79713 | N/A | ST 11097 79787 | N/A | ST 11044 79801 | ST 11050 79728 | ST 11050 79728 | N/A | N/A | ST 11044 79801 | N/A | ST 11043 79791 | N/A | N/A | ST 11043 79791 | ST 11049 79774 | N/A | Nant Dowlais | 792 | 36.3 | 6mm x 6mm | N/A | N/A | CSA EDM435 10/12/2024
Storm and Emergency Overflow at Llanrhystud Wastewater Treatment Works SPS | N/A | BN0160302 | N/A | DCWW100286a | Y | Ffordd Y Traeth, Llanrhystud, Ceredigion, SY23 5BU | N/A | N/A | SN 53221 69406 | SN 53221 69406 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 53262 69353 | SN 53262 69353 | N/A | SN 53266 69324 | SN 53252 69331 | N/A | Afon Wyre | N/A | 15 | 6mm x 6mm | N/A | PSKPM submitted 31/03/2025 | CSA EDM1469 04/12/2025
Trefriw Wastewater Treatment Works | CG0084201 | N/A | N/A | DCWW100393a | Y | Gower Road, Trefriw, Conwy, LL27 0RZ | SH 78781 63272 | N/A | SH 78781 63272 | SH 78440 62898 | N/A | N/A | SH 78489 62880 | N/A | N/A | SH 78487 62876 | N/A | SH 78488 62878 | SH 78488 62878 | N/A | SH 78487 62869 | SH 78487 62876 | N/A | Final Effluent Discharge Point & Storm Discharge Point - Afon Conwy Emergency Discharge Point - Unnamed ditch | 234.6 | 10.95 |  | N/A | PSKPM submitted 22/10/2024 | CSA EDM1488 10/12/2025
Rhiwlas Wastewater Treatment Works | CG0086001 | N/A | N/A | DCWW100359a | Y | Track Through Field After Rhiwlas Primary School, Rhiwlas, Bangor, LL57 4EH | SH 57175 66242 | N/A | SH 57175 66242 | N/A | N/A | N/A | SH 57239 66228 | N/A | N/A | SH 57321 66248 | N/A | SH 57239 66228 | N/A | N/A | SH 57326 66255 | SH 57321 66248 | N/A | Afon Cegin | 315 | 15.7 | 6mm x 6mm | N/A | The screen shall be designed to cope with all flows up to and including the 1 in 5 year storm return period, as a minimum. | CSA EDM1553 19/11/2025
Afonwen Wastewater Treatment Works | CG0138601 | N/A | N/A | DCWW100115a | Y | Off A497, past Afonwen Terrace, Afon Wen, Gwynedd, LL53 6RZ | SH 43963 37319 | N/A | SH 43963 37319 | SH 43963 37319 | N/A | N/A | SH 43906 37350 | N/A | N/A | SH 43893 37360 |  | SH 43893 37366 | SH 43893 37366 | N/A | SH 43887 37368 | SH 43893 37360 | N/A | Afon Wen | 81.8 | 5 | 10mm | N/A | PSKPM submitted 31/03/2023 | CSA EDM1575 03/03/2026
Storm and Emergency Overflow at Llanfaelog (Bryn Du) SPS | N/A | CG0187601 | N/A | DCWW100141a | Y | Penseri Farm access track, Llanfaelog, Anglesey, LL63 5SY | N/A | N/A | SH 33377 72394 | SH 33377 72394 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SH 33378 72395 | SH 33378 72395 | N/A | SH 33382 72409 | SH 34103 72422 | N/A | Llyn Maelog | N/A | 6.1 | 6mm x 6mm | N/A | PSKPM submitted 31/03/2023 | CSA EDM1576 11/02/2026
Storm Overflow at Pentre-llyn SPS | N/A | BP0114801 | N/A | DCWW100336a | Y | Gorrig Road, Pentre-llyn, Ceredigion, SY23 4NL | N/A | N/A | SN 61658 75502 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | SN 61851 75277 | N/A | N/A | SN 61852 75278 | SN 61851 75276 | N/A | Ditch leading to Afon Ystwyth | N/A | 1.44 | 10mm | N/A | N/A | CSA EDM1581 28/01/2026
Maenclochog Wastewater Treatment Works | BG0000401 | N/A | N/A | DCWW100303a | Y | Maenclochog Wastewater Treatment Works, Junction Near Nant Y Helyg, Maenclochog, Pembrokeshire, SA66 7LQ | SN 07537 26866 | N/A | SN 07531 26916 | N/A | N/A | N/A | SN 07545 26879 | N/A | N/A | SN 07567 26918 | N/A | SN 07579 26915 | N/A | N/A | SN 07566 26924 | SN 07567 26918 | N/A | River Rhydfallen | 59.1 | 1.68 | 6mm x 6mm | N/A | N/A | CSA EDM1544 30/10/2025
Morfa Bychan Wastewater Treatment Works | CG0122001 | N/A | N/A | DCWW100313a | Y | Off Fford Morfa Bychan, Morfa Bychan, Gwynedd, LL49 9YH | SH 53365 35907 | N/A | A2: SH 53365 35907 A3: SH 53825 37426 | N/A | N/A | N/A | SH 53832 37411 | N/A | N/A | SH 53851 37393 | N/A | A2: SH 53849 37386 A3: SH 53865 37410 | N/A | N/A | A2: SH 53850 37389 A3: SH 53832 37387 | SH 53851 37393 | N/A | A1 & A2: Coastal waters of Tremadog Bay A3: Unnamed Stream | 752 | A2: 24 A3: 46 | A2: 6mm x 6mm A3: 6mm x 6mm | A3: 283 | A2: Flows between 24 l/s and 46 l/s are diverted along the bypass channel, joining the treated effluent which is discharged through the outfall pipe to the coastal waters A3: Flows above 46 l/s in the bypass channel spill to the storm tank. | CSA EDM1464 18/11/2025 | MON3 variation is on A2 Activity.
Croesgoch Wastewater Treatment Works | BG0019001 | N/A | N/A | DCWW100179a | Y | Llanrhian Road, Croesgoch, Haverfordwest, SA62 5JT | SM 82681 30585 | N/A | SM 82681 30585 | N/A | N/A | N/A | SM 82670 30589 | N/A | N/A | SM 82670 30589 | N/A | SM 82679 30580 | N/A | N/A | SM 82659 30565 | SM 82675 30575 | N/A | Porthgain Stream | 102.1 | 6.26 | 6mm x 6mm | N/A | N/A | CSA EDM1578 18/02/2026